## Slide 1: Daya Bay-II A 60km-baseline Reactor Experiment and Beyond
Jun Cao
Institute of High Energy Physics

## Slide 2: Daya Bay-II Experiment
Daya Bay
60 km
Daya Bay II
20 kton LS detector
3%/E̅ resolution
Rich physics
  Mass hierarchy
  Precision measurement of 4 oscillation parameters to <1%
  Supernovae neutrino
  Geoneutrino
  Sterile neutrino
  Atmospheric neutrinos
  Exotic searches
Talk by Y.F. Wang at ICFA seminar 2008, Neutel 2011; by J. Cao at Nutel 2009, NuTurn 2012;

## Slide 3: A Slide at NuTel 2009, Venice
We may not afford larger detector
If we are lucky, sin2213 may be as large as 0.05
In general,
neutrino exps were not precise.
8 cores planned @DYB

## Slide 4: Reactor Exp. to determine MH
S.T. Petcov et al., PLB533(2002)94
S.Choubey et al., PRD68(2003)113006
J. Learned et al., hep-ex/0612022
L. Zhan, Y. Wang, J. Cao, L. Wen,
PRD78:111103, 2008
PRD79:073007, 2009

## Slide 5: Fourier transformation of L/E spectrum
Frequency regime is in fact the DM2 regime  enhance the visible features in DM2 regime
Take DM2 32 as reference
  NH: DM2 31 > DM2 32 , DM2 31 peak at the right of DM2 32
  IH: DM2 31 < DM2 32 , DM2 31 peak at the left of DM2 32
The Fourier formalism:
Distinctive features
No pre-condition of Dm223

## Slide 6: Easier now with a large q13
New default parameters:
  Detector size: 20kt
  Energy resolution: 3%
  Thermal power: 36 GW
  Baseline 58 km
3 years, 2s
6 years,3s

## Slide 7: The reactors and possible sites
 | Daya Bay | Huizhou | Lufeng | Yangjiang | Taishan
Status | Operational | Planned | Planned | Under construction | Under construction
Power | 17.4 GW | 17.4 GW | 17.4 GW | 17.4 GW | 18.4 GW
Daya Bay
Huizhou
Lufeng
Yangjiang
Taishan
1st scout in 2008
Bai-Yun-Zhang@Huizhou
1000 meter mountain
Huizhou

## Slide 8: Alternative method to FT: χ2 fit
Assume the truth is NH/IH, and calculate the truth spectrum.
Calculate the spectra for NH and IH case and fit them to the truth spectrum respectively.
Energy resolution is taking into account.
NH spectrum fits to NH
IH spectrum fits to NH
If truth is NH, NH spectrum may fit it better.
Δm2 is fitted without constrain.
m2=(m231+m232)/2
Input value: 2.43

## Slide 9: Optimum baseline ?
Multiple reactors may cancel the oscillation structure
We are still working on
  Different fitting methods
  Effects of multiple baselines
  Optimum site selection
Single 36 GW reactor X 3 years 3%/sqrt(E) energy resolution
Fix 18 GW, move the other 18 GW

## Slide 10: Precision Measurements
 | Current | Daya Bay II
Dm212 | 3% | 0.26%
Dm223 | 5% | 0.30%
sin2q12 | 6% | 0.63%
sin2q23 | 20% | N/A
sin2q13 | 14% 4% | ~ 15%
Fundamental to the Standard Model and beyond
Probing the unitarity of UPMNS to ~1% level !

## Slide 11: Supernova neutrinos
Less than 20 events observed so far
Assumptions:
  Distance: 10 kpc (our Galaxy center)
  Energy: 31053 erg
  Ln the same for all types
  Tem. & energy
Many types of events:
  ne + p  n + e+, ~ 3000 correlated events
  ne + 12C  12B* + e+, ~ 10-100 correlated events
  ne + 12C  12N* + e-, ~ 10-100 correlated events
  nx + 12C nｘ+ 12C*, ~ 600 correlated events
  nx + p  nｘ+ p, single events
  ne + e-  ne + e-, single events
  nx + e- nｘ+ e-, single events
  T(ne) = 3.5 MeV, <E(ne)> = 11 MeV
  T(ne) = 5 MeV, <E(ne)> = 16 MeV
  T(nx) = 8 MeV, <E(nx)> = 25 MeV
Water Cerenkov detectors can not see these correlated events
Energy spectra & fluxes of all types of neutrinos

## Slide 12: Geoneutrinos
Current results:
  KamLAND:
  40.0±10.5±11.5 TNU
  Borexino:
  64±25±2 TNU
Desire to reach an error of 3 TNU: statistically dominant
Daya Bay II: >×10 statistics, but difficult on systematics
Background to reactor neutrinos
Stephen Dye

## Slide 13: Others
Exotics searches
  Sterile neutrinos
  Monopoles, Fractional charged particles, ….
Target for neutrino beams
Atmospheric neutrinos
Solar neutrinos
High energy cosmic-rays & neutrinos
  Point source: GRB, AGN, BH, …
  Diffused neutrinos
  Dark matter

## Slide 14: Detector Concept (Traditional)
Muon tracking
Liquid Scintillator 20 kt
Acrylic sphere：φ34.5m
SS sphere ： φ 37 .5m
Water Seal
~15000 20” PMTs optical coverage: 70-80%
Stainless steel tank
Oil buffer 6kt
Water Buffer 10kt
VETO PMTs
Alternate: acrylic -> ballon
Alternate: acrylic -> PET sphere

## Slide 15: Alternate One: Water
Muon tracking
Liquid Scintillator 20 kt LAB/PPO/bisMSB
Acrylic sphere：34.5m
PMT diameter ：37 .5m
Water Seal
~15000 20“ PMTs optical coverage: 70-80%
PMT support Structure
Black sheet
Buffer H2O
Option 1

## Slide 16: Alternate Two: MO module
Seal the Mineral Oil in the optical modules.
LS contact with SS vessel
pipe for filling MO and cabling
Detector can be cylindric or spheric
Disadvange:
  Radioactivity: LS in the gap produce light
  Contamination to LS from complex structure
connect to other modules
MO
MO
MO
LS
LS

## Slide 17: More Photoelectrons -- PMT
No clearance: coverage 86.5%
1cm clearance: coverage: 83% *(d/D)2= 73%
20" + 8" PMT
8" PMT better timing
SBA photocatode
MCP PMT with reflection photocathode at bottom

## Slide 18: More Photoelectrons -- reflection
Two thin acrylic panels with air gap – Total internal reflection
For uniformly distributed events, MC simulation shows 6-8% increase on p.e. in average.
Reflecting to local PMTs won't impact on vertex reconstruction

## Slide 19: More Photoelectrons-- LS
Attenuation length.
Low temperature (4 degree)
fluor concentration optimization (especially at low temperature
Linear Alky Benzene | Atte. Length @ 430 nm
RAW | 14.2 m
Vacuum distillation | 19.5 m
SiO2 coloum | 18.6 m
Al2O3 coloum | 22.3 m

## Slide 20: DYBII Energy Resolution
, or (2.6/
DYBII MC, based on DYB MC (p.e. tuned to data), except
  DYBII Geometry and 80% photocathode coverage
  SAB PMT: maxQE from 25% -> 35%
  Lower detector temperature to 4 degree (+13% light)
  LS attenuation length (1m-tube measurement@430nm)
    from 15m = absoption 24m + Raylay scattering 40 m
    to 20 m = absorption 40 m + Raylay scattering 40m
Uniformly Distributed Events
After vertex-dep. correction
R3

## Slide 21: Background Estimation
Signal rate: ~ 40 IBD/day/20kt, DYB far: ~70 IBD/day/20t
 | Daya Bay |  | DYBII
 | Near | Far | 
Accidentals (B/S) | 1.4% | 4.0% | ?
Fast neutrons (B/S) | 0.1% | 0.06% | 120%?
8He/9Li (B/S) | 0.4% | 0.3% | 600%?
Signal redcued by 2000 times
Suppose at the same overburden of DYB far site: ~ 350 m
Suppose 500 m overburden (1350 m.w.e.)
Em ~ 200 GeV, Rm ~ 0.011 Hz/m2, or 10 Hz total
Fast neutron bkg:
 | Daya Bay near | Daya Bay II
Rm (Hz) | 21 | 10
Fast neutron bkg | 0.84 /day | 0.4 /day B/S = 1%
Suppose similar water shielding and similar muon efficiency as DYB

## Slide 22: Accidental Backgrounds
Singles (back-on-the-envelope estimation)
Singles spectrum at DYB
PMT Radioactivity | ~5 Hz | DYB PMT radioactivity w/ 2 m shielding
LS Radioactivity | ~ 0.5 Hz | 10-16 g/g for K-40, U, and Th
Cosmogenic | ~700/day | scaling from DYB
Spallation neutron | ~20/day | 4 Hz n yield, w/ 2ms muon veto
280/day!
Toy MC: Distance < 2m, suppress to 1/300, Racc~ 1/day

## Slide 23: 9Li/8He background
 | Daya Bay near | Daya Bay II
E (GeV) | 57 | 200
L (m) | ~1.3 | ~ 23
R (Hz) | 21 (both in GdLS and LS) | 10
 | (50%*5% + 50%*85%) = 45% n-Gd | ~100% n-H
9Li bkg rate | 6.5/day | 308/day
Muon track
Rd2m<5m and 2s veto, the 9Li/8He is expected to be <0.5%. The dead volume fraction:
The B/S for 9Li/8He 0.8/40 = 2%
If cut Rd2m < 3m and 2s veto for non-shower muon, 4.2% 9Li/8He events survive(from KamLAND).
KamLAND
Neutron generated in LS and spill in
vertex profile

## Slide 24: Background Summary
Based on a very rough back-on-the-envelope calculation, 500 m (1350 m.w.e.) is the minimum overburden
 | DYBII | 
Accidentals (B/S) | ~ 2.5% | Accurate subtraction
Fast neutrons (B/S) | ~ 1% | Roughly flat
8He/9Li (B/S) | ~ 4% | Known spectrum
Used track and distance between vertices.
Since we are looking at the small oscillations, slow varying in energy spectrum backgrounds are not serious.

## Slide 25: PMT Dark Rate Coincidence
15000 PMTs
~ 40 m distance -> 200 ns
1200 p.e./MeV
The worst case threshold ~ 0.3 MeV in the right plots (50 kHz/PMT, 300 ns windows)
Lower temperature to 4 degree: ~ 4 reduction in PMT dark rate, threshold: 0.3 MeV --> 0.1 MeV
300ns windows
200ns windows

## Slide 26: Summary
The large q13 discovery accelerates the experiments on mass hierarchy and CP phase.
Daya Bay II proposed in 2008-2009, now boosted by the large q13
  Science case is strong with significant technical challenges
  Very rich physics.
  Funding are promising.
  Possible time schedule:
    Proposal to government: 2015
    Construction: 2016-2020
Thanks many colleagues for providing slides and materials