## Slide 1: Physics in Underground Laboratories
G Gerbier IRFU-CEA
& slides from Hue Qian (THU)
Underground Labs uopdate Current programs
Status of FCPPL 012 activities
Some details
Projects for 2013
6th workshop of FCPPL
NJU
March 28th 2013

## Slide 2
2013
2012 budget :
2 k€ * 2
3rd year
Saclay
Marseille
Grenoble
Fréjus Lab
+ Jinping Lab

## Slide 3: Two underground labs
LSM-Fréjus 1983
CJPL-Jinping 2010
JinPing
LSM

## Slide 4: JinPing CJPL : status
2012 : New ventilation installation completed : The fresh air outside has started to supply CJPL.
2012 : Two expts planned : Ge & Xe
Low background facility
40 m
DM direct search Experiments

## Slide 5: Muon flux at CJPL
Muon flux in CJPL: ~61muons/year/m2
Paper submitted to Chinese Physics C
YUE, Qian / Tsinghua University
0.2 m/m2/day
4.0 m/m2/day

## Slide 6: Status and plans for CJPL
CJPL with deepest rock overburden in the world run now. Muon and Neutron flux measured and first LBF running!
CJPL can provide larger space in the near future to host more low background experiments. The target is built an underground lab with available space 20 times more than the recent one.
YUE, Qian / Tsinghua University

## Slide 7: Main actual programs @ LSM
EDELWEISS III : dark matter search : Ge @ 10 mK
TGV : double electron capture
Spherical gazeous detectors (low activity prototype“SEDINE”)
Low background facilities & low level monitors
  Gamma ray spectroscopy : 12 HPGe
  Radon trapping facility
  Neutron ( 10-6 n/cm2/s) & radon ( mBq/m3) monitors
150 m3/h air w 15 mBq/m3 Rn (standard 15 Bq/m3)
Edelweiss

## Slide 8: LSM underground lab extension
New
Actual
50 m
Last status jan mar 2013
Excavation of the extension 2014 or 2015.
In operation in 2016/2017.
Detailed studies funded by Savoie departement and Rhone-Alpes Region
Agreement from Ministery and CNRS for the project
Funding in progress (85% already obtained CNRS, Region Rhone-Alpes, FEDER funds)
Technical discussion in progress
France
Italy
New
100 %
for SuperNEMO / EURECA type expts

## Slide 9: Activities in 2012
Paperwork (CERN/CNRS/THU) for shipping a 1.3 m Ø spherical detector from France to Tsinghua : 18 months ! OK now !
Visit of Wang Zhimin (IHEP) at Saclay for 4 weeks in june 2012 to get acquainted with spherical detector running, participation to Tessaloniki -Greece- collaboration meeting
Measurements of copper samples at LSM for use in JinPing experiments CDEX
Preparation of agreement on MiMac (directional detector for DM) common development between LPSC an THU

## Slide 10: Spherical Proportional Counters
Drift region
Ampl region
Sphere cavity + spherical sensor + HT
Low threshold (low C)
Fiducial selection by risetime
Flexible (P, gaz)
Large mass / large volume
Robust, simple, cheap, sealed mode
Digitisation @ 1 MHz, soft trigger
2 LEP cavity 130 cm Ø tested
1 low activity 60 cm Ø in operation @ LSM

## Slide 11: Spherical Proportional Counters
Drift region
Ampl region
Sphere cavity + spherical sensor + HT
Low threshold (low C)
Fiducial selection by risetime
Flexible (P, gaz)
Large mass / large volume
Robust, simple, cheap, sealed mode
Digitisation @ 1-2 MHz, soft trigger
2 LEP cavity 130 cm Ø tested @ Saclay
Dépôt
ponctuel
Alpha / trace
=> 2012 : characterisation at < 1 keV, volume calibration

## Slide 12: Calibration with UV flash lamp for single electron response
Digitised region around where UV induced pulse expected => Look for pulse in 200-260 ms window
About 1 in 10 => single electron response
Trigger @ 10 ADU
Trigger efficiency for single electron = 54 %
NB : single electron = 30 eV
1 electron
16 ADU
ms
Single electron
distribution
250 mb, Ar/2%CH4

## Slide 13: Volume calibration with 37Ar source
37Ar, EC, 35 days lifetime, Ka 2.6 keV and Lb 260 ev
Can be made with Calcium salt irradiated with fast neutrons
=> first experiments successful !
Behaviour at E<300 eV
2.6 keV

## Slide 14
Data with « SEDINE » the 60 cm low activity detector @ LSM
Argon 39 (1 Bq/kg)
Alpha’s (Po 210 + Rn induced)
SEDINE
@LSM
In shield
Tot rate surface
Tot rate @LSM no shield
Ar CH4(2%)
SPC
130 cm
Pressure mb
Rate Hz
Residual e rate
Jan 2013

## Slide 15
CEA-IRFU/Saclay (GG, IG) ,LSM (F Piquemal),
Aristotle University of Tessaloniki (I Savvidis), University of Ioannina (I Vergados), NCSR DemoKritos (G Fanourakis), Hellenic Open University (S Tzamaria)
University of Tsinghua Beijing (C Tao), Shanghai Jiao Tong University (K Ni), IHEP-Beijing ( C Yang)
University of Saragoza (I Irastorza), Livermore (JR Armendariz)
New Experiments With Spheres
Neutrino Experiments With Spheres
New Experiments for Wimps with Spheres
F : R&D at Saclay and LSM, sensors, high P
F : Coherent neutrino scattering experiment feasibility
G : Neutron monitor
C : R&D with SPC 130 cm shipped to Beijing, investigating large sphere building / tests
F G C : SN monitor, DM …
Tessaloniki 2012
+ Liverpool ?

## Slide 16: Plans for 2013
Spherical detectors
  Tune for lowest count rate in volume at LSM, develop measurement of neutrons with N2 : THU/Saclay, develop sensors and use of gaz : THU/Saclay
  Visit of a Saclay colleague (P Magnier) at Tsignhua (1 week)
  Visit of a Tsinghua student (Liu Ruoqing) in Saclay/Modane for few weeks
Directional MiMAc low pressure detector
  Agreement between THU, LPSC & possibly Shanghai U
  Visit of chinese collaborator for 6 months at Grenoble
Low radioactivity samples to measure
Around 4 k€ on each side asked for 2013

## Slide 17
Thank you
Merci

## Slide 18: Spherical Proportional Counter SPC plans for 2012