## Slide 1: Alignment of Insertion Device at Siam Photon Source
Synchrotron Light Research Institute (Public Organization)
S. Srichan, A. Kwankasem, V. Sooksrimuang, M. Sophon, S. Klinkhieo
P. Klysubun
Synchrotron Light Research Institute(SLRI)
THAILAND
The 13th IWAA2014 October 13-17,2014
IHEP, Beijing, China

## Slide 2
Synchrotron Light Research Institute (Public Organization)
Outline
Introduction
Installation and alignment of a 6.5 T superconducting wavelength shifter (SWLS)
Installation and alignment of a 2.4 T multipole wiggler (MPW)
Conclusion

## Slide 3
Synchrotron Light Research Institute (Public Organization)
Siam Photon Source (SPS)
Siam Photon Source (SPS) is a dedicated 1.2-GeV synchrotron light source operated by the Synchrotron Light Research Institute (SLRI), and is located in Suranaree University of Tecchnology campus, Nakhon Ratchasima (~ 250 km northeast of Bangkok), Thailand.

## Slide 4
Synchrotron Light Research Institute (Public Organization)
Components of the Siam Photon Source
Layout of the SPS
Machine components
2 20-MeV injector linacs
Low-energy electron transport line
1.0-GeV booster synchrotron
High-energy electron transport line
1.2-GeV electron storage ring
The beam is injected to the storage ring from a 1.0-GeV booster synchrotron, and then ramped up to 1.2 GeV in the storage ring.
1.0 GeV
1.2 GeV

## Slide 5
Synchrotron Light Research Institute (Public Organization)
Insertion Devices
U60 permanent magnet planar undulator
(Hallback-type) 0.5467 T (g = 26.5 mm)
60 mm-period length, 41 periods
6.5T superconducting WLS from NSRRC, Taiwan
3 poles
Lhe consumption rate <2 L/hr
2.4T normal-conducting multipole wiggler
from ASTeC, United Kingdom
9 full strength poles
SPS electron storage ring
1.2 GeV storage ring
Double bend achromatic (DBA) lattice
81.3 m circumference
4 7-m straight sections

## Slide 6
Synchrotron Light Research Institute (Public Organization)
SPS machine shutdown on August-September, 2013
6.5 T superconducting wavelength shifter installation
2.4 T multipole wiggler installation

## Slide 7
Synchrotron Light Research Institute (Public Organization)
Insertion device alignment
The instruments were used including laser tracker, theodolites, precision optical level NAK2 and precision optical plummet.

## Slide 8
Synchrotron Light Research Institute (Public Organization)
Insertion device alignment
Components | Reference components or marks | Required precision (mm) |  | Tilt (mm/m)
 |  | X and Y | Beam stream | 
SWLS | Dipole Reference marks / Level marks | 0.2 | 0.2 | 0.2
MPW | Dipole reference marks / Level marks | 0.2 | 0.2 | 0.2
The tolerance of insertion device alignment

## Slide 9
Synchrotron Light Research Institute (Public Organization)
Insertion device alignment
X-Y Plane
Leveling Z

## Slide 10
Synchrotron Light Research Institute (Public Organization)
Installation and alignment of SWLS
FIDUCIAL MARKS

## Slide 11
Synchrotron Light Research Institute (Public Organization)
Z=202.69 mm
Z=202.57 mm
Z=202.69 mm
Z=202.69 mm
in
out
Position and leveling data
Y< 0.1 mm
Y< 1.1 mm
Pre-alignment of SWLS
Level of Lhe vessel

## Slide 12
Synchrotron Light Research Institute (Public Organization)
Pre-alignment of SWLS
Optical level 1
Optical leveling 2
Optical leveling 3
Optical leveling 4
Temporary axis
Theodolite 1
Theodolite 2

## Slide 13
Synchrotron Light Research Institute (Public Organization)
Installation and alignment of SWLS

## Slide 14
Synchrotron Light Research Institute (Public Organization)
SWLS Alignment

## Slide 15
Synchrotron Light Research Institute (Public Organization)
Installation and alignment of SWLS

## Slide 16
Synchrotron Light Research Institute (Public Organization)
Installation and alignment of MPW
FIDUCIAL MARKS

## Slide 17
Synchrotron Light Research Institute (Public Organization)
Installation and alignment of MPW

## Slide 18
Synchrotron Light Research Institute (Public Organization)
Installation and alignment of MPW

## Slide 19
Synchrotron Light Research Institute (Public Organization)
The result of installation
 | Component | Design(mm) |  | Setting(mm) |  | Difference | 
 |  | X | Y | X | Y | ∆X | ∆Y
S1 | Ref. BM8 |  |  |  |  |  | 
 | MPW | 6121.50 | 0.00 | 6121.20 | 0.02 | -0.20 | +0.02
 | Ref. BM1 |  |  |  |  |  | 
S7 | Ref. BM6 |  |  |  |  |  | 
 | SWLS | 4948.00 | 0.00 | 4948.20 | 0.02 | +0.20 | +0.02
 | Ref. BM7 |  |  |  |  |  | 

## Slide 20
Synchrotron Light Research Institute (Public Organization)
Conclusion
The commissioning of SWLS and MPW in the SPS storage ring were successfully carried out in September,2013.
MPW 2.4 T
SWLS 6.5 T
The two insertion devices, a 6.5 T superconducting wavelength shifter and a 2.4 T multipole wiggler, have been successfully installed at Siam Photon Source.
In the near future, the installation and alignment of hard x-ray beamlines will be started with the same alignment team.

## Slide 21
Synchrotron Light Research Institute (Public Organization)
Acknowledgement
The authors would like to thank for Prof. C.S. Hwang of NSRRC for his assistance on the SWLS and Prof. Jim Clarke of ASTeC for his support on MPW.

## Slide 22
Thank you for your attention
Welcome to
Nakhon Ratchasima Thailand
www.slri.or.th
supawan@slri.or.th