## Slide 1: STATUS AND PROSPECTS OF E+E- COLLIDERS AT BINP
Pavel Piminov
Budker Institute of Nuclear Physics
Novosibirsk, Russia
10th International Workshop on e+e- Collisions from ϕ to ψ
University of Science and Technology of China (USTC)
Hefei, Chine
September 23-26, 2015

## Slide 2
VEPP-4M
VEPP-2000
Synchrotron Radiation
VEPP-3
GOL-3 & GDT
No

## Slide 3
BINP MAIN SITE
BINP WORKSHOP
FREE ELECTRON LASER
ACCELERATOR MASS SPECTROMETER
ELECTRON COOLING PRODUCTION
SUPERCONDUCTION WIGGLER PRODUCTION
No
MAGNETS, VACUUM SYSTEMS, RF SYSTEMS, POWER SUPPLY, DETECTORS, PLASMA COMPONENTS, INDUSTIAL ACCELERATORS, …

## Slide 4: PREVIOUS COLLIDERS
e-e- VEP-1 (1964-1968) E=43÷160 MeV
e+e- VEPP-2 (1965-1972) E=120÷670 MeV
e+e- VEPP-2M (1974-2000) E=180-700 MeV
e+e- VEPP-4 (1979-1985) E=1-5.5 GeV

## Slide 5: VEPP-2000
Linac ILU
2.5 MeV
Booster B-3M
250 MeV
Booster BEP
825 MeV
CMD-3
SND
VEPP-2000
Since 2006, upgrade since 2013
E = 0.1 ÷ 1 GeV
Round Beams
Beam Energy Calibration
e+ convertor

## Slide 6: VEPP-2000 PARAMETERS
Energy | 0.1-1 | GeV
Circumference | 24.39 | m
Number of bunches | 1e+ x 1e- | 
Harmonic number | 14 | 
Betatron tunes, h/v | 4.1/2.1 | 
Natural chromaticity, h/v | -8.8/-5.8 | 
Compaction factor | 0.036 | 
Max luminosity | 1·1032 | cm-2 s-1
Bunch current | 25 | mA
Betas @ IP, h/v | 10/10 | cm
Coupling | 100% | 
Bunch length | 4 | cm

## Slide 7: VEPP-2000 LUMINOSITY
http://indico.ihep.ac.cn/event/4464/timetable/#all.detailed
DA
Touschek
IBS
Beam-Beam
e+
Ramping
Lpeak = 1.2×1031cm-2s-1 @ 510 MeV
Lpeak = 2.5×1031cm-2s-1 @ 900 MeV
 = 0.175   = 0.125/IP
L ~ E4

## Slide 8: UPGRADE OF VEPP-2000
Booster BEP
1 GeV
CMD-3
SND
VEPP-2000
e- gun
e- linac
e+ linac
e+ convertor
New e+e- Injector 510 MeV
Damping
Ring
New Transfer Channel
200 meters
510 MeV
e+
e-

## Slide 9: UPGRADE OF BEP BOOSTER
  New injection septum magnet
  New RF
  Modification 12+1 bending magnets
  New correction coils
  Modification of 24 quadrupoles
  New correction coils in F-quads
  X-corrections in D-quads
  Vacuum chamber modification
  New BUMP
  SR channel
Energy | 0.4-1 | GeV
Revolution frequency | 13.414 | MHz
Bending radius | 128 | cm
Energy loss | 70 | keV
Emittance | 86 | nm·rad
Harmonic number | 13 | 
Betatron tunes, h/v | 3.4/2.4 | 
Compaction factor | 0.06 | 

## Slide 10: UPGRADE OF BEP BOOSTER
Gap 40 ➝ 32 mm, 26 kGs
5 kGs/cm
sextupole component enhancement
Bending & Quadrupole Magnets Modification

## Slide 11: UPGRADE OF BEP BOOSTER
Vacuum Chamber Modification

## Slide 12: UPGRADE OF VEPP-2000
Or
Original kickers
New additional
kickers
New 26 kGs bending magnets
New scrappers

## Slide 13: VEPP-4M
Deuteron

## Slide 14: VEPP-4M PARAMETERS
Energy | 0.925 ÷ 4.75 (5.2) |  |  |  |  | 
Circumference | 366.075 |  |  |  |  | m
Number of bunches | 2e+ x 2e- (16e-) |  |  |  |  | 
Harmonic number | 222 |  |  |  |  | 
Betatron tunes, h/v | 8.54/7.57 |  |  |  |  | 
Compaction factor | 0.0168 |  |  |  |  | 
Coupling | 0.05% |  |  |  |  | 
Bunch length | 5 |  |  |  |  | cm
Beam Energy | 1.5 | 1.8 | 3 | 4.7 | 5.2 | GeV
Emitance | 16 | 25 | 67 | 167 | 200 | nm·rad
Energy Spread | 2.5 | 3.0 | 4.9 | 7.8 | 8.5 | ·10-4
Beam Current | 1.6 | 3.0 | 12 | 25 | 25 | mA
Luminosity | 0.9 | 2.0 | 14 | 44 | 25 | ·1030 cm-2·s-1

## Slide 15: KEDR @ VEPP-4M

## Slide 16: E+E- TAGGET SYSTEM @ VEPP-4M

## Slide 17: VEPP-4M LUMINOSITY

## Slide 18: VEPP-4M RD BEAM ENERGY CALIBRATION
Accuracy ~ 10-6
Needs polarized beam
Up to 2-3 serial measurements possible with the same beam
Polarized beam obtained in ranges E = 1.5÷2 GeV and 3.8÷5 GeV

## Slide 19: VEPP-4M CBS BEAM ENERGY CALIBRATION
Na24 (1)=1368.625 keV Na24 (2)=2754.008 keV Na24 (1+2)=4122.633 keV
Accuracy ~ 5·10-5
Measurement time ~ 10 min
Beam energy spread ~10%
During statistics acquisition
E < 3.5 GeV

## Slide 20: BEAM TEST FACILITY @ VEPP-4M
Target
KEDR
Bend
 | e- | g | 
Energy | 0.1÷3 | 0.05÷1.5 | GeV
sDE/E | 0.5÷1.5 | ~0.5 | %
Intensity | 10÷100 | ~1000 | Hz

## Slide 21: BEAM TEST FACILITY @ VEPP-4M
FARICH Prototype

## Slide 22: DEUTERON @ VEPP-3

## Slide 23: VEPP-4M PLANS
2015/2016
E=1.5÷1.85 – J/Ψ, Ψ(3770), D-mesons, …
Summer 2016
New injector
RF System Upgrade
2016/2020
E=1.85÷4.75 – R-scan, gg-physics, Lc, ϒ(1S), …
2016 (2 months) & 2017 (4 months)
Deuteron experiment g + D ➝ p + n
➝

## Slide 24: SUPER-CTAU-FACTORY

## Slide 25: SUPER-CTAU-FACTORY PHYSICS
D-Dbar mixing
CP violation searches in charm decays
Rare and forbidden charm decays
Standard Model tests in  leptons decays
Searches for lepton flavor violation τ→μγ
CP/T violation searches in  leptons decays
Production of the polarized anti-nucleons @ E=1 GeV (may be with reduced luminosity)

## Slide 26: SUPER-CTAU-FACTORY PHYSICS

D
Ds


## Slide 27: SUPER-CTAU-FACTORY SPECIFICATION
Beam Energy from 1.0 to 2.5 GeV
Luminosity ~ 1035 at 2 GeV
Longitudinal Polarization of Electrons at IP
No Energy Asymmetry
No Energy Monochromatization
Energy Calibration with Medium Accuracy is Sufficient (Compton Backscattering)

## Slide 28: SUPER-CTAU-FACTORY CONCEPT
Two Rings
Crab Waist Collisions
Small Beta Function at IP (βy ~ 800 um)
5 Siberian Snakes
Superconducting Wigglers to keep the same damping and emittance in the whole energy range
High Beam Current
50 Hz Injection Rate
2.5 GeV Linac (two beams acceleration)
Electron Polarization Source

## Slide 29: SUPER-CTAU-FACTORY LAYOUT

## Slide 30: SUPER-CTAU-FACTORY LAYOUT

## Slide 31: SUPER-CTAU-FACTORY DETECTOR
Universal magnetic detector:
1 – Vertex detector
2 – Drift chamber
3 – Identification system based
on FARICH
4 – Calorimeter
5 – Superconducting coil
6 – Yoke with a muon system.

## Slide 32: SUPER-CTAU-FACTORY PARAMETERS
Energy | 1.0 GeV | 1.5 GeV | 2.0 GeV | 2.5 GeV
Circumference | 780 m |  |  | 
Emittance hor/ver | 8 nm/0.04 nm @ 0.5% coupling |  |  | 
Damping time hor/ver/long | 30/30/15 ms |  |  | 
Bunch length | 16 mm | 11 mm | 10 mm | 10 mm
Energy spread | 10.1·10-4 | 9.96·10-4 | 8.44·10-4 | 7.38·10-4
Momentum compaction | 1.00·10-3 | 1.06·10-3 | 1.06·10-3 | 1.06·10-3
RF frequency | 508 MHz |  |  | 
Harmonic number | 1300 |  |  | 
Particles in bunch | 7·1010 |  |  | 
Number of bunches | 390 (10% gap) |  |  | 
Bunch current | 4.4 mA |  |  | 
Total beam current | 1.7 A |  |  | 
Beam-beam parameter | 0.15 | 0.15 | 0.12 | 0.095
Luminosity | 0.63·1035 | 0.95·1035 | 1.00·1035 | 1.00·1035

## Slide 33: SUPER-CTAU-FACTORY POLARIZATION
5 snakes
1 snake
3 snakes
Longitudinal Polarization
1 Snake
3 Snake
5 Snake

## Slide 34: SUPER-CTAU-FACTORY QD0
Length | 200 | mm
Gradient | 10.7 | кГс/см
Aperture radius | 10 | мм
ΔB/B | 10-3 | 
Current | 600 | А

## Slide 35: SUPER-CTAU-FACTORY

## Slide 36: SUPER-CTAU-FACTORY

## Slide 37: SUPER-CTAU-FACTORY

## Slide 38: SUPER-CTAU-FACTORY

## Slide 39: SUPER-CTAU-FACTORY

## Slide 40: THANK YOU