## Slide 1: Firmware Upgrade for the Acquisition Board of the LabPET Small Animal PET Scanner (FESPP-1)
Goals :
Increase event throughput
Reduce logic consumption
No hardware modifications
M.-A. Tétrault, R. Fontaine, R. Lecomte

## Slide 2: Method
Dual Crystal + APD
Bottleneck

## Slide 3: Results
Chart: 
| Sampling | Recovered | Real Time Processing | Communication | Processor
 | 10005 | 0 | 270 | 967 | 3000
Chart: 
| Sampling | Recovered | Real Time Processing | Communication | Processor
 | 5255 | 3426 | 1527 | 929 | 3105
Chart: Channel Number
 | 0 | 400
LGSO Trigger Level