## Slide 1: Current Status of EAST Plasma Control and Data Acquisition
Bingjia Xiao & EAST CODAC group
Institute of Plasma Physics, Chinese Academy of Sciences

## Slide 2: Outline
Introduction
EAST plasma control
EAST central control and timing
  TDAP33(Friday) and CMSP-19 (Tuesday)
EAST data acquisition
EAST data and operation service
Summary

## Slide 3: Introduction: EAST is the 1st full superconductive tokamak consists of >10 sub-systems
ICRF
NBI
Vacuum
Cryogenic
LHW
Water cooling
TF coils and PS
PF coils and PS
ECR
Fueling
Central Control, synchronization and interlock
Plasma Control
Data Acquisition and service
Quench Protection
Diagnostics
Technical diagnostics

## Slide 4: EAST CODAC

## Slide 5: Outline
Introduction
EAST plasma control
EAST central control and timing
  TDAP33(Friday) and CMSP-19 (Tuesday)
EAST data acquisition
EAST data and operation service
Summary

## Slide 6: EAST Plasma Control: inherited from DIII-D Plasma current, density, boundary, position and…stability, …

## Slide 7: Plasma control algorithms
HCN (plasma density)
RTEFIT/
ISOFLUX
Density
RZIP
…
PS
Gas
Valve
…
100
Ch.

## Slide 8: Plasma Current and Position Control IP：<1%(1 kA), R: 0.3%(6 mm), Z: 0.6 mm
Time (s)

## Slide 9: Good agreement between RT & offline EFIT

## Slide 10: Plasma shape feedback control: #13928
540 ms 1752 ms 2040 ms
HCN Chord length

## Slide 11: Plasma density feedback control

## Slide 12: EAST data acquisition
12
Extensible
Segmented data storage & service
Real-Time Operation
Features:
Distributed
Heterogeneous
Remote Controllable
TDAP-13, EAST Data System for Steady-State Operation
TDAP-14, A Slice-Based Data Acquisition System for Long Duration Discharge in EAST
TDAP-32, A Continuous Data Acquisition System Based on cPCI for EAST Tokomak
TDAP33(Friday)

## Slide 13: Outline
Introduction
EAST plasma control
EAST central control and timing
  TDAP33(Friday) and CMSP-19 (Tuesday)
EAST data acquisition
EAST data and operation service
Summary

## Slide 14: Data and operation service
Mdsplus
  jScope, review+, dwscope,
  Eastviewer: flux surfaces, discharge parameters
  Rtscope
  Webscope
Local data archive
  EASTSCOPE
LOGBOOK: Logs for EAST operation
Data analysis
  EFIT, in RT (PCS)
  EFIT offline (between shot):
  ….
CMSP-7, Tuesday
CMSP-27, Tuesday

## Slide 15: EASTVIEWER: viewing EFIT data & discharge parameters
Features: Python & Java in open source; across OS; easy extensible

## Slide 16: Rtscope: PCS to displaying computer by RFM

## Slide 17: Logbook : http://202.127.205.1/

## Slide 18: Webscope: web based pulsed data viewer http://202.127.205.1/logbk/webscope.php
Features:
Web based, Java
Configurable
Multi data server
Multi trees
Accommodate all jScope style

## Slide 19: EAST VOD for plasma discharge image
Features:
Realtime acquired, compressed between shots and published on webpages in FLV format.
Video can be viewed frame by frame relevant to each discharge time.

## Slide 20: Summary
EAST plasma control has realized shape feedbacked, position, density and current controls in good accuracy, using LINUX PC clusters in Myrinet and RFM network.
EAST data acquisition, storage and service, for minute scale discharge, have been provided. Real-time data access is under way.
A series of data viewing and visualization tools have been developed.