## Slide 1: Muon g-2 Experiment at Fermilab State of the Experiment
James Mott, Boston University
for the Muon g-2 Collaboration
Tau2016, Beijing, China
20th September 2016

## Slide 2: Muon Magnetic Moment
The muon has an intrinsic magnetic moment that is coupled to its spin by the gyromagnetic ratio g:
Interactions between the muon and virtual loops alter this number – X & Y could be SM or new physics:

## Slide 3: Standard Model Components of gμ
Hadronic
Dirac
Schwinger
Kinoshita
1st Order QED
Charged,
spin ½ particle
12672 diagrams
Up to 10th Order QED
Dominant uncertainty in calculation
Electroweak

## Slide 4: aμ: Experiment vs Standard Model
gμ normally denoted by anomalous piece aμ:
“Glasgow Consensus”
Contribution | Value (x 10-11)
QED (γ + l) | 116 584 718.951 ± 0.08
Hadronic VP (lo)* | 6 923 ± 42
Hadronic VP (ho)** | -98.4 ± 0.7
Hadronic LBL§ | 105 ± 26
ElectroWeak | 153.6 ± 1.0
Total SM | 116 591 802 ± 42H-LO ± 26H-LBL ± 2other (± 49tot)
*Davier et al, Eur. Phys. J. C(2011) 71:1515; **Hagiwara et al, J. Phys. G38, 085003 (2011); §Prades et al, Lepton Moments (2010)
Significant work on-going
E821 Result (Data-taking from 1998 – 2001):
Exp - Theory:
(3.6σ)

## Slide 5: Fermilab Muon Campus Vision, c. 2012
5
Artist’s Impression of Muon Campus
Convert Tevatron anti-proton source to produce muon beams for experiments such as Muon g-2 and Mu2e
Muon g-2
Mu2e
Delivery Ring

## Slide 6: Fermilab Muon Campus Reality, Today
Muon g-2 hall complete, storage ring installed & operational
Mu2e civil construction complete & building outfitting underway
Conversion of accelerator complex to muon source nearing completion
6
Muon g-2
Mu2e
Delivery Ring
Photograph from Wilson Hall

## Slide 7: Muon g-2: Overall Goal
  Requires 21 x statistics & reduction of key systematics with 4 major steps:
  Transport storage ring to Fermilab
  New experimental hall for ring
  Modify accelerator to provide a high-purity, intense beam of muons
  Upgrade injection, field, detector, electronics & DAQ systems for higher rates and lower systematics
3.3 – 3.6 s
BNL Result
Fermilab Goal
✔
✔
75% Done
80% Done
http://arxiv.org/pdf/1311.2198v1.pdf
7
Reduce experimental error on aμ by factor 4 & resolve the long-standing E821 g-2 discrepancy

## Slide 8: Muon g-2: Experimental Principle
Store longitudinally polarised muons in a dipole field
Measure two quantities to extract aμ:
  magnetic field averaged over muon distribution, B
  anomalous precession frequency, ωa
Cyclotron freq.
Spin precession freq.
Larmor precession
Thomas precession

## Slide 9: Muon g-2: Muon Production
Target
Proton bunch
120 ns wide bunch of 8 GeV protons from Booster & Recycler
Fired at pion production target which is the same as that used for Tevatron Run II anti-proton production (Inconel (Ni-Cr))

## Slide 10: Muon g-2: Muon Production
Pions
3.11 GeV/c
Target
Proton bunch
Outgoing pions focused by a lithium lens and then momentum-selected, centred on 3.11 GeV
The pions are then collected and sent towards the delivery ring

## Slide 11: Muon g-2: Muon Production
Target
Proton bunch
In the delivery ring, pions decay into negative helicity μ+
Create a ~90% polarised beam by selecting highest energy μ+
Momentum of selected μ+ centred on 3.09 GeV (γ = 29.3) to reduce E-field effects:
Pions
3.11 GeV/c
0 for γ = 29.3

## Slide 12: Muon g-2: Storing Muons
Inflector
Storage
ring
R=711.2cm
d=9cm
B = 1.45 T
Target
Proton bunch
Storage ring: 14 m diameter toroidal C-magnet with 1.45 T field
Inflector magnet nullifies the storage ring field for incoming muons
Pions
3.11 GeV/c

## Slide 13: Muon g-2: Storing Muons
Injection orbit
Target
Proton bunch
Pions
3.11 GeV/c
B = 1.45 T
Inflector
Storage ring: 14 m diameter toroidal C-magnet with 1.45 T field
Inflector magnet nullifies the storage ring field for incoming muons
Muons that pass through the inflector are off central orbit

## Slide 14: Muon g-2: Storing Muons
Kicker
magnets
Central orbit
Injection orbit
R
R
Target
Proton bunch
Pions
3.11 GeV/c
B = 1.45 T
Inflector
Storage ring: 14 m diameter toroidal C-magnet with 1.45 T field
Inflector magnet nullifies the storage ring field for incoming muons
Muons that pass through the inflector are off central orbit
Kicker magnets move the orbit to the centre of the storage ring

## Slide 15: Muon g-2: Storing Muons
Electric Quadrupoles
Target
Proton bunch
Pions
3.11 GeV/c
B = 1.45 T
Inflector
Storage ring: 14 m diameter toroidal C-magnet with 1.45 T field
Inflector magnet nullifies the storage ring field for incoming muons
Muons that pass through the inflector are off central orbit
Kicker magnets move the orbit to the centre of the storage ring
Muons focussed vertically with electrostatic quadrupoles

## Slide 16: Measuring the Magnetic Field
Regularly map field inside vacuum chamber with NMR probe trolley
Monitor field during data-taking with fixed probes and interpolate
NMR trolley in vacuum chamber
BNL E821 result averaged around azimuth was good to 1 – 2 ppm
We’re shimming finer to improve this
BNL Field

## Slide 17: Magnet Reassembly at Fermilab
Bottom yoke pieces
Bringing in super-conducting coils
SC coils installed
Top yoke pieces
17

## Slide 18: First Magnetic Field Measurement
Magnet achieved full power September 2015 with peak-peak variation of 1400 ppm:
We care about the field weighted by muon distribution
For 70 ppb uncertainty, we need a uniform field to relax constraints on measuring the muon distribution
The goal is 50 ppm after first round of rough shimming
1400 ppm
50 ppm
Dipole Field Oct 2015
Goal

## Slide 19: Magnetic Design & Shimming Tools
C-shaped design with 1.45 T dipole field between poles

## Slide 20: Magnetic Design & Shimming Tools
C-shaped design with 1.45 T dipole field between poles
Many “knobs” for calibration:
  72 Poles
    Shaping & homogeneity

## Slide 21: Magnetic Design & Shimming Tools
C-shaped design with 1.45 T dipole field between poles
Many “knobs” for calibration:
  72 Poles
    Shaping & homogeneity
  864 Wedges
    Quadrupole asymmetry

## Slide 22: Magnetic Design & Shimming Tools
C-shaped design with 1.45 T dipole field between poles
Many “knobs” for calibration:
  72 Poles
    Shaping & homogeneity
  864 Wedges
    Quadrupole asymmetry
  48 Iron Top Hats
    Change effective μ

## Slide 23: Magnetic Design & Shimming Tools
Many “knobs” for calibration:
  72 Poles
    Shaping & homogeneity
  864 Wedges
    Quadrupole asymmetry
  48 Iron Top Hats
    Change effective μ
  144 Edge Shims
    Quad/sextapole asymmetry
  8000 Surface Iron Foils
    Local changes of effective μ
  100 Active Surface Coils
    Control current to add ring-wide average field moments
C-shaped design with 1.45 T dipole field between poles
Edge shims & surface coils/foils

## Slide 24: Shimming & Field Measurements
Field in storage volume is measured using pulsed proton NMR
Shimming trolley contains array of probes that map whole storage volume
Extracted frequency gives 10 ppB single shot measurement precision
Early stages of shimming:

## Slide 25: Shimming in Action
+
25
Poles
Top hats & wedges
Surface foils
Progress towards a uniform field from Oct ‘15 to July ’16:

## Slide 26: Rough Shimming Result
26
50
ppm
~1400
ppm
Oct 2015  Aug 2016
Goal
August 2016: completed addition of surface foils & achieved 50 ppm goal for rough shimming:
Now installing vacuum chambers & detector systems
 | RMS (ppm) | p-p (ppm)
FNAL (Rough shimmed) | 10 | 75
BNL (Typical scan) | 30 | 230

## Slide 27: Measuring the precession frequency, ωa
We measure ωa using 24 electromagnetic calorimeters placed around the storage ring
The highest energy positrons are correlated with the muon spin in our polarised sample
As the μ+ spin precesses towards and away from the calorimeters the number of high energy e+ is modulated by ωa
Calorimeters

## Slide 28: Extracting ωa from the calorimeter data
Arrival-time spectrum from previous experiment (E821):
Time % 100 μs
0 – 100 ms
100 – 200 ms
200 – 300 ms
300 – 400 ms
400 – 500 ms
500 – 600 ms
600 – 700 ms

## Slide 29: Calorimeter Design
24 calorimeters: each is array of 6 x 9 PbF2 crystals - 2.5 x 2.5 cm2 x 14 cm (15X0)
Readout by SiPMs to 800 MHz WFDs (1296 channels)
28 channel prototype tested at SLAC

## Slide 30: Calorimeter Performance
See NIM A 783 (2015), pp 12–21 for details
σt ~ 25 ps
Temporal separation at 5 ns
σE/E ~ 2.8% @ 2 GeV
Energy Resolution
Timing Resolution
Electron pile-up
Position from Energy Deposit

## Slide 31: Measuring the Muon Distribution
A non-destructive measurement with a resolution of 1 mm.
We need to measure the muon distribution to calculate:
  Average magnetic field
  Pitch correction (vertical betatron motion)
  E-field correction (not all muons at magic mom)
  We do this with three trackers around the ring
Reconstructed decay position
Trackers

## Slide 32: Tracker Design
Each tracker has 8 modules that sit in front of calorimeter
Reconstructed test beam data
Single straw resolution ~ 180 μm
Each module has 128 straws in four layers
Top down view of ring section

## Slide 33: Muon g-2: Current Schedule
MC-1 (GPP)
g-2 Cryo Plant (AIP)
Ring Assembly
Shim Field
Prep Vacuum Chambers/Install
Construct/Install Sub-systems
Accelerator Modifications
Ring cold & ready for operations
Experiment ready for operations
Accelerator ready for operations
Ring Cold
Detector/DAQ Commission
Beam
Tune-up
Physics Production Running
Analysis Tools Development
Mock Data
2nd Results
Full Running Intensity
Construction (Project & Muon Campus):
Operations (Laboratory):
Analysis (Collaboration):
1-2 x BNL statistics
~5-10 x BNL
21 x BNL
Final Results
1st Results

## Slide 34: Take-home messages
The Muon g-2 experiment will reduce error by a factor of 4 compared to the previous Muon g-2 (BNL E821)
The storage ring magnet has been operational for a year and our rough shimming targets have been achieved
Beamline commissioning begins in April 2017, with real data collection starting Autumn 2017
We anticipate a result with the same precision as E821 by mid-2018
We expect to report three results with 100%, 50% and 25% of the E821 uncertainty

## Slide 35: Extra Slides

## Slide 36: Improvements over E821
Goal: 140 ppb
Expected Improvement
7.5 s if same central values
Key: More muons per fill & more fills per hour
Key: Finer shimming of magnet and refined monitoring
Key: Modern detectors/electronics/DAQ/calibration
Increase statistics: x 21 Reduce systematics: x 2 (ωp) and x 3 (wa)

## Slide 37: Systematic Errors on wa (ppb)
Ring Team
Detector Team
Detector Team

## Slide 38: Systematic Errors on wp (ppb)
Brookhaven E821
FNAL

## Slide 39: Absolute calibration of the field
39

## Slide 40: State-of-the-art Laser-based calibration system
Front Panel Prisms
10-4 / h demonstrated