## Slide 1: The Performance of BGO Calorimeter of DAMPE in Orbit
Yunlong Zhang Zhiyong Zhang, Yifeng Wei, Changqing Feng
Shubin Liu, Guangshun Huang
On behalf of DAMPE Collaboration
第十二届全国粒子物理学术会议

## Slide 2: Outline
DArk Matter Particle Explorer
BGO Calorimeter
Status of Calorimeter in Space
Summary

## Slide 3: Dark Matter
天文观测的种种证据，已经可以肯定暗物质的存在，然而暗物质粒子是什么，人们却仍然一无所知。近年来，粒子物理学家试图通过直接或者间接方法去寻找暗物质粒子。

## Slide 4: Space Particle Explorer

## Slide 5: Dark Matter Particle Explorer
Science, 20 May 2011
Strategic Priority Research Program in Space Science
视野更大
高能区更灵敏
Dark Matter Particle Explore
测量e+/-， γ射线等
能区：5GeV～10TeV

## Slide 6: DArk Matter Particle Explorer
500km orbit
e+/-,gamma-rays
5GeV to 10TeV
1.5%@800GeV
Total weight:~1400kg
An instrument on the DAMPE Satellite

## Slide 7: Acceptance vs. Livetime

## Slide 8: DArk Matter Particle Explorer
Plastic Scintillator Array
  Response : Z=1~20
Silicon Tungsten Tracker
  12 layers Si-strip detectors
BGO Calorimeter
  14 layers BGO crystals
  ~32X0
Neutron Detector
  Plastic scintillator with Boron

## Slide 9: BGO Calorimeter
14 layers of 22 BGO crystals
  Dimension of BGO bar: 2.5×2.5×60cm3
  Hodoscopic stacking alternating orthogonal layers
  r.l: ~32X0
  NIL:1.6
Two PMTs coupled with each BGO crystal bar in two ends
Electronics boards attached to each side of module

## Slide 10: Calorimeter Elements
308 BGO bars
616 PMTs
16 FEE boards
All of the elements should be tested before installed in the calorimeter

## Slide 11: Calorimeter Assembly
Carbon Fiber Structure
BGO crystal install
PMT install
Cable arrange
Cable connector
BGO Cal

## Slide 12
12/17/2015 in Jiuquan

## Slide 13
2015年12月20日，低压电源通电
  7时18分02秒，第46轨，FEE加电，指令首次上注并正确执行
  8时45分48秒，第47轨，喀什站首次接收到下传数据，
  各项指标与地面一致，证明BGO量能器所有通道的电路工作正常
2015年12月24日，高压电源开机
  5时43分，第106轨，高压加第1工作档位（450伏）
  8时55分，第108轨，高压加第2工作档位（840伏）
  第109轨，喀什站接收到首批科学数据

## Slide 14: DAMPE in Orbit
~4 solid angle was shielded by the earth

## Slide 15: Space Environment

## Slide 16: 15 orbits per day,~16GB raw data

## Slide 17: Reconstruction Overview
Processing of the raw data
  Calibration Constants
Application of reconstruction algorithms
  Energy, Track..
Event Classification
  calorimeter topology

## Slide 18: Some Parameters
Temperature
DAC Calibration
Pedestal
Dynodes Ratio of PMT
The Attenuation Length of BGO Crystal
Minimum Ionizing Particles

## Slide 19: Temperature Environment in Orbit

## Slide 20: Temperature Environment in Orbit
Temperature of BGO Calorimeter

## Slide 21: DAC
Charge injection calibrations are used to characterize the nonlinear behavior of the electronics chain.
After applying the measured non-linearity calibration, residual non-linearity is better than 1%
+/-2.5%

## Slide 22: Pedestal
  Pedestals are the offset voltages for each output channel
dy2
dy5
dy8

## Slide 23: Pedestal vs. Time (Event Rate)
SAA
Radiation belt in N/S

## Slide 24
dy2
dy5
dy8
Pedestal vs. Time (Temp)
the pedestal constants were calibrated every day
mean
sigma

## Slide 25: The Readout of Sensitive Element
Front End Electronics

## Slide 26: Dynode Ratio

## Slide 27: Dynode Ratio vs. Time (Temprature)
The dynode ratio constants were calibrated every 5 days

## Slide 28: Attenuation Length of BGO bar
BGO bar

## Slide 29: Attenuation Length of BGO bar
particle

## Slide 30: Attenuation Length of BGO bar
λ= 1.4 m

## Slide 31: Minimum Ionizing Particles
The MIPs signals were used as the reference of the energy reconstruction

## Slide 32: MIPs

## Slide 33: MIPS Signal of Heavy ions
P
He
C
O
N
B
Be

## Slide 34: MIPs spectrum in different latitude
The MIPs calibration work just carry out in the -20deg~20deg

## Slide 35: MIPs vs. Time (Temperature)
The MIPs constants were calibrated per 5 days

## Slide 36: Raw Data to BgoHits

## Slide 37: 7 TeV e+/- candidate

## Slide 38: Summary
The DAMPE satellite was lunched in the end of last year successfully
The Calorimeter of DAMPE works well in Space
  Pedestal, Dynode-Ratio, MIPs..
The preliminary track and energy from BGO calorimeter could be reconstructed
The data analysis work is in progress

## Slide 39: THANKS

## Slide 40: Backup

## Slide 41: Cosmic-ray Calibration
Use Cosmic-ray (muons) in lab to calibrate BGO Calorimeter
X-D
Y-D

## Slide 42: Beam Test in CERN
PS：protons Momentum 24 GeV/c， Secondary hadrons and electrons
SPS: protons Momentum 400GeV/c， Secondary hadrons and electrons，Pure electrons from 5GeV to 300GeV

## Slide 43: Electron Energy Rec（SPS）
5, 10, 20, 50, 100, 149, 197, 243 GeV electrons

## Slide 44: Energy Response

## Slide 45: Reconstruction Algorithm
The calorimeter direction Reconstruction
  A method called neighbor Cell Deposited Energy Ratio (NCDER) is applied to the Calorimeter direction reconstruction

## Slide 46
Compared to the barycenter method,
the NCDER is much better

## Slide 47: Energy
A method was applied to correct the energy deposition in BGO Calorimeter
Beam Test