## Slide 1: A Freon-Filled Bubble Chamber for Gamma-Ray Detection in Intense Laser-NCD Plasma Interaction
邹宇斌，赵伟博，马文君 宋炜 郭兆珩，颜学庆
23, June, 2016, Beijing
Institute of Heavy Ions Physics (IHIP)
State Key Laboratory of Nuclear Physics and Technology Peking University, China

## Slide 2
Contents
背景
探测器选型
气泡室
初步实验及结果
展望

## Slide 3
Ⅰ. 背景
Generating Overcritical Dense Relativistic Electron Beams via Self-Matching Resonance Acceleration
PHYSICAL REVIEW LETTERS 110, 045002(2013)

## Slide 4
Ⅰ. Next generation of light source ？
PHYSICS OF PLASMAS 22, 080704 (2015)

## Slide 5: an intense laser pulse in near critical dense plasma
B.Liu, et al.,PRL 110, 045002 (2013)
Radius~1micron
Ⅰ. Self-Matching Resonant Acceleration
100 fs

## Slide 6
Ⅰ. Next generation of light source ？
Up to 100MeV
emission angle π/18< θ <π/9
PHYSICS OF PLASMAS 22, 080704 (2015)
～1024 photons/s/mm2/mrad2/0.1BW
ROI

## Slide 7
Ⅱ. 怎么探测-1
The difficulty of scintillator detector：
The detector array is composed of independent component
需要大于10000路的阵列

## Slide 8
Ⅱ. 怎么探测-2
Nature Physics DOI:10.1038
Gamma-rays from harmonically resonant betatron oscillations in a plasma wake
高能区能量分辨急剧降低
通过康普顿电子降低探测器直接探测的光子能量，降低对探测器灵敏体积的需求

## Slide 9
Ⅱ. 怎么探测-3
Review of Scientific Instruments 84, 083505 (2013)
衰减法？
几MeV以上失去能量分辨

## Slide 10
F. Horst et al. / Nuclear Instruments and Methods
in Physics Research A 782 (2015) 69–76
A TLD-based ten channel system
for the spectrometry of bremsstrahlung generated by laser-matter interaction

## Slide 11: 气泡室
阿耳瓦雷茨1959年建成的72英寸气泡室
建于上世纪70年代的、直径3.7米、高4米的欧洲大气泡室BEBC

## Slide 12
基本原理
P1T1
temperature being constant,
decrease the pressure
M. C. Ghilea, D. D. Meyerhofer, and T. C. Sangster, Rev. Sci. Instrum. 82, 033305 (2011)

## Slide 13: 气泡室
重复频率低
装置复杂，维护困难
数据获取困难（胶片拍照）
数据处理困难（人工处理图像）
The PICO project aims to detectect dark matter particles with the bubble chamber technique. The expriment is installed at a depth of 2 km in the SNOLAB underground laboratory at Sudbury, Ontario, Canada. The PICO collaboration is presently operating two dark matter search experiments: a bubble chamber filled with 37 kg of CF3I and a chamber loaded with 3 kg of C3F8. A much larger version of the experiment with 500 kg of active mass is in development.
From: http://www.picoexperiment.com/
目前不需要高重频
小型装置，新型执行机构降低复杂度
数字化相机获取数据，自动化预处理
程序自动进行数据处理

## Slide 14
Ⅲ. The operating principle of bubble chamber
Gamma-ray interacts with substances
Active medium:R134a
By CASINO，For 1MeV elevtron ,1000，Incident upon R134a
Depth 1.75mm
测量原理：
气泡串得到康普顿电子径迹长度
计算康普顿电子能谱
计算入射gamma能谱

## Slide 15: 原型设计
Bubble Chamber：
45mm* 60mm * 75 mm
基本覆盖辐射场宽度，探测效率超过20%

## Slide 17: Ⅲ. The operating principle of bubble chamber
Bubble chamber head
Temperature control
Media source
Pressure control

## Slide 18
标定实验
calibration experiment
22Na ~ 1.27MeV
300kBq

## Slide 19
The experiment and results @ RAL
Astra Gemini
wavelength
800nm
~ 10 J
peak power of ~ 0.5 PW
40 femtoseconds
~ 2x1020 Wcm-2
Target : CNT
Plasma lense

## Slide 20
1
2
3
Ⅲ. The experiment conditions and results @ RAL
PKU: Novel Bubble Chamber gamma spectrum
RAL, Gemini Laser
a~10, n~0.4 nc
MeV photons
observed

## Slide 21
一个结果
Notes: Error should be taken into account in the reconstruction

## Slide 22
V. Our instruments and energy spectrum analysis
径迹中气泡数
约1.3 MeV

## Slide 23
VI. Outlook 三维重建

## Slide 24
VI. Outlook
By Cloud Compare software

## Slide 25
VI. Outlook
完成三维重建
加入康普顿散射角进行能谱重建

## Slide 26
Thanks for your attention