## Slide 1: Progress of Helium Refrigerators in TIPC
Qing LI
Technical Institute of Physics & Chemistry (TIPC)
June 7th, 2018

## Slide 2
Contents
Brief Introduction of TIPC
Series Helium Refrigerators

## Slide 3
Founded in 1999; Former Cryogenic Laboratory and Institute of Photographic Chemistry;
Cryogenics parts is the Only national synthetic institute of cryogenics
510 staffs, including 5 Members of CAS, 1 Members of CAE, 86 professors and 149 associate professors, over 500 enrollment of graduate students
Introduction of TIPC

## Slide 4
1. Brief Introduction of TIPC
Campus of LANG FANG (in Hebei Provence)
93380 square meter (140 Mu)
Building of base for large scale refrigerator
7000 m2

## Slide 5
National low temperature calibration system

## Slide 6: Content
Synthetic low temp. test system
In TIPC

## Slide 7
ITER Org. Prof. Libeyre,
CERN Prof.Sgobba
Visit TIPC
To check the cryogenic test facility
and quality system
ITER authorized on low temperature material in 2013
Notes: 90x120x35mm,2387g
7

## Slide 8
Contents
Brief Introduction of TIPC
Progress of Helium Refrigerators

## Slide 9
Helium Refrigerators
    2kW@20K
    10kW@20K
    250W@4.5K
    Helium liquefier L40 (40l/h)(L40A, L40B)
    2.5kW@4.5K/500W@2K
Helium Refrigerator

## Slide 10
2009-2012: 2 kW@20K: Remote control, 30 days stable operation, no any problem even after one power net stop
Move to environmental Simulation system for launch vehicle material test
Helium Refrigerator – 2kW@20K

## Slide 11
Oil remover subsystem
Cold box (turbo-expander)
Helium compressor
72h operating test:
Cooling capacity: 10.8kW@19.7K
Turbine isentropic efficiency: 76%
2010-2014: 10kW@20K
Helium Refrigerator – 10kW@20K

## Slide 12
Content |  |  | Targets
System | Cooling power | Large one | 2.5kW@4.5K
 |  |  | 500W@2K
 |  | Small one | 250W@4.5K
Key technology | Turbine Expender |  | 250 krpm Eff.: 75%
 | Cold Compressor |  | 60 krpm Eff.: 60%
Helium Refrigerator – 2500W@4.5/500W@2K

## Slide 13
4 K key technology
2015
2016
2018
2019
4 K system
2 K key technology
4 K + 2 K system
2017
4 K system
Middle
Point
250W@4.5K
Helium Refrigerator – 2500W@4.5/500W@2K

## Slide 14
Compressor & Cold Box
Turbine expender speed: 250krpm
2015-2017: 250W@4.5K (All key components were domestics.)
Helium Refrigerator – 250W@4.5K

## Slide 15
Maximal cooling capacity: 317W@4.4K
turbine thermal efficiency: T1=67.7%, T2=66.4%
Helium Refrigerator – 250W@4.5K

## Slide 16
Maximal liquefaction rate: 83 L/h
Turbine thermal efficiency: T1=67.6%, T2=72%
Helium Refrigerator – 250W@4.5K

## Slide 17
Fujian Snowkey Co.Ltd Wuxi Compressor Co.Ltd Yantai Moon Co.Ltd
Development of Helium Screw Compressor
Helium Refrigerator – 250W@4.5K

## Slide 18
1-14 bara helium compressors (25g/s)
Kaesser Snowkey Moon Wuxi
Volumetric
Adiabatic
Isothermal
The performance: close to the level of international products
Helium Refrigerator – 250W@4.5K

## Slide 19
Systems for 4 K Tech. validation
40L/h He Liquefier A：48 L/h;
Tested for one years;
Applied in Ningbo Jansen NMR Technology Co., Ltd. for helium extraction
Helium Refrigerator – L40A

## Slide 20
Re-design the new L40B
 | Dim.(mm) | High (mm)
L40A | 1816 | 2590
L40B | 1414 | 2295
Redesign HX and tubes，L40B is smaller than L40A about 53%。
L40A vs. L40B size of HX
L40A vs.L40B coldbox
Helium Refrigerator – L40B

## Slide 21
Systems for 4 K Tech. validation
  Turbine isentropic efficiency: 66%, 64%;
  Applied in helium liquefaction workshop in TIPC
Helium Refrigerator – L40B
Condition | T1 eff. | T2 eff. | Mass flou | liquify（L/h）
1 | 67.07 | 65.69 | 19.9 | 42
2 | 69.27 | 65.74 | 22.4 | 56
3 | 68.86 | 65.99 | 22.2 | 58

## Slide 22
Temperature curve of purifier processes at 95.7% input
Helium Refrigerator – L40B

## Slide 23
    The key technology : matured and gradually broken the international company monopoly.
    FuhaiCryo Co.Ltd: order of 120 million RMB in 2017
    The first international contract: Korean company Vitzrotech to supply a 200W@4.5K helium refrigerator to Korean National Nuclear Fusion Reaction Institute (NFRI)
Strategic cooperation agreement-"large scale cryogenic refrigeration of China and South Korea " (Jan. 10th, 2017)
Signature of “200W@4.5K helium refrigerator” export contract (Nov. 21th 2017)
British gasworld website releases news (Dec. 6th, 2017)
Helium Refrigerator – 250W@4.5

## Slide 24
Overall design finished & key parts are under development
Compressor
and filter
Gas control
4K coldbox
2K ColdBox
Turbine expender
2K dewar
Cold Compressor
Vacume Pump
HX
purifier
LN
低温阀门
4K dewar
Vacume HX
5KSHe
4K2PHe
2KLHe
4KGHe
4KLHe
2KGHe
20KGHe
1
2
4
5
6
7
8
9
10
11
3
50KGHe
70KGHe
4-80K
GHe
Helium Refrigerator – 2500W@4.5/500W@2K

## Slide 25
Helium compressor
Oil remover subsystem
Vacuum pumps
2K cold box
(cold compressor)
4K cold box (turbo-expander)
3D configuration of system
Helium Refrigerator – 2500W@4.5K

## Slide 26
Development of Helium Screw Compressor
UK Houghton compressor
Fujian Snowkey Co.Ltd
Yantai Moon Co.Ltd
Helium Refrigerator – 2500W@4.5K

## Slide 27
Parameter | Unit | Japan Kawasakawa | UK Houghton | Yantai Moon | Snowkey
Volumetric efficiency | % | 83.0 | 81.06 | 93.7 | 92.4
Isothermal efficiency | % | 52.9 | 53.1 | 63.1 | 61.0
Adiabatic efficiency | % | - | 74.4 | 88.4 | 84.9
Mass flow rate | g/s | - | 380.8 | 439.3 | 422.9
oil content | ppmW | - | - | 2 | 20.9
Oil leakage of shaft seal | ml/day | - | - | 50 | 94.3
Leakage rate | Pam3/s | - | - | 8.0×10-7 | 7.6×10-6
Noise level | dB | - | - | 97.4 | 97.8
1-20 bara helium compressors
Performance : beyond the level of international products (tested by helium gas)
Helium Refrigerator – 2500W@4.5K

## Slide 28
Cold box
Vacuum pump
Integration of 2.5kW@4.5K cryo-plant will be finished at the end of this year
Helium Refrigerator – 500W@2K

## Slide 29
    Magnet bearing
    High speed motor speed: 60 krpm
    Test rig will be finished in next month
Main challenge cold compressor
15krpm冷压缩机样机
电磁悬浮轴承
叶轮和长轴设计
60krpm冷压缩机实验样机
Helium Refrigerator – 500W@2K

## Slide 30
    Finished 60krpm speed test in the room temperature
Cold compressor (developed by Czech company)
Helium Refrigerator – 500W@2K

## Slide 31
Products & Engineering
（Fuhai Cryo Co.Ltd and Zhongshan Fuhai Cryo Co.Ltd ）:
1) Products: Helium liquefiers and Refrigerators;
2) Engineering: Cryogenic system for Large Scientific Facilities;
3) Helium resource (helium extraction from BOG of LNG)
4) Products: Hydrogen liquefiers and refrigerator
Helium Refrigerator – commercialization

## Slide 32
1
2
4
5
6
7
8
3
9
Cold compressor
50KGHe
70KGHe
4K
SHe
2KGHe
4-300KGHe
2-4K coldbox
内纯
化器
Turbine expenders
LN
Compressor and filter
Gas system
Vacumm pump
valve
HX
10kW@4.5K Cryo-plant key technologies development (for ADS-HIAF)
Performance improvement of Key Components (TB, CC, MC, HX, etc. )
Helium Refrigerator – Near future

## Slide 33
Thanks for your attention