## Slide 1: Status of LHAASO Computing Platform
Haibo Li
On behalf of Computer Center, IHEP, CAS
2019-10-25
The second LHAASO collaboration meeting in 2019

## Slide 2: Outline
Overview of LHAASO computing platform
Key technologies and Services
Current status
Next plan
Summary

## Slide 3: LHAASO Computing requirements
~6 Petabytes of data annually generated by the LHAASO detectors
  6 PB of raw data, and >200TB of reconstruction data
  Totally >60PB for ten years
>2 Petabytes of data generated by MC simulation

## Slide 4: Goals of LHAASO computing platform
Construction period
  Tape storage:2.5PB each year, needed double copies, so 5PB is planned.
  Disk storage：4PB is expected to be generated in the construction period (raw data + reconstruction data)
  Computing resources: 5120 CPU core blade servers and 6 GPU servers
  Dedicated network：the network gradually increases, finally reaches 2Gbps, ensuring the transmission of 6PB data every year
  Computing system software: data transmission system, etc.
Running period (planning)
  Tape storage: 6PB per year, 60PB per 10 years, 120PB dual copies
  Disk storage: ~ 20PB high-performance parallel file system, saving the raw data and all historical reconstruction data
  Computing resources: CPU or FPGA and other coprocessors, 10000+ CPU cores for simulation, reconstruction and analysis
  Private line network: network bandwidth above 2.5Gbps
  Computing system software: data transmission system, distributed computing system, etc.

## Slide 5: LHAASO data workflow
IHEP
DAQ
Detector
(km2a,wcda,wfcta,GRB)
Distributed computing
Local data center at Beijing
on-site data center at Haizi Mountain
Operation center at Daocheng
Dedicated line
Raw data
Reconstruction data

## Slide 6: LHAASO Computing platform Architecture
Login nodes cluster
(Beijing, daocheng..)
Network
Beijing IHEP site (Main site)
HTCondor scheduler
AFS, Kerberos
computing cluster
storage cluster
tape
Daocheng site
HTCondor scheduler
computing cluster
storage cluster
Chengdu site
HTCondor-C
computing cluster
…
storage cluster
…

## Slide 7: Key components
Computing system
  Login cluster
  Computing cluster
  Distributed cluster
Storage system
  Disk storage
  Tap storage
  Backup storage
Network system
  Network Connection Management
  Data transfer
  Security
Support management system
  user management
  Automation System Management
  Remote Monitoring and Operation Management

## Slide 8: computing system
Local HTCondor Pool at IHEP
  ~14,500 CPU cores, shared by 16 groups
  Group quota with surplus
    Fairness: resource ratio
    High resource utility (use as much resources as possible)
  1,116 owned by LHAASO
  1,920 cpu cores come soon
  Extra ~1000 vm cores serving in virtual pool
  Onsite (Daocheng) HTCondor Pool is built at the end of 2018
  468 dedicated CPU cores
  1,280 cpu cores come soon
  More than 41,000 jobs were finished

## Slide 9: LHAASO job in last 6 months
In last 6 months
  Has finished 5,105,517 jobs
  Has consumed 6,704,227 cpu hours

## Slide 10: Updates on computing system
New features from hep_job
  hep_edit: edit the job attributes
    (e.g. run hep_edit 447869 -m 4000 if job 447869 need 4GB memory)
  hep_release: only release the held job to idle state
    (e.g. run hep_release -all if all held jobs landing on the specific worker nodes)
  hep_rm -forcex, --forcex
    only remove jobs being stucked in state "X”
New limitations
  Physical Mem limit (2GB~4GB/job)
    depending on the size of memory the work node
  Virtual Mem limit(16GB/job)
    the limit value might be changed in the future
  CPU limit (1 cpu core/job)

## Slide 11: Disk storage
User directory
  /afs, 500M by default, with backup
Disk storage
  /eos
    The main data storage disk of lhaaso experiment, 1TB and 250k files per user by default
  /scratchfs
    Temporary file storage, 500GB per person by default, 200k files
Software storage
  /afs
  /cvmfs/lhaaso.ihep.ac.cn/anysw/
Tap storage
  /castor/ihep.ac.cn/lhaaso/

## Slide 12: EOS Storage
Two instances are running
Beijing instance
  Used for local data process
  Capacity: 2.39 PB
  Used: 2 PB
  Number of directories: ~1.5M
  Number of files: ~75M
  2PB available space comes soon
  Daocheng instance
  Used for on-line quick reconstruction
  Capacity:713.20 TB
  Added 560TB since last workshop
  Used:614.78TB
  Number of directories: ~788K
  Number of files: ~18M
  4 storage server
  Data is growing rapidly

## Slide 13: EOS + JBOD Evaluation
Motivation
  Current RAID disk arrays can not run full bandwidth, which will become a performance bottleneck
  Use JBOD instead of RAID to provide better performance
  Under the same available storage capacity, the cost is equivalent
Tests on JBOD
  Preliminary tests showed that the speed on JBOD was increased by about two times compared with RAID.
  A single SATA disk is basically 130MB/s, the aggregation of 30 SATA disks can reach 4 GB/sec.
  60+ disks JBOD should be configured with two servers.
Next Step
  Purchased 4 DELL ME484 JBOD arrays and 8 servers, totally raw capacity 4PB.
  Will be extended to the LHAASO EOS instance in Q4, configured with replica layout in EOS.
DELL ME484 JBOD
5U84 drive expansion
12TB *84, 4PB raw capactiy
Support for direct attach SAS using 12Gb SAS HBA
Chart: JBOD vs RAID
| read(GB/s) | write(GB/s)
ME484(JBOD) | 7 | 7
ME4084 (RAID) | 3 | 3

## Slide 14: Tap storage
Castor node: cnslhaaso.ihep.ac.cn
Tape servers: tplhaaso<id>.ihep.ac.cn
Tape backup location：/castor/ihep.ac.cn/lhaaso/raw/
Directory structure ： yyyy/mmdd, like 2019/0809
5 LTO7 tape drivers，180 LTO7 tapes
Castor total capability currently: 1PB
Reading/writing speed：
  Writing: 150 MB/s per driver，600 MB/s in total
  Reading: 290 MB/s per driver，900 MB/s in total
LHAASO data backup to tape: since July this year
Castor capacity expansion in Q4
  7 LTO7 drivers and 360 LTO7 tapes up to 2.16 PB

## Slide 15: Tap storage
LHAASO raw data backup
  PATH： /eos/lhaaso/raw/<exp> to /castor/ihep.ac.cn/raw/<exp>
    WCDA: /eos/lhaaso/raw/wcda -> /castor/ihep.ac.cn/lhaaso/raw/wcda
  Policy:
    Single file packing up and compression for raw data: WCDA, WFCTA, GRB
    Year/Month-day dir packing up: WCDAPLS
    KM2A:
      Whole directory packing up before 2019/1001.
      single file packing up after 2019/1001.
LHAASO data backup status
Path | WCDA | WCDA++ | WFCTA | GRB | KM2A
Date | 2019/0731 | 2019/0930 | 2019/1009 | 2019/0830 | 2019/0930

## Slide 16: Network
Network at IHEP
  Internet
    IHEP-EUR.: 10 Gbps
    IHEP-USA: 10 Gbps
    IHEP-Asia.: 2.5 Gbps
    IHEP-Univ.: 10 Gbps
    LHCONE: IPv4 (10Gbps) + IPv6 (10Gbps)
  Data Exchange Network
    160 Gbps Backbone
    IPv6 enabled
DaoCheng Network
  CERNet and CSTNet :
    DaoChengIHEP  EUR/USA/JAPAN…
  Commercial Network Operators
    China Telecom , China Mobile
  Network bandwidth from LHAASO onsite to IHEP (about 400Mbps)
  High speed Ethernet：10G/40G
  VPN
    DaoCheng IHEP
    Chengdu Branch  IHEP
    Chengdu Branch LHAASO onsite
IHEP Network
DaoCheng Network

## Slide 17: Data Transfer
The Data Transfer System has been online since February 6, 2018 and running in good status
Two instances located in Daocheng and Beijing
  Daocheng: Data Sender
  Beijng：Data Receiver
  Working in master and backup mode for both sites
Data storage path
- /eos/lhaaso/raw/detector_name/2019/1010/
Real-time transfer monitoring (more than 3TB data need to be transferred each day)
See more details at Zhuang bo’s talk

## Slide 18: Monitoring
Monitoring the distributed computing system and visualized in category
Support collected data compression and encryption transmission
Real-time streaming data processing
See more details at Hu qingbao’s talk

## Slide 19: Monitor notification
Timely and accurate alarm notification
  Notify the system administrators at the first time
Alarms: Web page, WeChat, Email, SMS

## Slide 20: IT HelpDesk service
The Service Desk acts as a single point of contact for requests and incidents of users.
Request and incidents can be communicated to the Service Desk by:
  Using the Helpdesk Service
  Sending an email to helpdesk@ihep.ac.cn
  Calling the Service Desk by phone: 010-88236855
http://helpdesk.ihep.ac.cn/

## Slide 21: Current computing platform status
The preliminary system with full functions has been completed and operated reliably.
Current：1PB tape、3.2PB disk、1500 CPU Cores
Disk storage system：EOS
Data transfer system: Spade
Dedicated-Line from Haizi mountain to Beijing (400Mbps)
Cloud platform：Openstack
High throughput computing system：HTCondor
Complete the 1/4 computing system, 2019. 12
Formal machine room on LHAASO onsite put into use on 2019.7.17
Next Plan
EOS software upgrade to v4.5.6, promote the use of xrootd
Transforming Beijing Data Center
Improve system and expand resources
2019.12: 1/2 computing system
Construction
Data center @LHAASO onsite

## Slide 22: Tips for using the computing platform
Submit jobs to local physical cluster
  $hep_sub -g lhaaso job.sh
Submit jobs to local virtual cluster
  $hep_sub -g lhaaso -p virtual job.sh
Submit jobs to Daocheng cluster
  $hep_sub -site daocheng -g lhaasorun -os SL7 job.sh

## Slide 23: Tips for using the computing platform
Job script specification
  /cvmfs as software repository
    /cvmfs/lhaaso.ihep.ac.cn/anysw/
  /eos as storage backend, using xrootd
    In the configuration or script file
    /eos/user/l/lihaibo/filein.dst  root://eos01.ihep.ac.cn//eos/user/lihaibo/filein.dst
  /scratchfs as err and out log path
    Use -o,-e to specify the output
Example
  /afs/ihep.ac.cn/soft/common/sysgroup/hep_job/bin/hep_q -p virtual -g lhaaso testjob.sh -o /scratchfs/cc/lihaibo/eostest/testjob.sh.%{ClusterId}.out -e /scratchfs/cc/lihaibo/eostest/testjob.sh.%{ClusterId}.err
  As for configuration file, recommend coping to local disk using “eos cp”
Refer: http://afsapply.ihep.ac.cn/cchelp/zh/experiments/LHAASO/

## Slide 24: summary
System runs well, 1 / 4 phase acceptance has been completed
The formal machine room at Haizi mountain was put into use in July 2019
LHAASO raw data has been written to the tape library from July
Some new features has updated in hep_job toolsets
Computing and storage resources will be increased recently
Recommended using xrootd in job script
The EOS system will be upgraded in the near future, and the performance of fusex will be greatly improved
More computing resources will be included
  Chengdu site is being built for LHAASO
  Welcome contributing computing resources

## Slide 25
Thanks for your attentions!
谢谢！