## Slide 1: Status of the MEG Experiment
Stefan Ritt :: Head Muon Physics Group :: Paul Scherrer Institute, Switzerland
3rd Workshop “Physics at the high-intensity hadron accelerator in China”

## Slide 2: Motivation for cLFV searches
Standard Model (SM) of particle physics is very successful, but falls short on
  Dark matter
  Matter-antimatter asymmetry
  Mass hierarchy
  ...
Something is missing

## Slide 3: Searches for New Physics Beyond the SM
Real BSM
particles
Energy Frontier – LHC
“Direct” Searches L ~ 10 TeV
Virtual BSM
particles
Intensity Frontier - cLFV
“Indirect” Searches L > 1000 TeV

## Slide 4: Neutral vs. Charged Sector
Lepton Flavor Violation
  observed in the neutral sector (neutrino oscillations)
  Not observed in the charged sector “accidental” symmetry!
Neutral Sector
Charged Sector
νe
ντ
νµ
✓
X
µ → e g
µ → e e e
τ → e g
…

## Slide 5: cLFV in the SM
cLFV is possible in the SM through neutrino mixing, but immeasurable small
g
W-
m-
nm
ne
e-
g
m-
e-
⇒ A cLFV signal would be clear evidence for New Physics
“Beauty of cLFV”

## Slide 6: cLFV processes sensitive to New Physics (NP)
m, t “forbidden” decays
m  e
conversion
Anomalous
magnetic
moment

## Slide 7: cLFV processes sensitive to New Physics (NP)
This talk
Next talk
Mu3e @ PSI
m, t “forbidden” decays
m  e
conversion
Anomalous
magnetic
moment

## Slide 8: Long history of cLFV searches with muons
Started with Pontecorvo & Hincks 1947
Currently all three limits held by PSI experiments
MEG II experiment aims for 10x improvement
COMET, Mu2e and Mu3e aim for > 100-1000x improvement
1940 1950 1960 1970 1980 1990 2000 2010 2020 2030 2040
10-1
10-2
10-3
10-4
10-5
10-6
10-7
10-9
10-10
10-11
10-12
10-13
10-14
10-15
10-16
10-8
10-17
1
10-18
m → e g
mA → eA
m → eee
MEG
MEGII
COMET
Mu3e
Mu2e
SINDRUM I/II
4.2 x 10-13
Exciting times ahead

## Slide 9: Mu3e Experiment at PSI
Scintillating tile detectors
70 ps resolution
Scintillating fibre detectors
500 ps resolution
< 0.3% X0
HVMAPS “MuPIX” detector
80 mm resolution
1 layer (50 mm): ~ 0.1% X0
Muon Beam
108 m/s
Current limit m→eee: 1 x 10-12
Mu3e Phase-I: 1 x 10-15
Mu3e Phase-II: 1 x 10-16
Commissioning: ~2022
m+ → e+e+e-

## Slide 10
The MEG Experiment

## Slide 11: Signal and Background m → e g
Signal
qge = 180º e and g in time Ee = 52.8 MeV Eg = 52.8 MeV
e
g
m
180º
52.8 MeV
52.8 MeV
n
e
g
m
< 52.8 MeV
< 52.8 MeV
n
Prompt Background
n
e
g
m
< 52.8 MeV
n
n
m
n
e
Accidental Background
m→ e g
Fit
Acc. BG
Prompt BG
Signal
Data

## Slide 12: Signal and Background with Muon Rate
Rm Muon stopping rate
T Measurement time
DEg Photon energy resolution
DPe Positron momentum resolution
DQeg e+ - g angular resolution
Dteg e+ - g timing resolution
W Solid angle
𝓑 m → e g branching ratio
eg, ee, es Efficiencies
Rm
N
Nsig
Nacc
optimal
signal / background
ratio
Nacc << 1
efficiency-dominated regime
Nacc >> 1
background-dominated regime
At high muon rate, background dominates

## Slide 13: DC muon beam
DC muon beam
Pulsed muon beam
instantaneous muon rate
time
instantaneous muon rate
time

## Slide 14: DC muon beam
DC muon beam
Pulsed muon beam
instantaneous muon rate
time
instantaneous muon rate
time
Same number of muons, higher instantaneous rate → more background rate
DC muon beam is better for MEG / Mu3e experiments!

## Slide 15: cLFV Experiments at PSI
High Intensity Proton Accelerator Facility
  590 MeV protons
  2.4 mA proton current
  1.4 MW beam power
Mu3e
µ+ → e+ e- e+
MEG II
µ+ → e+ g
Sensitivity Goal
≈ 4 x10-14
Sensitivity Goal
≈ 1 x10-16

## Slide 16: MEG II and Mu3e beam lines
MEG II and Mu3e (Phase I) have similar beam requirements:
  Intensity O(108 m+/s), low momentum p=28 MeV/c (surface muons)
  Stopped in few cm2 target foil
  Low positron contamination
Mu3e
Compact
Muon
Beamline
MEG
Muon
Beamline

## Slide 17: MEG Experiment Layout
γ
μ+
e+
1m
Drift Chamber
Ultra-light material
Precise measurement
of e+ tracks
COBRA Magnet
Gradient field .27 T magnet
sweeps out “high pT” e+ quickly
Muon Beam
Most intense DC muon beam
up to 108 m+/s on target
Timing Counter
Resolution <100ps
in 1.4T B-field
Liquid Xenon Calorimeter
World’s largest LXe calorimeter ~900 l (2.7t) with 846 PMTs
immersed in Xenon
Lots of pioneering work

## Slide 18: MEG: A few pictures
Muon stopping target
Liquid Xenon Calorimeter

## Slide 19: Calibrations
LED
PMT Gain
Higher V with light att.
Can be repeated frequently
alpha
PMT QE & Att. Length
Cold GXe LXe
Laser
Laser
(rough) relative timing calib.
< 2~3 nsec
Nickel g Generator
9 MeV Nickel γ-line
NaI
Polyethylene
0.25 cm Nickel plate
3 cm
20 cm
on
off
Illuminate Xe from the back
Source (Cf) transferred by comp air  on/off
Proton Acc
Li(p,)Be
LiF target at COBRA center
17.6MeV g
~daily calib.
Can be used also for initial setup
Li(p, 0) at 17.6 MeV
Li(p, 1) at 14.6 MeV
p- + p  p0 + n
p0  gg (55MeV, 83MeV)
p- + p  g + n (129MeV)
10 days to scan all volume precisely
LH2 target
g
e+
e-
e
g
n
m
n
Lower beam intensity < 107 to reduce pile-ups
A few days ~ 1 week to get enough statistics
MEG Detector
Standard
Calibrations
p0 gg
m radiative decay
Absolute calibration – Long term stability – Continuous monitoring

## Slide 20: Full MEG Dataset
Chart: 
| 2009 | 2010 | 2011 | 2012 | 2013
Series 1 | 60000000000000 | 110000000000000 | 230000000000000 | 280000000000000 | 210000000000000
Muons stopped on target
1 x 1014
2 x 1014
3 x 1014
Total: 7.5 x 1014 stopped muons on target

## Slide 21: MEG Event Distribution
90% signal efficiency cut for other two variables
Highest probability events differ in left and right plots.
1, 1.64 and 2s
contours on
signal PDF
No indication of signal excess
e
g
m
180º
52.8 MeV
52.8 MeV

## Slide 22: Final MEG Result
Signal PDF (upper limit magnified by 100)
Nacc = 7739 ± 38
NRMD =625 ± 28
Best fit to Data
Best fit: BR(m→eg) = -2.2 x 10-13, Upper Limit: BR(m→eg) ≦ 4.2 x 10-13

## Slide 23: MEG Impact
L. Calibbi et al.
Eur. Phys. J. C74 (2014) 1-20
MEG 2016
Antusch et al. JHEP 0611 (2006) 090
MEG 2016
Large parameter space for BSM models (SUSY) are already excluded by MEG

## Slide 24: MEG: a “cover” experiment
Final MEG Result
Polarization Paper

## Slide 25
The MEG II Experiment

## Slide 26: MEG II Experiment
Increased muon beam
Reduced target thickness
New positron tracker
Better acceptance
Pixelated timing counter
Extending g-acceptance
Improved g resolutions
New trigger & DAQ system
MEG
MEG II
Eight Improvements

## Slide 27: Upgraded LXe Calorimeter
216 x 2” PMT
4096 x 12x12mm2 SiPM
(0.6 m2)
2” PMT
new 12x12 mm2 SiPM
for LXe (UV / cold)
normal SiPM

## Slide 28: New single volume Drift Chamber
Higher granularity → more hits per track
Cluster counting technique
Higher acceptance → higher efficiency
~2 x better resolutions
2m

## Slide 29: New WaveDAQ Trigger & DAQ System
9000 channels 5 GSPS / 12 bit waveform digitizing
Integrated bias voltage, amplifiers and shaping for SiPMs
Integrated global trigger system (LXe calorimeter sum over 4000 channels every 12 ns)
WaveDREAM board (16 chn)
WaveDAQ crate (256 chn)
DRS4 Chip

## Slide 30: Status MEG II
Developments took much longer than anticipated
  Noise problems in mixed-signal electronics boards
  Wire breaking in drift chamber
  Low light yield in LXe calorimeter
  Ageing of SiPM in LXe calorimeter
First full engineering run planned for 2020
Data taking 2021-
Timing Counter
Drift Chamber End-Caps
Radiative Decay Counter
TDAQ

## Slide 31: Resolutions and Efficiencies
Parameter | MEG | MEG II
e+ energy (keV) | 306 | 130
e+ q (mrad) | 9.4 | 5.3
e+ f (mrad) | 8.7 | 3.7
e+ vertex (mm) Z/Y | 2.4 / 1.2 | 1.6 / 0.7
g energy (%) w<2cm/w>2cm | 2.4 / 1.7 | 1.1 / 1.0
g position (mm) u/v/w | 5 / 5 / 6 | 2.6 / 2.2 / 5
g-e+ timing (ps) | 122 | 84
Efficiency (%) |  | 
g | 63 | 69
e+ | 40 | 88

## Slide 32: MEG II g resolution and expected result
Signal Events
Accidental Background
MEG
MEG II
MEG final (actual)
4.2 x 10-13
6 x 10-14
Rm : 3 x 107 m/s → 7 x 107 m/s

## Slide 33: Future of MEG
Increase muon stopping rate
  Currently 108 m/s at PSI, 1.4 MW of DC proton beam
  HiMB project aims at 1010 m/s with same proton beam
  CiADC project 1 MW 1 GeV (5 MW Phase-II) ?
Increase resolutions to suppress background
  x100 muon rate produces x1002 background rate
  Calorimeter approach will break down at some point
G. Cavoto et al. Eur.Phys.J. C 78 (2018) 37

## Slide 34: Future of MEG
g - calorimeter
g - conversion
e - tracker
50 mm HVMAPS pixel
MEG Limit
MEG II Limit
muon stopping rate
Nacc > 10
3 years measurement time
G. Cavoto et al., Eur.Phys.J. C 78 (2018) 37
G. Cavoto et al., Eur.Phys.J. C 78 (2018) 37
current
situation
(3 x 107 m/s)
2 x 10-15

## Slide 35: Outlook – a personal guess
m-N → e-N
(7 x 10-13)
COMET Phase-I
Sensitivity:
10-15
2020
2025
2030
2035
Mu2e
COMET Phase-II
Mu2e-II with PIP-II
PRISM →
m+ → e+e+e-
(1 x 10-12)
10-17
10-18
10-19
Sensitivity:
10-14
10-15
10-16
10-17
Mu3e Phase-I
Mu3e Phase-II
future options?
m+ → e+g
(4.2 x 10-13)
Sensitivity:
10-14
10-15
MEG II
future options?
cLFV remains one of the most exciting places to search for new physics
10-13
Approved
Proposed

## Slide 36: Thanks to my colleagues !
~70 researchers from 11 institutes