## Slide 1: CgemLineFit
Hongpeng Wang
Liangliang Wang
2020-3-5

## Slide 2: Rough Alignment
Link the inner 2 clusters , and calculate the residual in outer layer.
Set the offset of central value as the alignment parameter.
Run17 data only.
: rad(upper,middle)
: mm (upper,middle)

## Slide 3: Alignment
: mm (upper,middle)
: rad(upper,middle)
Fitting with rough alignment parameter
No alignment parameters input

## Slide 4: Study the efficiency and resolution
Run 17 data.
Ask at least 3 clusters besides the study sheet.
Find the best 3 clusters combination with smallest(<2000).
In study sheet , reserve only one cluster , which is closest to the position forecasted by other 3 clusters.
Fit to the residual of x/v by double gaussian function, set the function with smaller sigma as signal ,and central value as the signal window.
in upper sheet ,middle layer

## Slide 5
X :mm
V:
mm
up, middle bottom, middle up, inner bottom, inner
Residual distribution
Eff.=0.854
Eff.=0.801
Eff.=0.752
Eff.=0.841
Eff.=0.845
Eff.=0.847
Eff.=0.817
Eff.=0.843

## Slide 6: Incident angle in x/v plane
Project the cosmic line to the x/v plane, which is perpendicular to drift plane and parallel to the direction.
Study relation between the resolution and the incident angle in x/v plane.
x Plane
Drift Plane
Projection in x plane
Angle in x Plane

## Slide 7: Residual distribution vs x/v Angle (center charge)
X vs x angle V vs v angle

## Slide 8: Thanks!