## Slide 1: Test of new fit method
H. Wang, A. Guo, L. Wu, L. Wang, R. Mitchell

## Slide 2: Problem of MaxQ method

## Slide 3: Problem of MaxQ method
High Q
Low Q

## Slide 4: Loop All Method
Loop all x-clusters clusters combinations，and do a line fit in X-Y plane to find the combination with smallest FCN:
.
Find the matching v-clusters, do a 3-D line fit and get the right combination with FCN:
+
Set <2000.
combination number of phi <50, combination number of V number <50.
By Hongpeng, Liangliang

## Slide 5: Comparison of distribution
Without Alignment

## Slide 6: Comparison of event display
MaxQ
Loop_All
Due to different Q requirement

## Slide 7: Comparison of event display
MaxQ
Loop_All

## Slide 8: Event usage rate
MaxQ
For some events, MaxQ method works well but Loop_All method will discard them because of the large number of combination
The event usage rate estimated by 1000 event roughly:
  MaxQ: ~75%
  Loop_All: ~38%

## Slide 9: Preliminary results of alignment
By Hongpeng
distribution before and after alignment
Based on run17
Thanks!