## Slide 1: Status of KM2A data and analysis
Chen Songzhan
IHEP
2020-08-18@Chengdu

## Slide 2: Content
1. Introduction
2. Reconstruction of KM2A data
3. Observation on Crab and Moon shadow
4. Summary

## Slide 3: 1. Introduction

## Slide 4: LHAASO detectors
5195 EDs
  1 m2
  Spacing 15 m
1171 MDs
  36 m2
  Spacing 30 m
3120 WCDs
  25 m2
12 WFCTs
1.3 km2 @4410米
KM2A
WCDA
WFCTA

## Slide 5: Main science goals of LHAASO
WCDA
TeV gamma-ray
KM2A
100TeV gamma-ray
WFCTA(+WCDA+KM2A)
Individual nuclei spectra

## Slide 6: Status of LHAASO-KM2A
1. 33 EDs:
since 2018-02
2. Increasing stage:
since 2018-12
3. 1/4 KM2A 1200+EDs+250+MDs:
since 2019-09
4. 1/2 KM2A 2300+EDs+550+MDs:
since 2019-12-27
½ KM2A

## Slide 7: Number of detectors
1/4 KM2A: There are about 1.5 months steady data.
1/2 KM2A: The number of EDs is more than 2250 and number of MDs is more than 500.
The array is debuged and tuned.
1/4 array
1/2 array

## Slide 8: Duty cycle and events
The duty cycle is larger than 85%
About 8x107 events per day, 1.6x1010 total events.

## Slide 9: 2. Reconstruction of KM2A data

## Slide 10: Time calibration
The shower plane is used to calibrate detectors
The telescope method is used to test the software calibraiton
Standard ED
ED
More details see Lv Hongkui's report.

## Slide 11: Charge calibration
The peak of single particle is used calibrate the ED and MD charge. Calibration updated day by day.
ED
MD
More details see Lv Hongkui's and Zuo Xiong's report.

## Slide 12: Compared with MC
ED
MD
The number of particles is consist with MC
More details see Zhang Hengying's report.

## Slide 13: Core reconstruction
Likelihood method to fit the modified NKG function.
More details see Li Cong's report.

## Slide 14: Core selection and effective area
Area: 4.e5 m^2
cos, rec and true are at same bin

## Slide 15: Test on Crab using different core selections
R is distance to the edge
R>0 is used now!

## Slide 16: Energy reconstruction
The particle density at 50m from NKG fitting is used to reconstruct the energy.
More details see Li Cong's report.

## Slide 17: Energy resolution
Energy resolution is zenith angle dependent

## Slide 18: Direction reconstruction
Least square method is usually used to fit the shower plane.

## Slide 19: Angular resolution
Different methods are tested

## Slide 20: Time and space window
The optimization on window is to balance between signal and noise.
ED noise rate:
1.5k Hz, 0.15 hit (per 100ns, 1000 EDs)
MD noise rate:
6kHz, 0.06 hit (per 100ns, 100 MDs)
R=400m

## Slide 21: Muons of MD
dt (ns)
Distance to core (m)
dt (ns)
The Q factor using [-30,50]ns is better than other two windows

## Slide 22: Test using Crab data
Space windows
Nu：15-200m， 15-400m
Ne：0-100m，0-200m，40-100m
The Nu 15-400m and Ne 0-200m is used for data analysis

## Slide 23: Gamma/background discrimination
Ratio is used to discriminate the gamma/background

## Slide 24: Optimization
For a specific source, we should balance the signal reservation and background reject power.
The Crab-like source is used to optimization the significance (Li-Ma).

## Slide 25: Fraction after cut
Optimization using the background and angular window of Crab .

## Slide 26: Test on Ratio using Crab data
Ratio：log10((Nu+r)/Ne)
r：0.0001，0.1，0.5，1.0
Or use Nu
Ratio is better than simple Nu.
0.0001 and 0.1 is about same.

## Slide 27: The pipe line of KM2A data
DAQ store data at LHAASO site
Transfer data to IHEP via internet
Auto decode the data to Root file
ADC calibration
Data file quality check and selection
Auto Monitor and report
Detector quality check
Auto data reconstruction
TDC calibration
The delay of the data reconstruction is less than 3 days

## Slide 28: Data quality: detector
Monitor each detector, and mask abnormal detector

## Slide 29
Detector cut: occupancy
Detector cut: noise rate
More details see Wu Sha's report.

## Slide 30: Event flile selection

## Slide 31: Reconstruction data
Verison 0: Core centriod weight, Energy Ne
/eos/lhaaso/rec/km2a/half_array/20?? (old)
Version 1: Core NKG, Energy NKG
/eos/lhaaso/rec/km2a/half_array/20??_V1 (current)
Version 2: Core NKG, Energy NKG, Final configure.
/eos/lhaaso/rec/km2a/half_array/20??_V2 (future)

## Slide 32: 3. Observation on Crab and Moon shadow

## Slide 33: Crab
10TeV-25TeV
25TeV-100TeV
>100TeV
Data: 2019-12-27 to 2020-05-28

## Slide 34: Moon Shadow
Data 2019-12-27 to 2020-07-03

## Slide 35: Pointing error
RA： - 0.024 ±0.016 degree
DEC： 0.035±0.014 degree
DEC： 0.019 ±0.010 degree
Crab
Moon Shadow

## Slide 36: PSF of Crab (gamma-ray)
25TeV-40TeV
>100TeV
PSF vs E

## Slide 37: PSF of Moonshadow (cosmic ray)

## Slide 38: The highest events from Crab
About 40 events above 100TeV
The highest energy is 880TeV
More details see Wang Lingyu's report.

## Slide 39: SED fit method
from HEASoft manuals

## Slide 40: The SED is consistent using different models.
The SED using differenct spectral shape

## Slide 41: The SED using differenct detector configure in the MC
Flux variation within 2%，Spectral index within 0.02

## Slide 42: Systematic error: stability
Variation of enviroment(pressure) and detector numbers would cause the variation of event rate.
Influence on Crab SED: flux 7% and index 0.02.

## Slide 43: Crab SED
KM2A crab is consistent with other experiments.

## Slide 44: 4. summary

## Slide 45: Summary
1/2 KM2A started since 2019-12-27. 1.6x1010 events are collected.
According to Crab and Moonshadow, the pointing error is less than 0.1 degree, the PSF is general consistent with MC.
The measured Crab SED from 10-200TeV is consistent with other experiments, indicate the data is ready for gamma-ray astronomy.
Thanks for your attention！