## Slide 1: Report from JUNO redundancy group meeting
Xiaomei
2020-11-13

## Slide 2: Group meeting
We have the first group meeting on October 27, 2020
  https://indico.ihep.ac.cn/event/13032/
The meeting is quite fruitful
  Xiaomei from IHEP has an introduction of DIRAC set-up in IHEP and possible solutions of duplication
  Igor from JINR gives a report on the first deployment of redundancy server in JINR
  Marcelo and Vanessar from CNAF and IN2P3 shares the experiences from other experiments

## Slide 3: Solutions
We agrees
  Due the limitation of DIRAC, a complete and real-time service duplication both local and remote is not possible
  Two ways of redundancy we can do according to the experiences of other experiments:
    duplication of CS services on sites
      Share load of CS which is central service of DIRAC
      Prepare for a offline backup of DIRAC
    offline backup of DIRAC mysql DB
      In case the service or network is not available in IHEP take a few days, a new service can quickly set up in another sites
      We expect some possible loss of information

## Slide 4: To do
CNAF and IN2P3 will check if two sites can hold DIRAC redundancy server as JINR did
  Any news now?
The monitoring of redundancy servers will be monitored centrally using service ports first
  The server dirac-ihep-replica.jinr.ru with 9135 port will be monitored by IHEP Nagios monitoring system