## Slide 1
2020 EMuS & MOMENT General Meeting
2020年12月12日
State Key Laboratory of Particle Detection and Electronics, USTC
Ziwen PAN (潘子文), Jingyu DONG (董靖宇)
Hao LIANG (梁昊), Bangjiao YE* (叶邦角)
The μSR spectrometer design
and prototyping

## Slide 2
CONTENT
Physical Basis of μSR spectroscopy
Design of Day-One spectrometer
Design of Super-μSR spectrometer
Prototype of a μSR spectrometer

## Slide 3
Physical Basis of μSR spectroscopy
1
μ+
Sample
μSR spectrometer
AP(t)
μSR spectra
Unfolding
Asymmetrical
Decay
Application
Processes of the technique
EMuS 2020

## Slide 4
Advantages of the technique
Very weak effects (small moment magnetism ~ 10-3 µB/Atom)
Random magnetism (e.g. spin glasses).
Short range order (where neutron scattering is not sensitive).
Full polarization in zero field (independent of temperature, unique measurements without disturbance of the system)
Single particle detection (with extremely high sensitivity)
No restrictions (in choice of materials to be studied)
µSR: A quantum magnetism probe
Muon Spin Rotation/Relaxation/Resonance
EMuS 2020

## Slide 5
Highlights of Chinese users
Highlights of Chinese μSR community
Coexistence of static magnetism and superconductivity in SmFeAsO1−xFx as revealed by muon spin rotation, Nature Materials 8, 310 – 314 (2009).
Prof. Xianhui Chen’s Group @ USTC
2013年国家自然科学奖一等奖成果内容 (物理所 / 中国科大)
Prof. Lei Shu’s Group @ FDU
Discovery of slow magnetic fluctuations and critical slowing down in the pseudogap phase of YBa2Cu3Oy , Science Advances 4, eaao5235 (2018).
高温超导体赝能隙研究取得突破
Prof. M. Smidman’s Group @ ZJU
Time-Reversal Symmetry Breaking in Re-Based Superconductors, Physical Review Letters 121, 257002 (2018).
铼基超导体时间反演对称性破缺(TRSB)起源
EMuS 2020

## Slide 6
Nature of muon decay
ε is the normalized kinetic energy of positrons
ε0 is the lower limit of primary kinetic energy of detected positrons
θ1
θ2
Maximum value：
Intrinsic asymmetry：
EMuS 2020

## Slide 7
Nature of muon decay
Intrinsic asymmetry：
Amax
Conclusions:
High energy positrons take high asymmetries
Detector rings with small theta values occupy high asymmetries
Selection of positron energy and emission angle is beneficial for the intrinsic asymmetry of a μSR spectrometer
EMuS 2020

## Slide 8
Error analysis of μSR data
Aintrinsic = 0.05
Aintrinsic = 0.33
Aintrinsic = 1.0
EMuS 2020

## Slide 9
Error analysis of μSR data
2R
R
A
EMuS 2020

## Slide 10
Requirements for spectrometer design
I. Large solid angle coverage
I. Appropriate solid angle
II. Thin degrader – All counts
II. Thick degrader – E selection
R
A
III. Short deadtime - Rate loss
IV. Low background - Flypast
III. Short deadtime - Distortion
IV. Pulse width – ns scale
EMuS 2020

## Slide 11
Background suppression
Design of Day-One spectrometer
2
EMuS 2020
Φ100 mm
Φ100 mm
Scattering is relatively insignificant with mylar window !

## Slide 12
Asymmetry scanning
EMuS 2020
Search the high asymmetry area
Detector length: 10 mm
Ring radius: 90 mm
Degrader thickness: 0/3/5/8/10 mm
High asymmetries can be achieved with thicker degraders and smaller theta.

## Slide 13
Detector arrangement
EMuS 2020
Placement of Day-One detectors
32 detectors/ring
1 2 3 4
Sample size： Φ30 mm
Spot size (mm) | Beam intensity (105 /s)
Φ10 | 0.58
Φ20 | 4.8
Φ30 | 10
Solid angle coverage : 36.7%

## Slide 14
Detector arrangement
EMuS 2020
Degrader (mm) | Highest asymmetry | Average asymmetry | Event rate (Mevents/hr)
9 | 0.415 | 0.375 | 22.39
0.28 @ ISIS || 0.16 @ J-PARC
256 Channels

## Slide 15
Angular discrimination
Design of Super-μSR spectrometer
3
EMuS 2020
Cuboid
Trapezoid
e+
e+

## Slide 16
The rectangular shape has significant advantages in angular discrimination!
Angular discrimination
EMuS 2020
Cuboid
Trapezoid
Comparison of two geometries
e+
e+

## Slide 17
Angular discrimination
EMuS 2020
θ
θ
θ∈(θmin, θmax)
θ∈(0, θmax)
Cylindrical
Spherical
Comparison of two arrangements
Range
Range

## Slide 18
Angular discrimination
EMuS 2020
Comparison of two arrangements
The spherical arrangement has an narrow range of discrimination angle;
The cylindrical arrangement cannot distinguish scattering events with the same scattering angle;
Detectors should point to the sample center.

## Slide 19
Types of double counts
EMuS 2020
Suppression of double counts
I
II
I: Multiple scatterings of positrons or other secondary particles
II: Spiral motion of positrons in a strong longitudinal field

## Slide 20
Double counting suppression
EMuS 2020
Suppression of double counts
Cylindrical
Spherical
The “point-to-sample” arrangement can suppress the double counting events significantly in LF up to 10 Tesla!

## Slide 21
Point-To-Sample structures
EMuS 2020
Possible Point-To-Sample models
Spherical model
Hybrid model

## Slide 22
Arrangements of Super-μSR spectrometer
EMuS 2020
Arrangements of Super-μSR
Cylinder
Size：101010 mm3
Number：2560
Rings：252
Solid angle：30.6%
Size ：~ 5550 mm3
Number ：2686
Rings：142
Solid angle ：42.5%
Sphere
Hybrid
Size ：~ 101050 mm3
Under development！

## Slide 23
Properties of the prototype
4
EMuS 2020
Prototype of a μSR spectrometer
Scintillator + L-bent light guide + PMT;
Front-End Electronics + TDC;
QT-based DAQ software.
Instruments:
Main performance:
Deadtime: 7 ns
Acceptable counting rate:
12 Events/detector/pulse
Time resolution: 2 ns
128-channel

## Slide 24
Improvements of detectors
EMuS 2020
Update of scintillation detectors
S-bent
L-bent
The output amplitude increases ~ 80%!
Beam test

## Slide 25
Improvements of electronics
EMuS 2020
Update of Front-End Electronics
CFD
LED
CFD: Constant fraction discrimination,
LED: Leading-edge discrimination
Details are in Prof. Liang’s talk!

## Slide 26
Deadtime measurement
EMuS 2020
Main test I: deadtime measurement
Second test
Third test

## Slide 27
Deadtime measurement
EMuS 2020
Main test I: deadtime measurement
Second test
Third test
The deadtime is improved from > 20 ns to ~ 7 ns after using PZCs;
The counting performance is the same (or better) as that of ISIS’s detection system!

## Slide 28
Frequency response measurement
EMuS 2020
Main test II: frequency response
The performance of frequency response is the similar to that of ISIS’s detection system!

## Slide 29
Summary
EMuS 2020
Summary
Day-One spectrometer
Average asymmetry: 0.375
Counting rate: 2.2X107 events/hour
Super-μSR spectrometer
Promising arrangement: hybrid structure
Under development
128-channel spectrometer prototype
Deadtime: 7 ns
Acceptable counting rate: 12 e+/detector/pulse
Satisfy the requirements for muSR applications

## Slide 30
谢谢各位专家！恳请批评指正！
µSR: A quantum magnetism probe !