## Slide 1
WLCG SLA
Giuseppe Andronico

## Slide 2
Introduction
This presentation based on:
https://wlcg.web.cern.ch/mou/new-mou-preparation
WLCG Service Level Agreement in MoU annexes
In detail in Annex 3 and Annex 6
Compared with JUNO MoU for Collaboration in the Deployment and Exploitation of the JUNO Computing Grid

## Slide 3
Annex 3
In our case IHEP + Kaiping
Minimal Computing Resource and Service Levels to qualify for membership of the WLCG Collaboration
Host laboratory services
Tier-1 services
Tier-2 services
Grid operations services
Moscow State University
CC-IN2P3, CNAF, JINR

## Slide 4
Host laboratory 1/3
Operation of the Tier0 facility providing
  High bandwidth network connectivity from the experimental area to the offline computing facility
  Recording and permanent storage in a mass storage system of one copy of the raw data maintained throughout the lifetime of the Experiment
  Distribution of an agreed share of the raw data to each Tier1 Centre
  First pass calibration and alignment processing
  Event reconstruction according to policies
  Storage of the reconstructed data on disk and in a mass storage system
  Distribution of an agreed share of the reconstructed data to each Tier1
  Services for the storage and distribution of current versions of data
Operation of a high performance, data-intensive analysis facility also for end-user analysis
Support of the termination of high speed network connections by all Tier1 and Tier2 Centres as requested

## Slide 5
Host laboratory 2/3
Coordination of the overall design of the network between the Host Laboratory, Tier1 and Tier2 Centres, in collaboration with national research networks and international research networking organisations.
Tools, libraries and infrastructure in support of application program development and maintenance.
Basic services for the support of standard5 physics “desktop” systems used by members of the LHC Collaborations resident at CERN (e.g. mail services, home directory servers, web servers, help desk).
Administration of databases used to store physics data and associated metadata.
Infrastructure for the administration of the Virtual Organisation (VO) associated with each Experiment.
Provision of the following services for Grid Coordination and Operation:
  Overall management and coordination of the LHC grid - ensuring an effective management structure for grid coordination and operation (e.g. policy and strategy coordination, security, resource planning, daily operation,...);
  The fundamental mechanism for integration, certification and distribution of software required for grid operation;
  Organisation of adequate support for this software, generally by negotiating agreements with other organisations;
  Participation in the grid operations management by providing an engineer in charge of daily operation one week in four (this service is shared with three or more other institutes providing amongst them 52-week coverage).

## Slide 6
Host laboratory 2/3
Service | Maximum delay in responding to operational problems |  |  | Average availability6 measured on an annual basis | 
 | Service interruption | Degradation of the capacity of the service by more than 50% | Degradation of the capacity of the service by more than 20% | During accelerator operation | At all other times
Raw data recording | 4 hours | 6 hours | 6 hours | 99% | n/a
Event reconstruction or distribution of data to Tier-1 Centres during | 6 hours | 6 hours | 12 hours | 99% | n/a
accelerator operation |  |  |  |  | 
Networking service to Tier-1 Centres during accelerator operation | 6 hours | 6 hours | 12 hours | 99% | n/a
All other Tier-0 services | 12 hours | 24 hours | 48 hours | 98% | 98%
All other services – prime service hours | 1 hour | 1 hour | 4 hours | 98% | 98%
All other services7 – outwith prime service hours8 | 12 hours | 24 hours | 48 hours | 97% | 97%

## Slide 7
Tier-1 1/2
Acceptance of an agreed share of raw data from the Tier0 Centre, keeping up with data acquisition
Acceptance of an agreed share of first-pass reconstructed data from the Tier0 Centre
Acceptance of processed and simulated data from other centres of the WLCG
Recording and archival storage of the accepted share of raw data (distributed back-up)
Recording and maintenance of processed and simulated data on permanent mass storage
Provision of managed disk storage providing permanent and temporary data storage for files and databases
Provision of access to the stored data by other centres of the WLCG and by named AF’s as defined in paragraph 1.41.4 of this MoU
Operation of a data-intensive analysis facility
Provision of other services according to agreed Experiment requirements
Ensure high-capacity network bandwidth and services for data exchange with the Tier0 Centre, as part of an overall plan agreed amongst the Experiments, Tier1 and Tier0 Centres
Ensure network bandwidth and services for data exchange with Tier1 and Tier2 Centres, as part of an overall plan agreed amongst the Experiments, Tier1 and Tier2 Centres
Administration of databases required by Experiments at Tier1 Centres.

## Slide 8
Tier-1 2/2
Service | Maximum delay in responding to operational problems |  |  | Average availability6 measured on an annual basis | 
 | Service interruption | Degradation of the capacity of the service by more than 50% | Degradation of the capacity of the service by more than 20% | During accelerator operation | At all other times
Acceptance of data from the Tier-0 Centre during accelerator operation | 12 hours | 12 hours | 24 hours | 99% | n/a
Networking service to the Tier-0 Centre during accelerator operation | 12 hours | 24 hours | 48 hours | 98% | n/a
Data-intensive analysis services, including networking to Tier-0, Tier-1 Centres outwith accelerator operation | 24 hours | 48 hours | 48 hours | n/a | 98%
All other services7 – prime service hours | 2 hour | 2 hour | 4 hours | 98% | 98%
All other services7 – outwith prime service hours10 | 24 hours | 48 hours | 48 hours | 97% | 97%

## Slide 9
Tier-2
provision of managed disk storage providing permanent and/or temporary data storage for files and databases
provision of access to the stored data by other centres of the WLCG and by named AF’s as defined in paragraph 1.4 of this MoU
operation of an end-user analysis facility
provision of other services, e.g. simulation, according to agreed Experiment requirements
ensure network bandwidth and services for data exchange with Tier1 Centres, as part of an overall plan agreed between the Experiments and the Tier1 Centres concerned.

## Slide 10
Tier-2
Service | Maximum delay in responding to operational problems |  | Average availability6 measured on an annual basis
 | Prime time | Other periods | 
End-user analysis facility | 2 hours | 72 hours | 95%
Other services7 | 12 hours | 72 hours | 95%

## Slide 11
Grid operations services
Services required for the operation and management of the grid for LHC computing
Grid operations centres
  Responsible for maintaining configuration databases, operating the monitoring infrastructure, pro-active fault and performance monitoring, provision of accounting information, and other services that may be agreed
User support for grid and computing service operations
  First level (end-user) helpdesks
Grid Call Centres
  Provide second level support for grid-related problems, including pro-active problem management

## Slide 12
Annex 6
Pledged Computing Resource and Service Levels of the Institutions
CERN computing capacities (CPU,Disk,Tape)
Tier-1 computing capacities (CPU,Disk,Tape)
Tier-2 computing capacities (CPU,Disk)
Grid operations services
Pledges

## Slide 13
CERN
CERN Tier0 / CAF | 2015 | 2016
CPU (HEP-SPEC06) | 687,000 | 840,000
Disk (Tbytes) | 49,000 | 57,500
Tape (Tbytes) | 95,400 | 128,200

## Slide 14
Tier-1
IN2P3 Lyon | 2015 | 2016
CPU (HEP-SPEC06) | 107,100 | 107,100
Disk (Tbytes) | 9,810 | 9,810
Tape (Tbytes) | 18,120 | 18,120
INFN CNAF | 2015 | 2016
CPU (HEP-SPEC06) | 125,900 | 125,900
Disk (Tbytes) | 12,982 | 12,982
Tape (Tbytes) | 26,522 | 26,522

## Slide 15
Tier-2
Taipei, Taiwan Analysis Facility Federation | 2015 | 2016
CPU (HEP-SPEC06) | 3654 | 4000
Disk (Tbytes) | 455 | 500

## Slide 16
Grid operations services
ASGC, CC-IN2P3, CERN, CNAF, Russian Data-Intensive Grid (RDIG), RAL | 
Scope of the service | Grid Operations Centre for sites in the EGEE grid
Period during which the centre operates as the primary management centre | Responsibility cycled around sites on a weekly basis.

## Slide 17
Pledges
INFN, Italy | Pledged |  | Planned to be pledged |  |  | Comment
 | 2006 | 2007 | 2008 | 2009 | 2010 | 
Personnel (FTE) | 15.5 | 17 | 12.3 | 11 | 6 | 
Materials (kCHF) |  | 260 |  |  |  | 

## Slide 18
Thank you