## Slide 1
Hongyu Zhang, Baosheng Gao, Yuxin Liu,
Xu Dong, Xiyang Wang， Xiaolong Wang
Fudan University, Shanghai
CEPC PhyDet Meeting，10/3/2021
Status of the Muon detector

## Slide 2
Outline
CEPCSW and Geant4 simulation
    CEPCSW on cluster
    Simulation using Geant4
Study of Scintillator
    Attenuation length of Scintillator
    Time resolution

## Slide 3
CEPCSW and Geant4 simulation
CEPCSW on cluster
$ git clone git@github.com:cepc/CEPCSW.git
$ cd CEPCSW
$ git checkout master # branch name
$ source setup.sh
$ ./build.sh
$ ./run.sh Examples/options/helloalg.py
check CVMFS
CEPCSW installed
by Xu Dong,
Baosheng Gao
Notes: 在高能所计算集群使用CernVM File System(CVMFS)安装新版本CEPCSW

## Slide 4
CEPCSW and Geant4 simulation
    Implement of muon detector in CEPCSW
Scintillator + SiPM readout
  Set up
    Geometry
    Scintillator parameters
    WLS fiber
  Simulation
    Detector efficiency for muon
    Behavior of long-lived particle
    Tail of hadron cluster from HCAL
    Spatial resolution
    Time resolution
collaboration with
SJTU

## Slide 5
Study of Scintillator
LED
MPPC
Scintillator blocks
x
DT5725
Multiphoton spectrum from MPPC
Add scintillator between LED and MPPC
LED
light
scintillator
Pulse generator
Digital analyzer
MPPC
oscilloscope
Smooth surface
Trigger:
2 channel coincidence
reduce dark count
by Xiyang Wang,
Hongyu Zhang
light
Measurement on attenuation length(L) of Scintillator

## Slide 6
Study of Scintillator
Measurement on attenuation length of Scintillator
the detected photon reduced
as the blocks of scintillator increased
1
2
3
4
5
……
background
6
When LED off
Testing time: 5min

## Slide 7
Study of Scintillator
) cm
blocks of scintillator
Attenuation formula ：
light yield the integration of spectrum
y = y signal - y background (to cut dark counts)
Need study of more samples……
y
Measurement on attenuation length of Scintillator strips

## Slide 8
Study of Scintillator
Photon signal 1
preamplifier
HV
LV
DAQ
MPPC1
signal 1
signal 2
discriminator 1
=
Measurement of time resolution (𝛿𝑇)
HV
LV
discriminator 2
signal 1
signal 2
Generator driving LED
Photon signal 2
preamplifier
HV
LV
MPPC2
by
Hongyu Zhang,
Yuxin Liu
scintillator
signal 1
signal 2

## Slide 9
Study of Scintillator
DAQ： two kinds of discriminator
CFD：Oscilloscope（startkick）+CFD
  Sampling rate of Oscilloscope：
  2.5Gs/s
  Poly fit：
  : zero crossing point
Waveform from Oscilloscope
  Trigger：coincidence of two signal
TDC resolution：
25 ps
V / mV
40 ns /div
=
Leading edge：LE（N841）+TDC（V1290）

## Slide 10
Study of Scintillator
Pulse generator signal
（CFD）
Gen + preamp
(CFD)
Time Difference of Pulse signal and preamp
𝛿𝑇
𝛿𝑇

## Slide 11
Study of Scintillator
LED
MPPC
MPPC
LED+MPPC（CFD）
Time Difference of MPPC
LED
MPPC
MPPC
LED+MPPC（LE）
Noise caused bad resolution
𝛿𝑇
𝛿𝑇
Need low threshold
Noise caused worse resolution

## Slide 12
Study of Scintillator
Extrusion scintillator
（）
MPPC
MPPC
Scintillator (CFD)
Time Difference of scintillator
Cosmic ray
Better than LED + MPPC
𝛿𝑇

## Slide 13
summary
    Progress:
    Install CEPCSW
    Measure the attenuation length: 4.37 cm
    Measure the time resolution
      Preamp: 164 ps good!
      MPPC: 1223 ps
      scintillator: 959 ps
    Plan:
    Simulation using Geant4
    Measure attenuation length of more samples
    Reduce noise to get better time resolution
    Measure time resolution of other type of scintillator

## Slide 14
Thanks for listening!

## Slide 15
Study of Scintillation detector
Composition of Scintillation detector
Scintillator：Gao Neng Ke Di company
with TiO2/Teflon reflective coating
Geometry : 1 cm x 4 cm x 1.5 m.
wavelength-shifting fibre

## Slide 16
Study of Scintillation detector
Readout: SiPM
1.3×1.3mm2
667 pixels
MPPC
work in Geiger mode

## Slide 17
Study of Scintillation detector
Readout: Preamplifier & carrier
Scintillation
detector
preamplifier
Preamplifier & carrier
Circuit diagram of preamplifier

## Slide 18
backup
Gain
Dark count rate
Study of MPPC parameters

## Slide 19
backup
efficiency

## Slide 20
backup
Number of fired pixels
Belle2 TDR
Scintillator in lab
ADC distribution

## Slide 21
Study of Scintillation detector
scintillation
Gen + preamp (CFD)
Pulse generator signal
(CFD_delay_24ns,F_0.4)
KLM scint. module
LED+MPPC
 | T diff ( ps )
Pulse generator | 64
Generator + preamp | 241
LED+MPPC | 1730
KLM scint. | 1822
Injection scint. | 1356