## Slide 1: First Results from PandaX-4T
Xiaopeng Zhou
Beihang University
On behalf of the PandaX Collaboration

## Slide 2: Dark matter: “too” many possibilities
Samuel Velasco/Quanta Magazine

## Slide 3: “Certain” dark matter candidates





## Slide 4: WIMP: hide and seek
Elastic spin-independent cross section
a few evts/t/y
2104.07634, APPEC report on dark matter direct detection

## Slide 5: Dual phase xenon TPC
Detector capability:
Large monolithic target
3D reconstruction and fiducialization
Good ER/NR rejection
Calorimeter capable of seeing a couple of photons/electrons

## Slide 6: Multi-ton LXe Experiments
XENONnT, 6 ton
LNGS, Italy
LZ, 7 ton,
Sanford Lab, US

## Slide 7: China Jinping underground Laboratory

## Slide 8: CJPL-II
PandaX
CDEX
JUNA
Each experimental hall:
65 m (L) x 14 m (H) x 14 m (W)

## Slide 9: PandaX Experiments
Particle and Astrophysical Xenon Experiments
PandaX-I, 120 kg
operation
PandaX-II, 580 kg
operation
PandaX-I started
Collaboration formed
PandaX-I apparatus moved to Jinping
2009.3
2014.3
2014.5-10
2012.7
2016.7
-2019.7
2019.8-
PandaX-4T
moved to CJPL-II

## Slide 10: PandaX Collaboration

## Slide 11
Ultrapure water shield: 13 m (H) x 10 m (D)～900 m3
TPC: 1.2 m (H) x 1.2 m (D), 3.7-tonne of LXe
3-in PMTs: 169 top/199 bottom

## Slide 12: PandaX-4T major milestones
Apr. 2, 2018, permission from CJPL management to start construction in B2 hall
Aug. 19, 2019, infrastructure completed, detector installation in CJPL-II started
Mar 6, 2020, offline distillation of xenon completed
May 28, 2020, installation completed
Nov. 28, 2020 – Apr. 16, 2021, commissioning run

## Slide 13: Infrastructure construction photos

## Slide 15: Infrastructure construction photos
Radon removal system
Purified water system
Class 10000 cleanroom
Class 1000 cleanroom

## Slide 16: Gas, cryogenics, and distillation systems
Kr distillation tower
Gas storage system
Cryogenics system

## Slide 17: TPC installation

## Slide 18: Instrumented clean room

## Slide 19: Electronics hut

## Slide 20: Ultrapure water filling

## Slide 21: Cryogenics stability
Parameters | Heating load (No purification) | Maximum Cooling Power | Purification flow rate | Outer Vacuum
Value | ~50W | ~580W | ~110 SLPM (40 kg/h) | <2E-4Pa
Adjust Coldhead
temperature
Loop1 Maintenance
Loop2 In
In the stable running period, the P and T are stable within 0.5% and 0.1K, separately.

## Slide 22: Electronics and DAQ
Trigger-less mode: read out pulses above 20 ADC (~ 1/3 PE)
Average single photon efficiency ~ 95%
DAQ maximum bandwidth 450MB/s
Typical single photon pulse
14 bits
250 MS/s

## Slide 23: TPC operation conditions
 | Set1 | Set2 | Set3 | Set4 | Set5
Gate(kV) | -4.9 |  | -5 | -5 | 
Cathode (kV) | -20 | -18.6 | -18 | -16 | 
During the run, HV set at a few different values to avoid excessive discharges.

## Slide 24: Data taking history
Electron lifetime: in situ S2 vertical uniformity calibration
Ref: the maximum drift time ~ 840 µs (field dependent)
Stable data running period: 95.0 calendar days

## Slide 25: Calibration methods
D-D generator
Gaseous source injection panel
Calibration source | Position
83mKr/220Rn | Injected from gas panel
241Am-Be | Calibration tubes
D-D neutron | Beam pipe
Calibration tubes

## Slide 26: Uniformity correction with 83mKr (41.5 keV)
Energy resolution @ 41.5 keV: 6.8%
S2b RMS in FV: 12%
S1 RMS in FV: 20%
S2b
S1

## Slide 27: SEG and uniformity
S2/S2b ~ 4.2
SEGb = 4.6 ± 0.1 PE/e
RMS variation 13%
Mean=

## Slide 28: Energy reconstruction
#Set | PDE [%]​ | EEE [%]​ | SEG [PE/e]​
1-2​ | 9.0±0.2​ | 90.2±5.4​ | 3.8±0.1​
3-5​ | 9.0±0.2​ | 92.6±5.4​ | 4.6±0.1​
131Xe*
129Xe*

## Slide 29: 164 keV (131mXe) evolution
shadow: 1 systematic uncertainty band
Each data point represents about 4000 131mXe events
Systematic uncertainty ~ 0.3%

## Slide 30: Nuclear recoil calibration with DD neutrons
Head-on collision peak
Data used together with AmBe to tune the light, charge yield, as well as fluctuations in our signal model

## Slide 31: Nuclear recoil calibration with AmBe neutrons
Data used together with DD to tune the light, charge yield, as well as fluctuations in our signal model

## Slide 32: Electron recoil calibration with 220Rn
Measured leak ratio (below NR median) = 6/1393 = 0.43%±0.18%
Data and ER model agree well

## Slide 33: Lower level data selection cuts
Diffusion cuts
Rejected
Time to previous large signals
Livetime fraction: 92.7%
Rate excursion cuts: 97.7%
T-B asymmetry cut for S1

## Slide 34: Efficiencies obtained from calibration data
Same S1 and S2 efficiency obtained from the ER and NR data
Plateaued efficiency at 40 keVnr ~78%.

## Slide 35: ER background from detector materials
Center
Top
Outer
Bottom
Overall agreement between data and MC (>1MeV): 14%
Expected background: 33 ± 4 events

## Slide 36: Rn background
222Rn
218Po
216Po
214Po
Bi-Po events
(same S2)
222Rn
218Po
216Po
Rn background​ | Estimation method​ | Activity [µBq/kg]​
​ 222Rn | 222Rn alpha | ​4.8 (0.1)
 | 218Po alpha | ​4.5 (0.1)
 | 214Bi-214Po coincidence​ | ​0.87 (0.01)
220Rn | 220Rn-216Po coincidence | 0.07 (0.01)
Improved 6 times from PandaX-II!

## Slide 37: 222Rn level evolution
Set 3→4: online Kr distillation (10 SLPM)
Set 4→5: distillation off to reduce Rn emanation from the tower
Low background directly extracted: 347 ± 190 events
Set1
Set2
Set3
Set4
Set5

## Slide 38: 85Kr
Kr/Xe = 0.33(0.21) ppt (mol/mol), improved 20 times from PandaX-II!
Beyond sensitivity of our Kr assay system
Expected background:
53 ± 34 events
Waveform of 85Kr's β-γ coincidence
Time separation between β-γ
Vertex distribution of β-γ candidates

## Slide 39: 127Xe (cosmogenically activated)
Expected background (5 keV): 9 ± 2 events
T1/2 = 35.86d (fit), 36.4d (theo)
DM search window
75.8 ± 17.1 events

## Slide 40: Tritium background
Toy fit – only
Tritium + flat background
Tritium spectrum identified in the data
Likely originated from a tritium calibration at the end of PandaX-II
Level floating in the final dark matter fit: ~ 5(0.3)x10-24 (mol/mol)
Erec (keV)

## Slide 41: Surface background (Rn progenies)
Surface events with larger qS2 (better reconstruction) are more suppressed by radial cut.
Expected background: 0.6 ± 0.2 events
210Po from PTFE wall

## Slide 42: Neutron background
Neutron background: 1.3 ± 0.6 events, including 30% "neutron-X" events (E deposition in the below-cathode region)
Tags: multiscatters and captures
Both process benchmarked by neutron source calibration

## Slide 43: Accidental background
Single S1 rate: 9.5 Hz Temporal variation: 10.5%
Single S2 rate: 4.5×10-3 Hz
Temporal variation: 12.7%
Expected accidental background: 2.4 ± 0.5 events

## Slide 44: FV determination
Based on background simulation (10 t-year)
Uniform ER (including tritium) normalization come from data
Define FoM = sqrt(B)/M
Best FV = 2.67 tonne
FV cuts in the data maintaining the same FV (correcting for reconstruction bias)

## Slide 45: Background composition
Component | Nominal (evts)
3T (from fit to data) | 527 (50)
Flat ER* (18-30keV side band) | 492 (31)
Rn | 347 (190)
Kr | 53 (34)
Material | 33 (4)
Xe127 | 9 (2)
Neutron | 0.9 (0.4)
Neutron-X | 0.4 (0.2)
Surface | 0.6 (0.2)
Accidental | 2.4 (0.5)
B8 | 0.8 (0.4)
Sum | 1033 (59)
Expected below-NR-median events: 10.3 (1.0) evts
Flat ER (Rn+Kr+Material) is determined from side band in DM data
Background per unit target is improved from PandaX-II by 4 times (<10 keV)

## Slide 46: Dark matter candidates
S1 = (2, 135) PE, S2raw > 80 PE, S2 < 20000
In FV, 1058 candidates
6 below NR median line

## Slide 47: Position distributions
Events uniformly distributed in the FV, expected if dominated by tritium and radon.

## Slide 48: Spectral comparison
Fit data with unbinned likelihood with all signal/background PDFs in (S1, S2b)
No excess found, background-only p-value 0.7
Spectrum agrees with expected background

## Slide 49: Likelihoods of the six below-NR events

## Slide 50: WIMP-nucleon SI exclusion limits
Exposure: 0.63 tonneyear
Sensitivity improved from PandaX-II final analysis by 2.8 times (40 GeV/c2)
Our limit is ~1.3 times stronger than XENON1T around 40 GeV/c2
Dived into previously unexplored territory!
Approaching the “low E” neutrino floor
SUSY benchmark contours (MasterCode)
EPJC 78, no.3, 256 (2018), EPJC 78, 158 (2018)

## Slide 51: Conclusion and outlook
PandaX-4T has completed its commissioning run
With a 0.63 tonneyear exposure, PandaX-4T produced the strongest WIMP-nucleon interaction constraint (arXiv shortly)
This demonstrates the physics potential of a highly sensitive multi-ton liquid xenon detector (dark matter, neutrinos, …)
PandaX-4T is currently performing an offline tritium removal campaign, aiming to reduce the electron recoil background by at least two-fold
In parallel, the collaboration is developing the plan for the next generation experiment at CJPL

## Slide 52: More communication wanted
PandaX-4T实验已经开始试运行，获得了第一批数据，但国际竞争也异常激烈。为了探讨PandaX-4T上的暗物质、中微子物理方面的具体研究，我们拟于八月初召开PandaX-4T实验合作组会议（8月7-8日）、以及第二届“深地液氙暗物质、中微子研讨会”（8月9日）。会议的主要目的是PandaX的实验家和国内理论家深入讨论、碰撞，期望在新物理上确定一系列有科学意义的主攻方向，开展合作研究。
gesf@sjtu.edu.cn

## Slide 53: Recent PandaX-II results
Finished total 132 ton-day exposure in 2019
Chin. Phys. C 44 125001
Chin. Phys. Lett. 38 011301
Phys. Rev. Lett. 126, 211803

## Slide 54: Charge pattern of 83mKr event