## Slide 1
LCWS 2010
CONVENTIONAL FACILITIES
AND SITING GROUP
Parallel Session Overview
A. Enomoto, V. Kuchler, J. Osborne

## Slide 2
Primary CFS Goals for LCWS10
  Single Tunnel Solution for Main Linac
    Joint Parallel Sessions with Main Linac and HLRF Working Groups
      Klystron Cluster System (KCS)
      Distributed RF System (DRFS)
    Update Criteria for Physical Equipment Size and Spacing
      Cyromodule and RF Support Equipment
      Waveguide Configuration
      Installation and Maintenance Access
      Electrical Support, Cable Trays
      Electronics Racks Location, Spacing and Shielding
    Update Criteria for Cooling and Electrical Requirements
      Cooling Water Temperature and DT
      Electrical Loading and Access to Connections

## Slide 3
Current ML KCS Tunnel Cross Sections
Americas Region 4.5 m Dia.
European Region 5.2 m Dia.

## Slide 4
Current ML DRFS Tunnel Cross Sections
Americas Region 5.2 m Dia.
Asian Region 5.2 m Dia.

## Slide 5
Primary CFS Goals for LCWS10
  Central Region SB 2009 Layout
    Joint Parallel Sessions with Sources, RTML, Damping Ring and BDS Working Groups
    Update Criteria for Physical Equipment Size and Spacing
      Area System Beam Lattices and Equipment Layout
      Aisle Spacing and Required Clearances
      Installation and Maintenance Access
      Electrical Support, Cable Trays
      Electronics Racks Location and Spacing in Support Tunnel
      Absorber and Dump Locations and Requirements
    Update Criteria for Cooling and Electrical Requirements
      Cooling Water Temperature and DT
      Temperature Stability Requirements in Common Areas
      Electrical Loading and Access to Connections

## Slide 6
3D Examples
Of Central
Region Layout

## Slide 7
3D Examples
Of Central
Region Layout

## Slide 8
3D Examples
Of Central
Region Layout

## Slide 9
Specific Goals for CFS Working Group
  General CFS Topics
    Re-establish Area System Contact Network
      Joint Session with MDI
      Distributed CFS Attendance at Area System Parallel Sessions
    Planning for CFS Regionally Specific Utility Design
    Finalize Dubna Site Investigation Report
    Discussion and Assignment of 2D and 3D Regional Drawing Efforts
    Review of Regional Single Tunnel Life Safety and Egress Solutions and Future Work
    CFS TDP II Planning Including Resource Availability and Allocation

## Slide 10
Specific Goals for CFS Working Group cont.
  CFS Focused Workshops – Summer 2010
    CFS w/Area Systems at SLAC
    CFS w/Area Systems at Daresbury (?)
    CFS w/ MDI and Detector – TBD
  At LCWS 2010
    Verify Locations
    Verify Dates
    Re-establish Participation and POC’s