## Slide 1: Compton polarimeter for CEPC
The CEPC Day, Bejing
CEPC Energy Calibration Group
30 August 2021

## Slide 2
2
Outline
Motivation
Discussion of physical principle in Compton polarimeter
Layout for CEPC Compton polarimeter
Measurement result on Z pole
  10% transverse polarization
  statistical error
  systematic uncertainty
Summary and outlook

## Slide 3
Motivation of CEPC Z-pole polarized beam program
Zhe Duan, CEPC Z-pole Polarization Study Status, CEPC Day Feb 25, 2021. https://indico.ihep.ac.cn/event/13810/
Transversely polarized beams in the ARC
  beam energy calibration via the resonant depolarization technique(Accuracy )
    Essential for precision measurements of Z mass
    Obtain momentum compaction factor
    Monitor machine stability
  CP violation
  study extra dimensions in indirect searches for massive gravitons
  At least 5% ~ 10% transverse polarization

## Slide 4
Electron Polarimetry Techniques
Some techniques for measuring electron beam polarization
Touscheck lifetime measurement
  Based on measuring the lifetime of polarized electron beams and non-polarized electron beams
  The Touschek effect is not the most paramount contribution to the lifetime in CEPC
  Large than 300 hours on Z pole, the increase of beam lifetime based on beam polarization is too slow to measure
Mott scattering:
  The system is relatively simple but operate restricted below 10MeV beam energy
  only for transverse polarization measurement
Moller scattering:
  Transverse polarization and longitudinal polarization of electron/positron beams can be measured
  Invasive measurements by using the solid target
  Low current electron are limited to avoid depolarization effect due to the target heat.
Compton scattering: :
  applied for polarimetry at high-energy colliders involves HERA, LEP, ILC, FCC and so on
  determine polarization of electron beam are mainly measuring the asymmetry of scattering particles

## Slide 5
单发成像
HERA 27GeV
R.Schmidt. CERN SL/91-51(BI), 1991.
CERN LEP 46GeV
S.Schmitt, HERA polarimeter review
JLab Hall C 1.16GeV
Donald Jones, Hall C Compton Polarimetry, PSTP 2013.
SLD at SLAC 45.6GeV
M.Wood. SLAC, 2003.
FCC-ee 45.6GeV
Nickolai Muchnoi, 2018
Jenny List, ILC Polarimetry,2020
ILC 45.6GeV
Compton polarimeter
Polarization is measured by the position/energy asymmetry of the scattered electrons or scattered photons

## Slide 6
Compton Polarimeter for CEPC(Z pole)
Prospects for the Compton polarimeter system:
  Our device is in straight sections on the ring.
  The last dipole in the ARC can be used as our bending magnet of Compton polarimeter.
Compton Polarimeter
CEPC ARC
CEPC straight sections
CEPC Z pole: | 
Laser : | 
Dipole parameter(CDR) | 
Beam vacuum tube | 31mm(Outer radius)
Drift distance | 
Beam angle (at IP of laser and electron beam)(王毅伟) | 
CEPC Z pole: | 
Laser : | 
Dipole parameter(CDR) | 
Beam vacuum tube | 31mm(Outer radius)
Drift distance | 
Beam angle (at IP of laser and electron beam)(王毅伟) | 

## Slide 7
Physics of Compton Polarimeter
7
The differential cross section depends on electron polarization(ζ) and laser polarization(ξ)
Ref: Nickolai Muchnoi, “FCC-ee polarimeter,” arXiv e-prints , arXiv:1803.09595 (2018).
Longitudinal polarization
Transverse polarization
unpolarized

## Slide 8
The distribution of Y mean(vs
The measurement method
The MC samples
The design of detector:
2D distribution of scattered electrons
X*Y = 5cm*2cm;
Pixel size: 50μm*25μm
resolution:14.434μm*7.217μm
Y mean
Per X bin

## Slide 9
The transverse polarization is sensitive to the distribution of scattered electrons, especially in the Y axis.
The Y mean shift per X bin
Projection Y of 2D distribution of scattered electrons
Analyzing power:
The asymmetry for 100% beam polarization.
The distribution of scattered electrons

## Slide 10
The measurement method
The fit method
is laser circular polarization
is electron beam transverse polarization
is 1d distribution of scattered electrons the mean of Y per X bin
is analyzing power: its value for 100% polarization

## Slide 11
Physics of Compton Polarimeter
Summary of the relationship between (u,ψ) and ()
The 2d distribution of scattered electrons in detector () correspond to or
 |  | ] | 
ψ is azimuthal in the detector; () is the position of scattered electrons in the detector
Case 1:Compton scattering process
Case 2: Compton scattering &Magnetic process

## Slide 12
The fit result(polarization is 10%)

## Slide 13
The fit result(polarization is 10%)

## Slide 14
The fit result(polarization is 10%)

## Slide 15
The fit result(polarization is 10%)

## Slide 16
 | Fit function | Fit result
Pol6-fit |  | 
 | Fit function | Fit result
Pol6-fit |  | 
Fit function | Fit result
Fit function | Fit result
ROOT fit result
MATLAB fit result
The fit result(polarization is 10%)

## Slide 17
The statistical error
The luminosity of Compton polarimeter
The luminosity for pulsed lasers
Par. | Unit | Physics meaning | CEPC(Z pole)
 |  | Number of bunch crossing per second | 1(12000)
 |  | Number of electrons per bunch | 
 | W=J/s | power of the laser | 0.1GW
 | m | Wavelength of laser | 1.002(1.24eV)
 |  | Laser energy | 2.8mJ
Bunch length |  |  | 28ps
 |  | Number of photons per laser pulse | 
/ | m | Rms beam size | 
 |  | luminosity | 
σ | barn | Cross section | 
Max. rate |  | Compton scattering event rate | 
Par. | Unit | Physics meaning | CEPC(Z pole)
 |  | Number of bunch crossing per second | 1(12000)
 |  | Number of electrons per bunch | 
 | W=J/s | power of the laser | 0.1GW
 | m | Wavelength of laser | 
 |  | Laser energy | 2.8mJ
Bunch length |  |  | 28ps
 |  | Number of photons per laser pulse | 
 | m | Rms beam size | 
 |  | luminosity | 
σ | barn | Cross section | 
Max. rate |  | Compton scattering event rate | 
The laser is 1HZ. Compton rate

## Slide 18
The statistic error
The statistical error vs measurement time
entries | time | error
18255630 | 66s | 0.0017
36510648 | 133s | 0.00125
54762225 | 200s | 0.00111

## Slide 19
The systematic uncertainty
Systematic
Nbinsx 按照权重加权，即per X bin 里面的数目
Sources of systematic uncertainties |  | 
Dipole strength() |  | 0.00239%
L1=60m (Ip to detector) | 1mm | 0.01653%
L2=40m (Dipole to detector) | 1mm | 0.017929%
Total |  | 0.036849%
Sources of systematic uncertainties |  | 
 |  | 0.00239%
L1=60m (Ip to detector) | 1mm | 0.01653%
L2=40m (Dipole to detector) | 1mm | 0.017929%
Total |  | 0.036849%

## Slide 20
The systematic uncertainty
Sources of systematic uncertainties |  | 
Dipole strength() |  | 0.00239%
L1=60m (Ip to detector) | 1mm | 0.01653%
L2=40m (Dipole to detector) | 1mm | 0.017929%
∆α deviation of the detector | 1μrad | ignored
∆β deviation of the detector | 1μrad | ignored
Detector placement |  | ignored
Total |  | 0.036849%
Sources of systematic uncertainties |  | 
 |  | 0.00239%
L1=60m (Ip to detector) | 1mm | 0.01653%
L2=40m (Dipole to detector) | 1mm | 0.017929%
∆α deviation of the detector | 1μrad | ignored
∆β deviation of the detector | 1μrad | ignored
Detector placement |  | ignored
Total |  | 0.036849%
Table 2: The systematic uncertainty of Compton polarimeter

## Slide 21
21
Summary & Outlook
Summary
Transverse polarization play an important role in beam energy calibration by RDP.
Compton Polarimeter is the clear technique of choice for electron polarization at CEPC
  measure the position asymmetry of scattered electrons
  2% statistical error has been achieved in 66s time
  0.036849% systematic uncertainty are obtained
  Detector linear effect or electronic noise are not considered
Outlook
longitudinal polarized beam is a powerful ingredient of determining the anomalous couplings in the electroweak physics and suppressing background in new physics searches.
The measurement of longitudinal is essential.

## Slide 23: Additional slides

## Slide 24
Physics
Case 1:
Compton scattering process
Case 2:
Compton scattering process
&
Magnetic deflection
The relationship between scattered energy & detector azimuthal angle (u,ψ)
and the position distribution of scattered electrons
and
Compton Polarimeter involves two physics process: Compton scattering and magnetic deflection

## Slide 25
Physics
Case 1: Compton scattering process
electron beam
=1.24eV laser
Scattering angle of electron
When
Detector is perpendicular to the beam
  (is the detector’s azimuthal angle):
is ratio of scattered energy of photons to electrons

## Slide 26
Physics
Case 2: Compton scattering process + Magnetic deflection
IP
laser
dipole
γ
θ0
electron beam
scattered electrons with minimum energy
detector
φ
y
x
γ detector
Gathering two physical process together:
is the magnetic deflection angle caused by energy loss in Compton back-scattering process.
The position of scattered electrons in detector plane is:

## Slide 27
The magnetic strength of the dipole located in last is
    推导偏转角和偏移量
偏转角等于圆心角
L
R
θ2
θ1
x
R-x
About bending angle
Higgs mode
Z pole

## Slide 28
luminosity
The luminosity of pulsed laser and electron bunch
1 pulse laser with 1 electron bunch
(Number of electrons per bunch) =
About
  electron bunch length =8.5mm;
  Pulse electron bunch = electron bunch length /c =
  Considering the not destroy the mirrow: the laser power is 0.1GW
  The number of 1 pulsed laser is:
The luminosity of 1 pulse laser with 1 electron bunch:

## Slide 29
luminosity
The maximum rate of pulsed laser and electron bunch
The luminosity of 1 pulse laser with 1 electron bunch:
The ICS cross section is :
Compton scattering event rate:
Note that: The laser is 1HZ.
IP： 1 bunch 1 second
1s内 electron 共有12000(CEPC CDR bunch nember)*3000个束团经过IP点，但是Laser无法匹配那么高的频率，设置 laser 的频率为1Hz, 则 1s内 仅仅发生一次 pulsed laser collider with 1 electron bunch
timing system 可以给laser一个合适的trigger，保证laser同指定的一个bunch相互作用, timing system 里面有每个bunch的时间戳
正常情况下，polarization 演化的时间尺度在小时以上，甚至到几十小时，1min内的变化可以忽略。 如果是进行共振退极化实验，可以对一个指定束团，扫描一次depolarizer的频率，即进行一次resonant depolarization run，然后测量一下该束团极化度的情况，主要是看扫描depolarizer频率前后，该束团极化度有没有变化，不关心测量过程中的极化度变化

## Slide 30
Yiwei WANG
β function

## Slide 33
Polarization = 10%
 | Original | 0.094 | 0.096 | 0.098 | 0.099 | 0.100 | 0.102 | 0.104
 | fit value | 0.094 (0.09061, 0.09739) | 0.096 (0.09262, 0.09938) | 0.098 (0.09462, 0.1014) | 0.099 (0.09562, 0.1024) | 0.1 (0.09662, 0.1034) | 0.102 (0.09861, 0.1054) | 0.104 (0.1006, 0.1074)
 |  | 1.771422866716164e-09 | 1.763747313661280e-09 | 1.760820089152675e-09 | 1.761137100103227e-09 | 1.762641193190349e-09 | 1.769210625774302e-09 | 1.780528386904534e-09
 | fit value | 0.094 (0.09058, 0.09742) | 0.096 (0.09259, 0.09941) | 0.098 (0.0946, 0.1014) | 0.099 (0.0956, 0.1024) | 0.1 (0.0966, 0.1034) | 0.102 (0.09859, 0.1054) | 0.104 (0.1006, 0.1074)
 |  | 1.777505906254044e-09 | 1.768784347898592e-09 | 1.764762141769681e-09 | 1.764513295790178e-09 | 1.765439287867310e-09 | 1.770815786191480e-09 | 1.780891636742190e-09
 | fit value | 0.094 (0.0906, 0.0974) | 0.096 (0.0926, 0.0994) | 0.098 (0.09461, 0.1014) | 0.099 (0.09561, 0.1024) | 0.1 (0.09661, 0.1034) | 0.102 (0.0986, 0.1054) | 0.104 (0.1006, 0.1074)
 |  | 1.774281698874271e-09 | 1.766089452127655e-09 | 1.762621470597824e-09 | 1.762659079289202e-09 | 1.763877754284777e-09 | 1.769858303188516e-09 | 1.780563117309038e-09
Coefficients (with 95% confidence bounds) |  |  |  |  |  |  |  | 
 | Original | 0.094 | 0.096 | 0.098 | 0.099 | 0.100 | 0.102 | 0.104
 | fit value | 0.094 (0.09061, 0.09739) | 0.096 (0.09262, 0.09938) | 0.098 (0.09462, 0.1014) | 0.099 (0.09562, 0.1024) | 0.1 (0.09662, 0.1034) | 0.102 (0.09861, 0.1054) | 0.104 (0.1006, 0.1074)
 |  | 1.771422866716164e-09 | 1.763747313661280e-09 | 1.760820089152675e-09 | 1.761137100103227e-09 | 1.762641193190349e-09 | 1.769210625774302e-09 | 1.780528386904534e-09
 | fit value | 0.094 (0.09058, 0.09742) | 0.096 (0.09259, 0.09941) | 0.098 (0.0946, 0.1014) | 0.099 (0.0956, 0.1024) | 0.1 (0.0966, 0.1034) | 0.102 (0.09859, 0.1054) | 0.104 (0.1006, 0.1074)
 |  | 1.777505906254044e-09 | 1.768784347898592e-09 | 1.764762141769681e-09 | 1.764513295790178e-09 | 1.765439287867310e-09 | 1.770815786191480e-09 | 1.780891636742190e-09
 | fit value | 0.094 (0.0906, 0.0974) | 0.096 (0.0926, 0.0994) | 0.098 (0.09461, 0.1014) | 0.099 (0.09561, 0.1024) | 0.1 (0.09661, 0.1034) | 0.102 (0.0986, 0.1054) | 0.104 (0.1006, 0.1074)
 |  | 1.774281698874271e-09 | 1.766089452127655e-09 | 1.762621470597824e-09 | 1.762659079289202e-09 | 1.763877754284777e-09 | 1.769858303188516e-09 | 1.780563117309038e-09
MATLAB fit result

## Slide 34
The systematic uncertainty(1)
Systematic
Nbinsx 按照权重加权，即per X bin 里面的数目
Sources of systematic uncertainties |  | 
Dipole strength |  | 0.00239%
L1 (Ip to detector) | 1mm | 0.01653%
L2 (Dipole to detector) | 1mm | 0.017929%
all |  | 0.036849%
Sources of systematic uncertainties |  | 
Dipole strength |  | 0.00239%
L1 (Ip to detector) | 1mm | 0.01653%
L2 (Dipole to detector) | 1mm | 0.017929%
all |  | 0.036849%

## Slide 35
The systematic uncertainty(2)
∆α deviation of the detector | ∆α=0.1° |  | Detector resolution x = 50/14.43μm
∆β deviation of the detector | ∆β=0.1° |  | Detector resolution y = 25/7.22μm
∆α deviation of the detector | ∆α=0.1° |  | 
∆β deviation of the detector | ∆β=0.1° |  | 
The systematic error by deviation of detector can be ignored.
Detector deviation
The design of detector
  X*Y = 5cm*2cm;
  Pixel size: 50μm*25μm
  resolution:14.434μm*7.217μm

## Slide 36
The systematic uncertainty(3)
Detector placement
The systematic error by detector placement can be ignored.

## Slide 37
discussion
CEPC 束流管 外半径 = 31mm
由B铁参数计算
问题1：L从那里算起？B铁的中心？还是B铁的右边界？
B铁的中心
问题2： 散射电子在探测器上的分布：
不用减去 radius of tube吧？
不用