## Slide 1: The status of R&D for scintillator muon detector
Xiaolong Wang, Hongyu Zhang, Yuxin Liu, XiangYu Xu,
Xu Dong, Xiyang Wang, Weiqi Meng, Shuaichun Wang
Fudan U./Nankai U.
CEPC Day, Aug. 30, 2021

## Slide 2
Something new
Dark box
MCP-PMT
Kurary WLS fibre
BC400
Long attenuation length!
High time resolution!
And new MPPCs from KEK.
New scintillator strip
Our last report on scintillator muon detector was in 2020…
We report something after WS at 扬州 this time.

## Slide 3
MFG-2200
MSO 56 Oscilloscope
LED
MPPC
13360-1350cs
Signal
Differential
Amplifier
Black Box
Reference
QDC
1 p.e.
Oscilloscope: 6.25 GS/s
With 2 MPPCs was tested as well, we estimated those in Belle II KLM:
1 p.e.
12 – 15 p.e.
Study with MPPC only

## Slide 4: Study with MCP-PMT
MSO 56 Oscilloscope
Signal 1
Differential
Amplifier
Black Box
MPPC
13360-1350cs
MCP-PMT
Scintillator
Signal 2
Muon comes from cosmic ray or electron from radioactive source
BC400
#EPIC
Confirm that:

## Slide 5: 2 MCP+1 scint.
MSO 56 Oscilloscope
Signal 1
Black Box
MCP-PMT
Scintillator
Signal 2
Cosmic rays
Or radiation source
Study with a setup of high time resolution.
Uncertainty from geometry.
MCP-PMT

## Slide 6
BC400
2
NICA
EMcal
Cosmic Ray
Cs137 in the middle
Cosmic Ray
Reasonable results
But, there could be uncertainty in photon generation

## Slide 7
Saint_Gobain
Kuraray
Kuraray WLS fibre
Kuraray Y11 WLS, which is used in Belle II KLM.
, matching the MPPC surface well.
About 200 SiPMs arrived Fudan from KEK, along with the fibre.

## Slide 8
Trigger position：0-150cm
Sample#1
Sample#2
ADC measurement I
Saint_Gobain
Kuraray
ADC/4

## Slide 9
ADC measurement II
Trigger position： (middle)
Sample#1
Sample#2
Saint_Gobain
Kuraray
ADC/4

## Slide 10
 |  |  | Saint_Gobain |  |  | Kuraray |  | 
Position | Time | Scintillation sample | Entries | Mean | Entriesean | Entries | Mean | Entriesean
 | 1h | #1 | 10820 | 2617 | 2.83 | 12520 | 4892 | 6.12
 |  | #2 | 10657 | 2462 | 2.62 | 12507 | 5260 | 6.58
 | 10h | #1 | 5872 | 1883 | 1.10 | 6031 | 4216 | 2.54
 |  | #2 | 5838 | 2108 | 1.23 | 5998 | 4608 | 2.76
 |  |  | Saint_Gobain |  |  | Kuraray |  | 
Position | Time | Scintillation sample | Entries | Mean |  | Entries | Mean | 
 | 1h | #1 | 10820 | 2617 | 2.83 | 12520 | 4892 | 6.12
 |  | #2 | 10657 | 2462 | 2.62 | 12507 | 5260 | 6.58
 | 10h | #1 | 5872 | 1883 | 1.10 | 6031 | 4216 | 2.54
 |  | #2 | 5838 | 2108 | 1.23 | 5998 | 4608 | 2.76
Comparison on WLS fibre
Ratio
Kurary/SG
2.16
2.51
2.30
2.24
Light collection: Kurary:Saint_Goban

## Slide 11: Efficiency study
Trigger Threshold：4.5 p.e.
Saint_Goban
Kurary
Kurary
Sample#1
Sample#2
Good improvement on efficiency!

## Slide 12: Efficiency study
Trigger at the far end of 1.5m scintillator+WLS Fibre+MPPC
Easy to collect >8 p.e.
We get similar performance of scintillator made in China.
Belle II TDR

## Slide 13: WLS fibre section
Cut with knife,
Random quality…
After surface grinding
With sandpaper
Need improvement on surface grinding for WLS fibre.

## Slide 14: Polish for fibre
First time to use the polish machine.
Some improvement, but the surface is a bit dirty.
Damage on the out cover layer.

## Slide 15: Summary and plan
Time resolution study performed, of the current KLM pream.
Some good time resolutions achieved, and the one of regular scintillator should be well below
Kuraray WLS fiber has better performance.
Easy to collect >8 p.e. at 1.5m far end, the (new) scintillator made in China has similar performance comparing to the current Belle II KLM.
The surface of the fibre section could be polished with machine.
Plan to do more testing with new scintillator samples and the Kuraray fibre.
Thank you!

## Slide 16
backup

## Slide 17: 2 MCP+2 scint.
MSO 56 Oscilloscope
Signal 1
Black Box
MCP-PMT
Scintillator1
Signal 2
MCP-PMT
Scintillator2
Cosmic rays
Or radiation source
Signals from 2 scintillators.
Light block between scintillators.
Measure the time difference at photon generation.
Still have to fight against noise.

## Slide 18
GNKD1
2
GNKD2
BC400
GNKD#C
EPIC#2
BC400
+
+
+
Some good samples!!!
We are asking companies to improve the quality of scintillator.
Only one BC400:

## Slide 19
Extrusion scintillator
+ Teflon + fiber coupled with MPPC
Natural growth scintillator
Without fiber coupled with PMT
Time resolution
Time resolution of scintillator
Time difference caused by fiber is considerable
But we found there were some mistake in using PMT to measure the time resolution. The time resolution of pure scintillator is < 200 ps.

## Slide 20
10cm
12m
9m
CEPC CDR 2018
superlayer
G4 simulation for muon detector