## Slide 1: Garfield simulation with different gas mixtures
Siman Liu, Linghui Wu, Guang Zhao, Shuiting Xin , Weimin Song
Cluster Counting Meeting
Sept 16th, 2021

## Slide 2: Outline
Motivation
Ionization
Drift velocity
Longitudinal diffusion
Summary

## Slide 3: Motivation
The cluster counting method has great PID capability in the future electron-positron collider experiment
The choice of the gas mixture is essential. To improve reliability of the cluster counting, some characteristics would be expected
  Low cluster density to achieve high counting efficiency
  Low drift velocity helps to identify clusters in time
  Small longitudinal diffusion to avoid overcounting on the clusters with more than one electrons
A study with Garfield++ is performed to understand the property of different gas mixtures
  He + iC4H10 (used in KLOE and Babar)
  He + C3H8 (used in BESIII and CLEOIII/CLEO-c)
  He + C2H6 (used in Belle/Belle-II)

## Slide 4: Cluster density
Cluster density : (at the same ratio of He)
iC4H10 > C3H8 > C2H6
He ratio Cluster density
Incident particle: 10 GeV/c pion
Gas pressure: 1 atm
Ratio of He (%)
Ncl (/cm)

## Slide 5: Cluster size
Cluster size = 2
Cluster size = 1
Cluster size ≥ 3
Most clusters have only one electron (85~90%)
A few percent of clusters have more than two electrons

## Slide 6
Drift velocity vs E
Gas pressure: 1 atm
Increasing ratio of He helps to reduce the drift velocity

## Slide 7: Drift velocity vs E
With the same ratio of He, He+C2H6 has the lower drift velocity

## Slide 8: Simulation of drift time to distance relation and diffusion
Cell size: 2cm × 2cm
High voltage on sense wire: 2500V
Magnetic field : 3T
Gas pressure: 1 atm
Drift distance
Electron
Configurations:

## Slide 9: Drift time vs drift distance
Increasing ratio of He helps to reduce the drift velocity

## Slide 10: Drift time
With the same ratio of He, He+C2H6 has the longer drift time

## Slide 11: Longitudinal diffusion vs drift distance
The higher ratio of He, the larger diffusion

## Slide 12: Longitudinal diffusion
With the same ratio of He, diffusion of gas with iC4H10 is smaller in most cases

## Slide 13: Summary
Comparison of ionization, drift velocity and diffusion between different gas mixtures performed
  Increasing the ratio of He
    helps to reduce the cluster density and drift velocity
    but causes the diffusion to be more serious
  With the same ratio of He
    diffusion of gas with iC4H10 is smaller in most cases
    the gas with C2H6 has lower drift velocity

## Slide 14: Thanks!

## Slide 15: Back up

## Slide 16
Drift velocity

## Slide 17
E = 2000 V/cm | 
gas composition | Drift velocity (cm/μs)
He/IC4H10 (50/50) | 3.835
He/IC4H10 (60/40) | 3.693
He/IC4H10 (70/30) | 3.482
He/IC4H10 (80/20) | 3.139
He/IC4H10 (90/10) | 2.552
He/C3H8 (50/50) | 3.657
He/C3H8 (60/40) | 3.457
He/C3H8 (70/30) | 3.196
He/C3H8 (80/20) | 2.823
He/C3H8 (90/10) | 2.287
He/C2H6 (50/50) | 3.760
He/C2H6 (60/40) | 3.442
He/C2H6 (70/30) | 3.084
He/C2H6 (80/20) | 2.665
He/C2H6 (90/10) | 2.169
Drift velocity
E = 3500 V/cm | 
gas composition | Drift velocity (cm/μs)
He/IC4H10 (50/50) | 4.435
He/IC4H10 (60/40) | 4.176
He/IC4H10 (70/30) | 3.854
He/IC4H10 (80/20) | 3.460
He/IC4H10 (90/10) | 3.002
He/C3H8 (50/50) | 4.048
He/C3H8 (60/40) | 3.788
He/C3H8 (70/30) | 3.490
He/C3H8 (80/20) | 3.153
He/C3H8 (90/10) | 2.799
He/C2H6 (50/50) | 4.009
He/C2H6 (60/40) | 3.699
He/C2H6 (70/30) | 3.378
He/C2H6 (80/20) | 3.057
He/C2H6 (90/10) | 2.757

## Slide 18: Drift time

## Slide 19: Drift time
Drift distance = 0.5 cm | 
gas composition | Drift time (ns)
He/IC4H10 (50/50) | 142.5
He/IC4H10 (60/40) | 146.3
He/IC4H10 (70/30) | 153.1
He/IC4H10 (80/20) | 165.8
He/IC4H10 (90/10) | 195.4
He/C3H8 (50/50) | 143.4
He/C3H8 (60/40) | 151.8
He/C3H8 (70/30) | 163.1
He/C3H8 (80/20) | 180.6
He/C3H8 (90/10) | 216.1
He/C2H6 (50/50) | 134.4
He/C2H6 (60/40) | 146.6
He/C2H6 (70/30) | 162.8
He/C2H6 (80/20) | 186.3
He/C2H6 (90/10) | 228.8
Drift distance = 1.0 cm | 
gas composition | Drift time (ns)
He/IC4H10 (50/50) | 429.1
He/IC4H10 (60/40) | 423.9
He/IC4H10 (70/30) | 427
He/IC4H10 (80/20) | 445.2
He/IC4H10 (90/10) | 503.8
He/C3H8 (50/50) | 372.1
He/C3H8 (60/40) | 394.3
He/C3H8 (70/30) | 423.3
He/C3H8 (80/20) | 467.2
He/C3H8 (90/10) | 551.5
He/C2H6 (50/50) | 333.8
He/C2H6 (60/40) | 368.6
He/C2H6 (70/30) | 411.5
He/C2H6 (80/20) | 471.5
He/C2H6 (90/10) | 577.7