## Slide 1: INTEROSER DESIGN UPDATES
Ziyue Yan
2022/6/2

## Slide 2: Former Design

## Slide 3: Layout Updates
The rigid part from the former design remains the same.
The flex parts’ positions from top view have been adjusted apart like shown in the layout above.
Two flex parts need to be bent to the install position similar to the right picture .

## Slide 4
6.35cm
10cm
TOP VIEW
SIDE VIEW
7cm
1.73cm
6.35cm
RIGID
10cm
No feedback yet
FLEX1
CONNECTOR1
CONNECTOR2
FMC
2.7cm
FLEX2

## Slide 5: Cross-section
The new rigid part shares the same cross-section with the primary part.
Flex boards would be manufactured by deep milling.

## Slide 6
Interposer
Sockets
FPGA board
Interposer
FPGA board
Flex
Flex
Internal detector
Rigid
Flex
Sockets
Interposer
Sockets
FPGA board
Interposer
FPGA board
Flex
Flex
Internal detector