## Slide 1
Zhe Wang
Tsinghua University
July 8, 2023 @ WIN2023, Zhuhai
Applications of Nuclear Technology Session Summary
-- Application and Detection Technology Development

## Slide 2
Applications of Nuclear Technology
16 parallel talks
Two plenary talks
  CEvNS with Noble Liquids, by Kaixuan Ni
  Neutrino Applications, by Jonathan Link

## Slide 3: Contents
Reactor neutrino precision measurement and monitor
Geoneutrino measurements and prediction
CEvNS detection
Others:
  Jinping Neutrino Experiment
  Muon tomography
  Bolometer development

## Slide 4
Part 1. Reactor neutrino precision measurement and monitor
  TAO - Cryogenic liquid scintillator, high light yield
  CHANDLER – Compact , low cost, surface-level, mobile

## Slide 5
by Alexander Chepurnov

## Slide 7
The Mobile Neutrino Lab —— MiniCHANDLER
  The first demonstrated mobile neutrino detector,
  The first unshielded reactor neutrino detector, and
  One of the world’s smallest neutrino detectors.
by Jonathan Link

## Slide 8
With the 80 kg prototype:
The detection of an antineutrino signal resulting from inverse beta decay at 5.5σ significance.
An observation of a positron spectrum in a small surface-deployed detector.
Going from MiniCHANDLER to full CHANDLER:
New optics; 2. Larger detector; 3. PMTs on four sides; 4. Half cubes.
Observation of reactor neutrinos —— MiniCHANDLER

## Slide 9
Part 2. Geoneutrino measurement and prediction
  Measurements of Borexino and KamLAND
  Prediction for JUNO

## Slide 10
Geo-neutrino measurements with Borexino
by Xuefeng Ding

## Slide 11
Geo-neutrino measurements with Borexino

## Slide 12
Geo-neutrino measurements with KamLAND
by Nanami Kawada

## Slide 13
Comparison to Earth models

## Slide 14
Geo-neutrino Signal Prediciton at JUNO
by Ruohan Gao

## Slide 16
1. Geochemical model has larger influence on geo-neutrino signal prediction than geophysical model, as the earth’s continental crust is highly heterogenous in terms of U and Th abundances.
2. Local crust model (JULOC/JULOC-I) predicts higher geoneutrino signal than global models.
3. This is consistent with the wide distribution of high U/Th granite intrusions in the Cathaysia region around JUNO
Geo-neutrino Signal Prediciton at JUNO

## Slide 17
Part 3. CEvNS detection
  COHERENT
  CloverS
  CICENNS
  Dual phase argon TPC
  RELICS
  CONUS
  nGen
  RECODE

## Slide 18
By Kaixuan Ni

## Slide 19
COHERENT
by Keyu Ding
Ongoing effort:
24 kg Ar, Single phase
16 kg Ge
3.4 ton NaI
...

## Slide 20
CloverS - Cryogenic undoped CsI, SNS, 12 kg, CSNS, China
by Qian Liu
77K big CsI crystal light yield test～15.8p.e/keVee
The light yield can be further improved by enhancing the optical coupling and employing wavelength shifters, etc.
Scanning the neuron counting rate at different positions in CSNS

## Slide 21
CICENNS - CsI(Na), SNS, 300 kg, CSNS, China
by Soo-Bong Kim
Nov. 2022: Instrumentation fund obtained.
Dec. 2022: Bidding was completed for procurement.
Oct. 2022: Fund request submitted to SYSU.
Dec. 2022 - present.: Negotiation with CsI(Na) crystal manufacturers
Technical Design Report in preparation
Finalize the detector design with a full simulation
Under purchasing parts
Dec. 2023: All of detector components will be delivered.
May 2024: Completion of detector assembly
Aug. 2024: Cosmic muon data at SYSU
Sep. 2024: Deploy the detector at CSNS and take beam data.
35 tons of shielding with Cu, LS, Pb, and HDPE
20 kg CsI(Na) x 15
14 cm (f) x 28.7 cm each
Two 5-inch SBA PMTs

## Slide 22
Dual phase argon - Ar, Reactor, 200 kg, Taishan, China
by Yongpeng Zhang

## Slide 23
RELICS - Xe, Reactor, 30 kg, Taizhou, China
by Qing Lin

## Slide 24
CONUS, - Ge, Reactor, 4 kg, KFR, Germany
by Kaixiang Ni

## Slide 25
Phys.Rev.Lett. 126 (2021) 4, 041804
From CONUS to CONUS+
New Reactor: Kernkraftwerk Leibstadt (KKL), Switzerland
Upgraded Ge detectors

## Slide 26
nGen - Ge, Reactor, 1.4 kg, KNPP, Russia
by A.Lubashevskiy

## Slide 28
RECODE - Ge, Reactor, 10 kg, Taizhou
by Litao Yang
Experience from CDEX@CJPL

## Slide 29
Part 4. Others
  Jinping Neutrino Experiment – A solar and geo neutrino observatory
  Muon tomography – Structure imaging
  Bolometer development – for 0nbb and CEvNS

## Slide 30
R&D of Jinping Neutrino Experiment
500 Hundred-ton solar neutrino observatory at CJPL II
  Detector construction
  Replaceable detection media, allowed density range ± 20% wrt water, oil- or water- based liquid scintillator
Solar B-8 neutrino detection with water first
Explored the option with LiCl aqueous solution
by Zhe Wang
Under construction.
Coming up soon.

## Slide 31
ne CC, ES, and detections with saturated LiCl aqueous solution
CC process for ne:
  Measure neutrino energy
  High concentration: 11 mol/L
Elastic scatter on e-:
Delayed coincidence for :
with neutron capture on H, Li6, and Cl35
measure energy
Saturated LiCl solution
Attenuation length: 50 m at 430 nm
Adding 1 ppm C124 to LiCl aqueous solution, scintillation+Cherenkov
Spectrometer for and Good chance for solar and geo neutrinos
http://jinping.hep.tsinghua.edu.cn

## Slide 32: Muon Tomography
by Ran Han
Tunnel -- Changshu seismic station
Tunnel -- Xiaoying subway station
Volcano

## Slide 34: Cryogenic phonon-scintillating bolometer technology and applications
by Mingxuan Xue
CdMoO4/Li2MoO4/Gd2SiO5 bolometer for 0nbb search

## Slide 35: Cryogenic phonon-scintillating bolometer technology and applications
by Mingxuan Xue
CdMoO4/Li2MoO4/Gd2SiO5 bolometer for 0nbb search

## Slide 36
PbWO4 bolometer for reactor CEvNS observation

## Slide 37
Summary
Reactor neutrino precision measurement and monitor
  a. TAO and CHANDLER
Geoneutrino measurements and prediction
  a. Borexino and KamLAND; b. JUNO pred.
CEvNS detection: 8 Exp. coming up
Others:
  Jinping Neutrino Experiment coming up
  Muon tomography results
  Bolometer development

## Slide 38
Thank you.
Apologize for the missing details and key points due to my limited knowledge.