## Slide 1: 11/10

## Slide 2: Build event
Statics: only have Timestamp, Row&Col
Build event: Cut events and translate origin statics to time&position
Row&Col to Position: mutiple pixel’s size
Timestamp to time:
0101 ..... 0101 .......... 1111
Small:8bit
Big: 28 bit
Time/Clock = (1<<8)*Big_ts + Small_ts
Code:/afs/ihep.ac.cn/users/h/huyiming/knossos_i/class

## Slide 3: Event build Process
Info 0
Info 1
Info 2
Info n
Info new
Judge
Temp evt
evt repository
True:Generate Evt
Evt new
Evt 0
Evt 1
Evt 2

## Slide 4
Info 0
Info 1
Info 2
Info n
Info new
Judge
Temp evt
evt repository
True:Generate Evt
Evt new
Evt 0
Evt 1
Evt 2
Clear temp evt
Fil new event
Info 0

## Slide 5
Info 0
Info 1
Info 2
Info n
Info new
Judge
Temp evt
evt repository
False:fill curr Evt
Evt 0
Evt 1
Evt 2
Info n+1

## Slide 6: Judgement of Event
1.Using time as criterion
  timegap set as 3 clock
timeFPGA
timeChip
row
col

## Slide 7: Stack top or bottom
Info contains:
  time
  chipID
  hit Position
Info 0
Info 1
Info 2
Info n
Info new
?compare to top or bottom

## Slide 8: Charge sharing

## Slide 11: Mutiple cores
Events build need single core, so just build events without any other operations.
1 Evt Contains:
  EvtID
  ChipID (not definitely in order)
  Position
Clustering can process in mutiple-cores.
  During clustering, If input-hits are too much, may lead some std::alloc error.
  One simple way to fix that: Use unordered_map<vector> instead of vector<vector>

## Slide 12: Timecamp
signal process
1.chips get hits ： chips share same clock but have diff phase.
2.time_chip stop ：only when signal stop, the chip_time will update
3.send time_chip info to FPGA ：FIFO, 1hit needs 400ns to handle
4.when signal reach, record time_FPGA ：If hits have 20+, time_FPGA Gap≈ 4

## Slide 13: 1.chip_time alignment
t2
t1
t3
t4
φ2=0
φ1=t2-t1
φ3=t2-t3
φ4=t2-t4
time_align[ i ] = （time[ i ]+φi）% 256
256

## Slide 14: consider err
phase difference may have error, let it be 2 chip_clock;
When time_FPGA difference < criterian，
    chip_time(align) difference < phase difference+1
    consider as same evt

## Slide 15: Special situation
timeFPGA update by reach time, can’t used to judge such situation
trade - offs: is same evt

## Slide 16: Judge of event
time_FPGA gap > n1
time_FPGA gap > n2
generate new evt
generate
new evt
fill into old evt
Y
Y
N
N

## Slide 17: Results
Set time_chip criterian: no evts found
  Check the phase difference of different chips
  particle reach time may not ignorant
Only set time_FPGA criterian: find many evts