## Slide 1: High-Low Gain Ratio Calibration
2023/02/16
Wang Jiaxuan

## Slide 2: Software Set-up
Pick data files
  7 data files during test days
  under high-low gain mode
  every 12 hours
Decode and merge
Analyze
  Root class TH2F
  Fit range from 600 to flexible upbound
ECAL Binary Data
246.dat
264.dat
253.dat
222.dat
228.dat
272.dat
289.dat
ECAL Root File
246.root
264.root
253.root
222.root
228.root
272.root
289.root
Merge
merge_v1.root

## Slide 3: Fit Plot

## Slide 4: Blind Channel
Except 28 layer, 0~1.9% blind channel for each layer
No. 28 percentage of blind channel 2.85%

## Slide 5: Abnormal Fit
TGraph
TH2

## Slide 6: Fake signal
It occurred to almost all the plot which hit tag equals 1
Low threshold may cause this problem

## Slide 7: Others

## Slide 8: HL-Ratio Result Comparison