## Slide 1
2024.06.17
Suen Hou 侯書雲
Academia Sinica
suen@sinica.edu.tw
https://indico.phys.sinica.edu.tw/event/104/
Outline
Theory, BHLUMI precision
CEPC LumiCal design
Radiative Bhabha measurement
Measuring QED radiative Bhabha
to 10-4 precision, for CEPC luminosity
NLO LO

## Slide 2: Physics goal at CEPC
σ = 41 nb
Z-lineshape e+e− → Z → qq‾
Luminosity by Bhabha e+e− → e+e−
2 November 2005
MZ = 91187.5 ± 2.1 MeV 2.3 × 10−5
GZ = 2495.2 ± 2.3 MeV 1‰
Nν = 2.9840 ± 0.0082
Precision luminosity 3‰
Nν = 2.9840 ± 0.0082
Bhabha generators
BHLUMI 4.04
S. Jadach [CPC 101 (1997) 229]
ReneSANCe 1.0.0
R.Sadykov [CPC 256 (2020) 107445]
NPB 716 (2005) 280
Bhabha
at θ= 5o

## Slide 3: BHLUMI theoretical precision
BHLUMI 4.04
S. Jadach [CPC 101 (1997) 229]
1999 systematic 0.061 %
2019 systematic 0.037%
e+e− → e+e− (γ)
[arXiv:2211.14230]
[ PLB 803 (2020) 135319]

## Slide 4: Bhabha measurements
L3 radiative Bhabha, ISR
Systematic error at ~1% level
√s= 50 ~ 170 GeV, 232 pb-1 2856 event
e+e− → e+e− (γ)
[ ZPC 37, 1988, 171]
[PLB 439, 1998, 183]
TASSO Bhabha
Systematic error ~3%
√s = 12 ~ 47 GeV

## Slide 5
NLO eeγ
LO Bhabha
BHLUMI QED on e+e− → e+e−(γ)
BHLUMI e+e−γ prediction
ECMS = 92.3 GeV θ = 10~80 mRad
e+e− → e+e− + Nγ  Eγ > 50MeV
Opening angle Ω(e,γ) vs. r(e)
increase w. electron θ
Photon (max. E) examined
CMS frame
r(e±) to z-axis vs. Ω (e,γ)
BHLUMI E(γ) cut
E(e+) vs E(e-)
LEP forward detector
not capable of e/γ separation
BHLUMI generated
θ(e+)

## Slide 6
Scattered electron θ
CMS generated (θ>10mR)
x33mR boosted
BHLUMI at CEPC boosted e+e− → e+e−(γ)
ECMS = 92.3 GeV, θl= 10~80 mRad
Boosted by beam crossing, 33 mRad
hit (x,y) distributions
generated @z=1m
boosted @z=1m
LumiCal selection |y|>12 mm @z=647mm
FSR photons well seperated from electrons

## Slide 7
CEPC LumiCal design
L=2x1036/cm2s1 @Z-pole, goal is 10-4 systematics
ø 20 mm racetrack, beam-crossing: 33 mRad
IP bunch : σx σy σz = 6 μm, 35 nm, 9 mm
Bunch crossing: 23 ns
before Flange z = 560~700 mm
Low-mass window: Be 1mm thick
traversing @22 mRad traversing L= 45 mm,
= 0.13 X0 (Be), 0.50 X0 (Al)
Two Si-wafers for e± impact θ
2X0 LYSO = 23 mm
behind Bellow z= 900~1100 mm
Flange+Bellow : ~60 mm, 4.3 X0
17.4 X0 LYSO 200 mm
Bellow
Flange
LumiCal volume

## Slide 8
count Bhabha
in Fiducial region
Bhabha cross section
θ-angle distribution
detector spatial resolution
Bhabha counting to 10-4 precision
Event counting N = σ ∙ ∫L
Luminosity by detecting Bhabha events
a pair of back-back electrons,
precision θ on e,e(γ) in fiducial region
e+e− →e+e−(γ)
Bhabha systematic error
δL/L ~ 2 δθ/θmin
requiring δL/L = 10-4
at z = ±1 m, θmin = 20 mRad
→ δθ = 1 μRad or dr = 1 μm
error due to offset on Z
 50 μm on Z eq. dr = δz x θ = 1 μm
Luminosity systematics
due to events in/out fiducial edge
offset on the mean of θmin

## Slide 9: GEANT beampipe multiple scattering
Si det.
LYSO
IP spot (σx,σz)= (0,0) or (6,380μm)  compatible
boost by 33 mRad beam crossing
50 GeV μ+, μ−
@ (θ= ± 30 mRad, φ = 1.0, 1.0+π Ra)
smearing at @z=560mm, 1st Si wafer
|x|< 6.0 mm, 1mm Be
low mass window σ(θ) = 46 μRad
|x|>6.0 mm 1mm Al pipe, σ(θ) = 109 μRad
back-to-back σ(Ω) = 122 μRad
Al Be
Low-mass
window
1 mm Be thin pipe window
33mm = 0.09X0 traversing @ 30mR

## Slide 10
GEANT LumiCal electron shower
2X0
LYSO
y
x z
x z
y
17X0
LYSO
dis. in X
deposit in Z
X cm z cm
50 GeV electron @ θ = 32 mRad, φ=90o
2X0 LYSO + 4.3X0 Flange,Bellow
+ 17X0 LYSO
Shower deposition, by Sum(dE/dx)
in front LYSO: ~1.0 %
in back LYSO: ~ 61 %

## Slide 11
LumiCal volume
2X0 LYSO for e+e− → e+e−(γ)
Bhabha hits on LYSO |y|>12mm
sum dE/dx all LYSO bars (a plane)
e± one track : sumE min. 20 MeV
(e± + FSRγ) : two MIPs, sumE x2
sumE
sumE(R<9mm)/sumE
Loop Bar Nγ=0 Nγ>0
GEANT hits E>Eb/2
33mRad boosted
On LYSO @647mm
incident particles are e±,(γ) and secondaries
GEANT sum dE/dx in each LYSO bars
3x3mm2, 23 mm long, 2X0
Deviation to e± truth (impact hit >Eb/2)
mostly < 0.2mm
Hit distributions in a Bar
distributed due to Bhabha θ, w./w.o. photon
dR to Truth
Nγ > 0

## Slide 12: Bhabha event pile-up
High-Lumi Z Lmax/IP = 115 x 1034/cm2s
Bhabha both e+, e− detected, X-sec = 246 nb
= (246x10-33) x (115 x 1034) /s = 115 kHz
Event rate / 25 ns bunch crossing
= 0.003 events /b.c.
Pile-up: next b.c., @adjacent cell
Pile-up Fraction = 0.018*6cells/2sides = 0.054
Pile-up rate = 0.003*0.054 = 1.6 x 10-4
50 GeV e- shower in 3x3 mm2 cells
25 ns
LYSO signal overlap
event fraction /(cell of 3x3mm2)
maximum at beampipe edge = 0.018
LAB both e+, e− detected | 
θ>15 mRad | θ>15mR & ¦y¦>15mm
257.8 | 245.9
θ>25 mRad | θ>15mR & ¦y¦>25mm
85.4 nb | 78.0 nb
θ>30 mRad | θ>30mR & ¦y¦>30mm
54.9 | 49.1
CDR
racetrack
BHLUMI acceptance
z = 1000 mm

## Slide 13: EM shower in PDG, GEANT simulation
Beam-tests planning for LumiCal:
Si wafer + LYSO SiPM
100% quantum efficiency
for electron Multiple scattering, charged shower multiplicities
SiPM for photon counting in lateral X0 layers
Energy profile
Particle flow
GEANT3 parameters
agree with TestBeam
PDG lateral
shower profile
of EGS

## Slide 14: Electron shower multiplicity vs GEANT3
NIM A388 (1997) 135
Electron traversing Si-det
Pb inserted for shower profile
GEANT
# ch. particles
Si-det
rec. cluster
data, MC
absorber
Si-strip clusters eq. # ch. Particles

## Slide 15: 50 GeV Electron shower multiplicity
Charged shower particles, Si-det + Al absorber
– 50 GeV electrons @ CERN X3
– Si-strip 50um pitch 300um thick
– Al absorber to expand shower distribution
NIM A374 (1995) 157

## Slide 16: Electron shower profile vs GEANT3
NIM A374 (1995) 157
GEANT3 simulation of traversing charged-particle
signal randomly from Landau of data, shared to 2 Si-strips
Hits on N3

## Slide 17: summary
Detecting Bhabha for QED/luminosity to 10-4
Det. Tech has advanced
100% Quan. Efficiently
Si-strip on electrons
SiPM on LYSO photons
Si-strip + LYSO (2X0)
e/γ separation for Rad. Bhabha
Testbeam on e, γ to confirm
multiple scattering
preshower spectra

## Slide 18: backup

## Slide 19
z-axis
x-axis