## Slide 1
Speaker: Tian-Qi Huang1,2
on be half of the HUNT Collaboration
1 Institute of High Energy Physics, Chinese Academy of Sciences
2 Tianfu Cosmic Ray Research Center
@ The Chinese University of Hong Kong
Status and Prospects for the HUNT project
🤝

## Slide 2
PeVatrons: accelerator of PeV cosmic-rays (e.g., electrons, protons)
1LHAASO catalog: 43 UHE gamma-ray sources (>4σ)
High-energy Underwater Neutrino Telescope (HUNT)
Researching the Galactic PeVatrons in the view of neutrinos
Resolving the high energy neutrino sky
Understanding the propagation mechanism of high energy cosmic-rays
Exploring the frontiers of neutrino physics and new physics
Scientific Goals
Eγ>100 TeV
LHAASO, 2024, ApJS

## Slide 3
HUNT Sketch Map
~2300 strings
Length of string ~700 m
horizontal distance ~130 m
vertical distance ~30 m
~30 cubic kilometers
TeV – 100 PeV
Specifications:
Angular resolution: ~0.1° (tracks), <3°(cascades)
Energy resolution: ΔlogE~0.3(tracks), ΔE~10-30% (cascades)

## Slide 4
Type 1
Height: 720 m
Radius: 3.8 km
2212-strings
1-cluster
Configuration Design
Type 2
Height: 1890 m
Radius: 800 m
96-strings
9-clusters
×9
South China Sea (water depth ~ 3000 m)
Lake Baikal (water depth ~ 1300 m)
Notes: vertical distance = 30 m

## Slide 5
Angular resolution & Effective area
upgoing tracks
(zenith > 80 deg)
upgoing tracks
(zenith > 80 deg)
PRELIMINARY
PRELIMINARY
Notes: Nhit >=7, Npe>=21

## Slide 6
Discovery Potential
Background
Atmospheric neutrinos (MCEq)
Diffuse astrophysical neutrinos (dN/dE ~ E-2.37)
Binned Likelihood
Spatial bin size ~ (HEALPix Nside = 512)
Energy bin size =0.4
  the energy resolution is assumed to be =0.3
We approximate the median significance by replacing the data with the expectation values.
PRELIMINARY

## Slide 7
Discovery Potential | Stacking LHAASO sources
1LHAASO Catalog
43 sources with >4σ emission above 100 TeV
median spectral index 3.28
median source extension
  track angular resolution ✅
Neutrino & Gamma-ray Relation
PRELIMINARY

## Slide 8
Discovery Potential | Microquasar
PRELIMINARY
LHAASO, 2024, arXiv:2410.08988
Alfaro R., et al., 2024, Nature

## Slide 9
Discovery Potential | Seyfert Galaxies
PRELIMINARY
PRELIMINARY

## Slide 10
Discovery Potential | Seyfert Galaxies
PRELIMINARY
PRELIMINARY
HUNT will discover tens of neutrino sources.
disk-corona model
(Kheirandish, KM & Kimura 21 ApJ )

## Slide 11
We simulated the 13 neutrino events observed by Baikal-GVD (Zike Wang, et al., 2024, ChPhC)
)
Geant4 simulation program
The linear fitting parameters are all close to 1, which shows that the detector simulation is basically correct and can be used for the simulation of HUNT experiment.

## Slide 12
G4DMT：GEANT4 Distributed Multiple Threads
Can call the performance of all CPUs to help simulate a primary particle.
G4ART: GEANT4 Accelerated Ray Tracing
Generation of Cherenkov light on GPU. GPU ray tracing. In order to further reduce the CPU computing load.
One electron (1 PeV)
default Geant4 takes 137 hours
  1-core CPU
G4DMT + G4ART takes 410 seconds
  32-core CPU, 4 GPUs
1200 times faster
Geant4 simulation acceleration
Next Step
Further validation of the reliability of the acceleration libraries.
To compare the output of Geant4 when using and not using these acceleration libraries

## Slide 13
Prototype String @ Lake Baikal
12 OMs with 20-inch PMTs
4 LED calibration systems
3m
30m
30m
Anchor
~330m
120m
228m
340m
March 2024

## Slide 14
Size of signal
Arrival time
Around 10 muon-like events (>=4 hits) per day.
Further analyses are on-going (e.g., reconstructing the muon direction)
Prototype String @ Lake Baikal

## Slide 15
We are going to deploy the other two strings (24 OMs) in Lake Baikal in
2025 completed
2026
Prototype String @ Lake Baikal
~690m

## Slide 16
Pathfinder Experiment
Pathfinder Experiment Apparatus
1800 m (12.8 hours)
Experimental Site
The water of Xisha Islands in South China Sea
Experimental Objectives
Test of long-distance LED calibration system
  Time resolution 0.4 ns for bright pulses
Pressure resistance test of 23-inch glass sphere
In-situ measurement of gamma ray background
  The radioactivity for 40K and 212Pb
1,800m
1,800m
1,800m
20 m
1100 m (5.5 hours)
2023.2
20 m
Notes: https://docushare.icecube.wisc.edu/dsweb/Get/Version-103436/IceCube%20performance.pdf

## Slide 17
HUNT @ South China Sea
Junction box
7strings，56 OMs
HUNT project receives support from the South China Sea Observation Network.
Long-term monitor string (Jan 2025)
4 OMs, vertical spacing 10 m
Seven-string array (2025)
Demonstrate the feasibility of the South China Sea plan for the HUNT project.
Measure the neutrino oscillation parameters.

## Slide 18
LHAASO has discovered tens of Galactic PeVatrons which are good candidates for high-energy neutrino astronomy.
HUNT will realize unprecedented potential in discovering the neutrino counterparts of Galactic PeVatrons and resolving the high-energy neutrino sky.
Prototype string in Lake Baikal has observed muon-like events. We are going to deploy two strings in 2025 and 2026.
The construction of seven-string array in South China Sea will start this year.
Summary

## Slide 19: Back Up

## Slide 20
Lake Baikal
Height: 720 m
Radius: 3.8 km
2212-strings
1-cluster
Configuration Design
South China Sea
Height: 1890 m
Radius: 800 m
96-strings
9-clusters
×9
South China Sea (water depth ~ 3000 m)
Lake Baikal (water depth ~ 1300 m)

## Slide 21
Discovery Potential
Background
Atmospheric neutrinos (MCEq)
Diffuse astrophysical neutrinos (dN/dE ~ E-2.37)
Binned Likelihood
Spatial bin size ~ (HEALPix Nside = 512)
Energy bin size =0.4
  the energy resolution is assumed to be =0.3
We approximate the median significance by replacing the data with the expectation values.
PRELIMINARY

## Slide 22
Discovery Potential | Galactic Ridge
Diffuse gamma-rays from Galactic ridge
Ecut=500 TeV
PRELIMINARY

## Slide 23
Discovery Potential | LHAASO PeVatrons
1LHAASO J1809-1918u
1LHAASO 1825-1337u
PRELIMINARY
PRELIMINARY

## Slide 24
Discovery Potential | LHAASO PeVatrons
1LHAASO J1814-1719u*
1LHAASO 1825-1256u
PRELIMINARY
PRELIMINARY

## Slide 25
Discovery Potential | LHAASO PeVatrons
1LHAASO J1814-1636u
1LHAASO J1908+0615u
PRELIMINARY
PRELIMINARY

## Slide 26
Discovery Potential | Diffuse neutrinos
PRELIMINARY
PRELIMINARY