## Slide 1: BLM & ZDD for BEPC2
Xiao CAI
2024.9.14

## Slide 2
BLM (BEPCII luminosity monitor,@west side)
ZDD (Zero Degree Detector, @east side)
Electronics

## Slide 3: BLM (Provided by USTC, 2009)
Tungsten
converter
Fused Silica
Light Guide
PMT
Light Guide
Fused Silica

## Slide 4: ZDD (provided by INFN-LNF, 2011)
lead-scintillating fibers
lead-scintillating fibers

## Slide 5
Angular distributions for emitted photons in Bremsstrahlung (black histogram) and ISR (red histogram) processes

## Slide 6
PMT signal
BES experimental hall
BES electronics hall (next to BES control room)
×10 Fast amplifier
Discriminator
Preamplifier box
DAQ
~30m cable
Slow control PC
Write threshold
DAQ input signal: TTL, height >2.5V
Fast signal, width 2~3ns
PMT signal & ZDD signal: front edge ~2ns, FWHM ~3.2ns, Pulse height ~100mV
ZDD 16 PMT signals send to ZDD VME system (flash ADC), as a part of BES3 physics data acquirement.
A sum signal for 4 PMTs (block 1/5/9/13) of ZDD send to preamplifier box for BEPC2 beam tunning.
Preamplifier box located at BES Electronics Platform first floor.
LUM/ZDD electronics
LUM (west side)
ZDD signal
×10 Fast amplifier
Discriminator
Preamplifier box
DAQ
~30m cable
Write threshold
ZDD (east side)
Flash ADC
ZDD VME crate
BES3 DAQ

## Slide 7
VME Crate
(Provide Time Signal)
Lum Crate
(Lum DAQ board)
DC Power Supply
(for Pre-Amplifier)
Electronics in BES control room

## Slide 8
Online relative luminosity and history graph
Note: only have some old pictures in laptop, sorry for it!

## Slide 9: Detector running status
2007, BLMs installation(east & west side)
2011, east side BLM uninstallation, ZDD installation
2011, new DAQ electronics installation (provided by IHEP trigger group)
2015-2017, output signal of preamplifier box decay, a NIM electronics added before DAQ to amplify signal.
2020, ZDD preamplifier box crashed again, ZDD not work for several months.
2021, a company make 4 new preamplifier boxes for us, ZDD running well.

## Slide 10: Thanks!