## Slide 1
低温高密核物质测量谱仪(CEE)研制进展
张亚鹏
（CEE合作组）
中国科学院近代物理研究所
2025年4月24-18日，上海
第二十届全国中高能核物理大会

## Slide 2: 内容
物理动机
CEE谱仪设计
探测系统研制进展
束流实验和软件系统
总结

## Slide 3: 兰州重离子加速器-冷却储存环(HIRFL-CSR)
寻找QCD相边界
低温高密区寻找QCD相变临界点
研究>20的核物质状态方程
=> 致密星体内部结构
三体力、短程关联、介质效应、HBT、超核、超子-核子相互作用、轻核产生机制研究、 ……
HIRFL-CSR装置
M. Zhang, ZGX et al., PRC 80 (2009) 034616
F. Fu ZGX et al, PLB 666 (2008) 359
Au+Au
p 2.8 GeV
C 1.2 GeV/u
U 0.5 GeV/u
CEE

## Slide 4: QCD相结构研究
CEE@HIRFL
STAR: 2504.00817, CPOD2024, SQM2024

## Slide 5: 核物质（EoS）
原子核束缚能：
核物质状态方程：
E
B.A Li et al. Universe, 7, 182(2021)

## Slide 6: CEE谱仪探测系统
ZDC
eTOF
MWDC
SC Magnet
TPC
T0
iTOF
CEE
Beam Monitor
beam 束流
CEE 谱仪：
超导二极磁铁
微像素束流定位探测器 (BM)
时间投影室 (TPC)
T0/内飞行时间探测器 (iTOF)
外飞行时间探测器 (eTOF)
多丝漂移室阵列 (MWDC)
零度角探测器 (ZDC)
数据获取系统 (DAQ)
触发系统 (Trigger)
时钟系统 (Clock)
技术支持系统
慢控系统 (SC)
科学应用系统（模拟和分析软件）
Δp/p：≤ 5%, Δt/t：≤ 80ps
反应率：10 KHz
带电粒子接受度: > 50%
基金委重大仪器项目、中科院B类“先导”专项支持

## Slide 7: CEE合作组
中国:
  华中师范大学(CCNU)
  复旦大学 (FDU)
  中科院近代物理研究所 (IMP)
  清华大学(THU)
  中国科学技术大学 (USTC)
日本:
  筑波大学（Tsukuba University）

## Slide 8: 超导二极磁铁
Magnet design
Quantity | Performance
Central Field | 0.5 T
Uniform range | 1200×800×900 mm3
Uniformity | ±2.5%
Current in operation | 231 A
1.6 m
3.2 m
SC Magnet prototype
Magnet production

## Slide 9: 时间投影室（TPC）研制
Quantity | Design index
Channels | 15000
Volume | cm2
 | 500 m
2-track seperation | 3 cm
Momentum resolution | 5%
Quantity | Design index
Channels | 15000
Volume | 
 | 500 m
2-track seperation | 3 cm
Momentum resolution | 5%
TPC design
1750mm
1500mm
920mm
1330mm
SAMPA-based readout
1/2 TPC
Readout Electronics
XZ-Plane
~388μm
Y-Direction
~580μm
样机束流测试
Beam Test Result

## Slide 10: 时间投影室（TPC）测试和批产
Target
Electronics Maturity Test
TPC Detectors
Laser system (14 beam×3 layers)
TPC Readout Pad

## Slide 11: 多丝漂移室阵列（MWDC）
0.85m2
1.7m2
3.5m2
Quantity | Design index
Channels | ~3200
Wire layer per module | X、X’、U、U’、V、V’
 | 300 m
Energy resolution | > 22%
Detection efficiency | > 98%
Momentum resolution | <5%
Quantity | Design index
Channels | ~3200
Wire layer per module | X、X’、U、U’、V、V’
 | 300 m
Energy resolution | > 22%
Detection efficiency | > 98%
Momentum resolution | <5%
MWDC Prototype
Beam Test
Residues
~250um
2.7 m
1.8 m
MWDC3 detector
Electronics Maturity Test

## Slide 12: T0/内飞行时间探测器(iTOF)
Quantity | Design index T0/iTOF
 | 50ps / 50 ps
Efficiency | >99% / >95%
Rate | 1MHz / 10kHz
Quantity | Design index T0/iTOF
 | 50ps / 50 ps
Efficiency | >99% / >95%
Rate | 1MHz / 10kHz
iTOF based MRPC technology
T0: Scintillator + SiPM
Beam test results
σ=37.5ps
Electronics Maturity Test
iTOF Modules

## Slide 13: 外飞行时间探测器(eTOF)
Quantity | Design index
 | 60 ps
Efficiency | >95%
Rate | >10kHz
Quantity | Design index
 | 60 ps
Efficiency | >95%
Rate | >10kHz
eTOF MRPC configuration
Prototype time resolution
3.2 m
1.6 m
MRPC readout
MRPC
σ= 56 ps
Massive Production

## Slide 14: 零度角探测器(ZDC)
ZDC Prototype
ZDC Parameters | Design index
Energy Resolution | < 15%
Detection Efficiency | > 95% (MIPs)
=11.6%
=6.4%
Kr+Fe @ 350 MeV/u
Event Plane
Centrality definition
24 Sectors×8 Rings
CCNU & IMP & Uni. Tsukuba
Electronics Maturity Test
ZDC Production
Beam test result
2米

## Slide 15: 硅像素-束流检测探测器
BM Parameters | Design index
Position resolution | 50 μm
Time resolution | 1 μs
Volume | 10x10x12 cm3
TopMetal-CEE chip
8-inch wafer
BM design
Electronics Maturity Test
X-Ray：MultiRad 160

## Slide 16: 慢控系统 (SC)
SC基于EPICS系统开发
Experimental Physics and
Industrial Control System

## Slide 17: 时钟系统研制与批产
频率: 40 MHz
时钟精度： < 10 ps RMS
时钟路数： ~ 400
传输距离：~ 10 m
测试结果
第一级时钟板
状态汇总板
第一级时钟板
第二级时钟板
TPC子时钟板
状态汇总板

## Slide 18: 触发系统（Trigger）
Working mode：
  Normal (data taking)
  Laser mode
  Pulse mode
主触发板
TPC触发分发板
触发分发板
TPC触发板
其它系统触发板

## Slide 19: 数据获取系统
Zero-suppressed data rate：~4.4 Gbyte/s
CEE farm
CPU-node
CPU node
…. ….
NAS
NAS
…. ….
光纤(10 Gbps)

## Slide 20: DAQ硬件测试和量产
事件组装服务器
板卡批量测试
数据汇总机箱

## Slide 21: CEE实验网络结构和数据流
10GB Net
IMP net
CEE集群
… …
User 1
… …
User N
CEE控制室
CEE实验大厅
10 Gb Fiber
DAQ室
Event Builder
x16
IMP user
IMPCAS
… …
Switcher
… …
Online Server
V
PN
10Gb Fiber
10 Gb Net
Pre-process
CPU node
CPU node
CPU node
NAS
~ 5 PB
(2.1 PB)
10 Gb
Fiber

## Slide 22: CEE实验运行条件建设
CEE Hall
Ground treatment
Safety control
Power system
CEE Control Room
Gas system

## Slide 23: 基础设施与系统整合
CEE Hall Layout
Assembly scheme
Others:
Accelerator upgrade (in progress)
Gas system (in progress)
Beam line optimization (Done)
Background noise treatment (Done)
Radiation control (Done)
Radiation dose simulation
Heat simulation

## Slide 24: 探测器系统束流实验
UrQMD
Fe+Fe@350 MeV/u
(Rad.)
P (GeV/c)
D. Hu@USTC
(b=3 fm)
May, 2024

## Slide 25: 碰撞顶点与子系统匹配
Vertex Reconstruction（X=0）
BM0
T0
靶
BM2
BM1
BM0
靶
BM1
BM2
Detectors on the beam line
TPC and ToF Matching
ΔY(cm)
束流方向
BM0
靶
BM1
BM2
束流方向
iTOF1
eTOF
TPC
MWDC1
MWDC2
ZDC
靶
TPC and TOF matching event
iTOF2
Vertex with TPC alignment

## Slide 26: TPC-MWDC Matching
MWDC1
ZDC
TPC
iTOF
MWDC2
靶
TPC-MWDC-TOF Matching
Scintillator-TOF time matching
TPC and MWDC position matching
秦智

## Slide 27: CEE实验模拟和分析软件：CeeROOT
θ=15o
θ=15o
TPC acceptance
MWDC acceptance
CeeROOT
Home page:
https://gitee.com/CEESM/CeeRoot
(Open source)
FairROOT Platform (https://fairroot.gsi.de)

## Slide 28: TPC径迹重建和反应平面重建
Track finder
Cellular Automaton (CA)
Track fitting
Kalman filter (Genfit)
Vertex fitting：RAVE
TPC tracking with IQMD event
Vertex based TPC tracks
Event plane reconstruction

## Slide 29: 总结
CEE谱仪的超导磁铁存在8-12月的延期
CEE探测器系统研制基本完成；2025年5-7月完成探测器系统交付和组装；2025年7月开展在束联调
基于无磁场探测器构型，测量~1.1 GeV/u的C+C/Au碰撞中奇异粒子（如Λ超子）产额
预计2026年完成CEE谱仪组装，正式开始实验取数（500 MeV/u的UU碰撞)
Λ Invariant mass
Λ Decay Length

## Slide 30
谢谢大家
感谢各位老师对CEE项目的支持

## Slide 31: CEE+@HIAF
Heavy-ion: ~ 4.2 GeV/u
Proton: 9.3 GeV
Zhou et al. AAPPS Bulletin (2022) 32
(2019-2025)
238U Beam
With pp/pA/AA at HIAF
Phase diagram
EoS & neuron star
Strangeness & hypernuclei
In-medium effect of hadron
Short range correlation
…