## Slide 1
Group Meeting
Ziyu Liu
liuziyu@mail.nankai.edu.cn

## Slide 2
Laser calibration system
time difference (ΔT) between two channels
laser
ΔT=Tn-ΣT/3

## Slide 3
Laser calibration system
改进了驱动板，增加了一些功能，设置了一个采数用的trigger，偏压目前设置为是4~27 V可调。
激光信号产生
trigger输出
激光偏压
并且在背面设置了几个采样点，准备对激光产生信号进行采数

## Slide 4
Backup

## Slide 5
Laser calibration system
time difference (ΔT) between two channels
laser
ΔT=T1-T2，3