## Slide 1
Digitization and Reconstruction of Muon Detector in CEPCSW
Weiqi Meng
2024.12.27

## Slide 2
Zhang H, Wang X, Ma W, et al. Journal of Instrumentation, 2024, 19(06): P06020.
Digitization
The relationship between the number of photons received by the SiPM at the scintillator endpoint and the distance from the hit point to the SiPM under 1 mip energy deposition.
The fitting results of the distribution shown in the left figure.

## Slide 3
The ADC distribution corresponding to the SiPM output for a 1 MIP energy deposition.
Digitization

## Slide 4
Reconstruction
Find the point with the smallest in each section as the starting point, then search for the point closest to the previous point layer by layer.
Use RANSAC to select the points, and use linear fitting to fit the track of these points, and select the one with the smallest .
In a superlayer of Barrel, layer1 gives pos.x and pos.y, layer2 gives pos.z.
In a superlayer of Endcap, layer1 gives pos.y, layer2 gives pos.x, both can give pos.z.

## Slide 6
 | 966 | 994 | 999 | 959 | 948 | 1000 | 999 | 999 | 1000
 | 929 (96.2%) | 967 (97.3%) | 988 (98.9%) | 959 (100%) | 889 (93.8%) | 1000 (100%) | 999 (100%) | 999 (100%) | 848 (84.8%)
 | 909 (94.1%) | 958 (96.4%) | 964 (96.5%) | 959 (100%) | 674 (71.1%) | 830 (83.0%) | 884 (88.5%) | 895 (89.6%) | 615 (61.5%)
 | 966 | 994 | 999 | 959 | 948 | 1000 | 999 | 999 | 1000
 | 929 (96.2%) | 967 (97.3%) | 988 (98.9%) | 959 (100%) | 889 (93.8%) | 1000 (100%) | 999 (100%) | 999 (100%) | 848 (84.8%)
 | 909 (94.1%) | 958 (96.4%) | 964 (96.5%) | 959 (100%) | 674 (71.1%) | 830 (83.0%) | 884 (88.5%) | 895 (89.6%) | 615 (61.5%)
 | 1000 | 999 | 996 | 941 | 971 | 999 | 995 | 969
 | 1000 (100%) | 999 (100%) | 994 (99.8%) | 873 (92.8%) | 971 (100%) | 993 (99.4%) | 974 (97.9%) | 928 (95.8%)
 | 897 (89.7%) | 877 (87.8%) | 833 (83.6%) | 659 (70.0%) | 970 (99.9%) | 962 (96.3%) | 954 (95.9%) | 916 (94.5%)
 | 1000 | 999 | 996 | 941 | 971 | 999 | 995 | 969
 | 1000 (100%) | 999 (100%) | 994 (99.8%) | 873 (92.8%) | 971 (100%) | 993 (99.4%) | 974 (97.9%) | 928 (95.8%)
 | 897 (89.7%) | 877 (87.8%) | 833 (83.6%) | 659 (70.0%) | 970 (99.9%) | 962 (96.3%) | 954 (95.9%) | 916 (94.5%)

## Slide 7
 | 951 | 995 | 1000 | 995 | 998 | 999 | 1000 | 1000 | 999
 | 931 (97.9%) | 969 (97.4%) | 986 (98.6%) | 995 (100%) | 961 (96.3%) | 997 (99.8%) | 1000 (100%) | 1000 (100%) | 919 (92.0%)
 | 922 (97.0%) | 932 (93.7%) | 962 (96.2%) | 992 (99.7%) | 732 (73.3%) | 922 (92.3%) | 956 (95.6%) | 961 (96.1%) | 753 (75.4%)
 | 951 | 995 | 1000 | 995 | 998 | 999 | 1000 | 1000 | 999
 | 931 (97.9%) | 969 (97.4%) | 986 (98.6%) | 995 (100%) | 961 (96.3%) | 997 (99.8%) | 1000 (100%) | 1000 (100%) | 919 (92.0%)
 | 922 (97.0%) | 932 (93.7%) | 962 (96.2%) | 992 (99.7%) | 732 (73.3%) | 922 (92.3%) | 956 (95.6%) | 961 (96.1%) | 753 (75.4%)
 | 1000 | 999 | 999 | 998 | 995 | 1000 | 994 | 959
 | 1000 (100%) | 999 (100%) | 999 (100%) | 956 (95.8%) | 995 (100%) | 986 (98.6%) | 978 (98.4%) | 934 (97.4%)
 | 951 (95.1%) | 941 (94.2%) | 911 (91.2%) | 736 (73.7%) | 992 (99.7%) | 964 (96.4%) | 964 (97.0%) | 924 (96.4%)
 | 1000 | 999 | 999 | 998 | 995 | 1000 | 994 | 959
 | 1000 (100%) | 999 (100%) | 999 (100%) | 956 (95.8%) | 995 (100%) | 986 (98.6%) | 978 (98.4%) | 934 (97.4%)
 | 951 (95.1%) | 941 (94.2%) | 911 (91.2%) | 736 (73.7%) | 992 (99.7%) | 964 (96.4%) | 964 (97.0%) | 924 (96.4%)

## Slide 8
 | 961 | 987 | 998 | 999 | 1000 | 1000 | 999 | 1000 | 999
 | 940 (97.8%) | 979 (99.2%) | 984 (98.6%) | 999 (100%) | 990 (99.0%) | 1000 (100%) | 999 (100%) | 1000 (100%) | 951 (95.2%)
 | 930 (96.8%) | 970 (98.3%) | 973 (97.5%) | 993 (99.4%) | 842 (84.2%) | 969 (96.9%) | 982 (98.3%) | 985 (98.5%) | 845 (84.6%)
 | 961 | 987 | 998 | 999 | 1000 | 1000 | 999 | 1000 | 999
 | 940 (97.8%) | 979 (99.2%) | 984 (98.6%) | 999 (100%) | 990 (99.0%) | 1000 (100%) | 999 (100%) | 1000 (100%) | 951 (95.2%)
 | 930 (96.8%) | 970 (98.3%) | 973 (97.5%) | 993 (99.4%) | 842 (84.2%) | 969 (96.9%) | 982 (98.3%) | 985 (98.5%) | 845 (84.6%)
 | 1000 | 999 | 999 | 999 | 998 | 998 | 992 | 955
 | 1000 (100%) | 999 (100%) | 999 (100%) | 982 (98.3%) | 998 (100%) | 982 (98.4%) | 975 (98.3%) | 925 (96.9%)
 | 984 (98.4%) | 979 (98.0%) | 960 (96.1%) | 810(81.1%) | 992 (99.4%) | 965 (96.7%) | 962 (97.0%) | 918 (96.1%)
 | 1000 | 999 | 999 | 999 | 998 | 998 | 992 | 955
 | 1000 (100%) | 999 (100%) | 999 (100%) | 982 (98.3%) | 998 (100%) | 982 (98.4%) | 975 (98.3%) | 925 (96.9%)
 | 984 (98.4%) | 979 (98.0%) | 960 (96.1%) | 810(81.1%) | 992 (99.4%) | 965 (96.7%) | 962 (97.0%) | 918 (96.1%)

## Slide 9
 | 958 | 983 | 995 | 999 | 999 | 999 | 1000 | 1000 | 1000
 | 939 (98.0%) | 969 (98.6%) | 981 (98.6%) | 994 (99.5%) | 999 (100%) | 999 (100%) | 999 (99.9%) | 1000 (100%) | 990 (99.0%)
 | 931 (97.2%) | 961 (97.8%) | 975 (98.0%) | 985 (98.6%) | 973 (97.4%) | 996 (99.7%) | 996 (99.6%) | 999 (99.9%) | 962 (96.2%)
 | 958 | 983 | 995 | 999 | 999 | 999 | 1000 | 1000 | 1000
 | 939 (98.0%) | 969 (98.6%) | 981 (98.6%) | 994 (99.5%) | 999 (100%) | 999 (100%) | 999 (99.9%) | 1000 (100%) | 990 (99.0%)
 | 931 (97.2%) | 961 (97.8%) | 975 (98.0%) | 985 (98.6%) | 973 (97.4%) | 996 (99.7%) | 996 (99.6%) | 999 (99.9%) | 962 (96.2%)
 | 1000 | 1000 | 999 | 1000 | 997 | 1000 | 989 | 960
 | 1000 (100%) | 1000 (100%) | 999 (100%) | 1000 (100%) | 992 (99.5%) | 990 (99.0%) | 973 (98.4%) | 936 (97.5%)
 | 999 (99.9%) | 998 (99.8%) | 997 (99.8%) | 983 (98.3%) | 979 (98.2%) | 982 (98.2%) | 968 (97.9%) | 930 (96.9%)
 | 1000 | 1000 | 999 | 1000 | 997 | 1000 | 989 | 960
 | 1000 (100%) | 1000 (100%) | 999 (100%) | 1000 (100%) | 992 (99.5%) | 990 (99.0%) | 973 (98.4%) | 936 (97.5%)
 | 999 (99.9%) | 998 (99.8%) | 997 (99.8%) | 983 (98.3%) | 979 (98.2%) | 982 (98.2%) | 968 (97.9%) | 930 (96.9%)