## Slide 1: Status of JUNO
Zeyuan Yu (IHEP)
On behalf of the JUNO collaboration
July 22nd, 2025
FCPPN/L 2025 @ Qingdao

## Slide 2
Jiangmen Underground Neutrino Observatory
Leading term at JUNO
Leading term at Daya Bay
Sensitive to mass ordering
Daya Bay Far Hall

## Slide 3
A multiple-purpose neutrino experiment
Neutrino oscillations, mass ordering (3-4 σ), precision measurement (<0.5%)
Astro-particle physics, supernovae neutrinos, geo and solar neutrinos

## Slide 4
JUNO collaboration
69 institutes and ~700 collaborators
Country | Institute | Country | Institute | Country | Institute
Armenia | Yerevan Physics Institute | China | U. of South China | Italy | INFN Catania
Belgium | Universite Libre de Bruxelles | China | Wu Yi U. | Italy | INFN di Frascati
Brazil | PUC | China | Wuhan U. | Italy | INFN-Ferrara
Brazil | UEL | China | Xi'an JT U. | Italy | INFN-Milano
Chile | SAPHIR | China | Xiamen University | Italy | INFN-Milano Bicocca
Chile | UNAB | China | Zhengzhou U. | Italy | INFN-Padova
China | BISEE | China | NUDT | Italy | INFN-Perugia
China | CAGS | China | CUG-Beijing | Italy | INFN-Roma 3
China | ChongQing University | China | ECUT-Nanchang City | Pakistan | PINSTECH (PAEC)
China | DGUT | China | CDUT-Chengdu | Russia | INR Moscow
China | Guangxi U. | Czech | Charles U. | Russia | JINR
China | Harbin Institute of Technology | Finland | University of Jyvaskyla | Russia | MSU
China | IHEP | France | IJCLab Orsay | Slovakia | FMPICU
China | Jinan U. | France | LP2i Bordeaux | Taiwan-China | National Chiao-Tung U.
China | Nanjing U. | France | CPPM Marseille | Taiwan-China | National Taiwan U.
China | Nankai U. | France | IPHC Strasbourg | Taiwan-China | National United U.
China | NCEPU | France | Subatech Nantes | Thailand | NARIT
China | Shandong U. | Germany | RWTH Aachen U. | Thailand | PPRLCU
China | Shanghai JT U. | Germany | TUM | Thailand | SUT
China | IGG-Beijing | Germany | U. Hamburg | U.K. | U. Liverpool
China | SYSU | Germany | GSI | U.K. | U. Warwick
China | Tsinghua U. | Germany | U. Mainz | USA | UMD-G
China | UCAS | Germany | U. Tuebingen | USA | UC Irvine

## Slide 5
JUNO site
Surface Assembly Building
LAB storage (5k ton)
Water purification
Computing
Power station
Cable train
Office/Dorm
Vertical and slope tunnels
1265 m w/ slope of 42%
Vertical tunnel: 563 m
Muon flux 0.004 Hz/m2
5

## Slide 6
JUNO detector
Stainless Steel structure
  Finished in June 2022
Acrylic sphere with 35.4m diameter
  Done in Oct. 2024
20,012 20’’ PMTs + 25,600 3’’ PMTs
  Installation finished in Dec. 2024
  PMTs + electronics working well
20kt Liquid scintillator
  75% has been filled
6

## Slide 7
JUNO detector progresses

## Slide 8
Final cleaning of acrylic sphere
2024.11: detector assembled, filling start soon

## Slide 9
Bottom detector 2024-12-04

## Slide 10
More detector photos
2024.12: detector assembled, filling start soon
2025.6 Top tracker installation finished

## Slide 11
Start of water filling 2024-12-18

## Slide 12
Liquid scintillator
12
2) Distillation for radiopurity
1) Al2O3 for optical
5000 m3 LAB tank
SS pipes to underground
Mixing PPO and bis-MSB
3) Water extraction to remove radioactive impurities
4) Gas stripping to remove Rn and O2
CD FOC system
JUNO detector
Filling strategies:
  Leakage (single component < 10-6 mbarL/s)
  Cleaning vessel before filling
  Clean environment
  Water/LS filling
Four purification plants to achieve target radio-purity 10−17 g/g U/Th and 20 m attenuation length

## Slide 13
Start of LS production/filling 2025-02-08
2025-02-08
11:25:00
2025-02-08
11:30:00
2025-02-08
11:35:00
2025-02-08
11:40:00
2025-02-08
11:45:00
2025-02-08
11:50:00

## Slide 14
Current status
14
75% LS has been filled，expect to finish in August

## Slide 15
Photomultiplier Tubes
15
 | LPMT (20-inch) |  | SPMT (3-inch)
 | Hamamatsu | NNVT | HZC
Quantity | 5000 | 15012 | 25600
Charge Collection | Dynode | MCP | Dynode
Photon Detection Efficiency | 28.5% | 30.1% | 25%
Dynamic range for [0-10] MeV | [0, 100] PEs |  | [0, 2] PEs
Coverage | 75% |  | 3%
Reference | Eur.Phys.J.C 82 (2022) 12, 1168 |  | NIM.A 1005 (2021) 165347
PDE larger than required value 27%  expected energy resolution 2.9% @ 1MeV
Synergetic 20-inch and 3-inch PMT systems to ensure energy resolution and charge

## Slide 16
PMTs/electronics running well
Running at mean gain of 8.2×106，dark rate 20-22 kHz, trigger threshold 0.2 p.e.
About 150 20-inch PMTs were turned off due to flashing, HV trip, etc.

## Slide 17
Calibration
17
1D, 2D, 3D scan systems with multiple calibration sources
Has deployed 68Ge, 137Cs, 54Mn, 60Co, 40K, 241Am-C, laser via ACU
Preliminary light yield > 1600 p.e./MeV, calibrated using n-H 2.22 MeV gamma

## Slide 18
Low background control
Singles (R < 17.2 m, E > 0.7 MeV) | Design [Hz] | Change [Hz] | Comment
LS | 2.20 | 0 | 
Acrylic | 3.61 | -3.2 | 10 ppt -> 1 ppt
Metal in node | 0.087 | +1.0 | Copper -> SS
PMT glass | 0.33 | +2.47 | Schott -> NNVT/Ham
Rock | 0.98 | -0.85 | 3.2 m -> 4 m
Radon in water | 1.31 | -1.25 | 200 mBq/m3 -> 10 mBq/m3
Other | 0 | +0.52 | Add PMT readout, calibration sys
Total | 8.5 | -1.3 | 
Reduced by 15% compared to the design. Ref: JHEP 11 (2021) 102
Radiopurity control on raw material:
Careful material screening
Meticulous Monte Carlo Simulation
Accurate detector production handling
ICP-MS and NAA for LS radio-purity QC
With innovative pre-processing, ICP-MS sensitivity on 232Th/238U reached 10-16 g/g
Online 222Rn monitoring during filling
In-situ measurement to avoid leakage
Preliminary results at 75% LS
222Rn in filling LS at 1mBq/m3 level, much better than the requirement of 5mBq/m3
Intrinsic 238U and 232Th < 10-16 g/g
Intrinsic 210Po similar with Borexino phase 1
External background agrees with design

## Slide 19
Observing nuclear reactors, the Solar System, and the Milky Way at Jiangmen

## Slide 20
Event type | Rate [/day] | Relative rate uncertainty | Shape uncertainty
Reactor IBD signal | 60  47 | - | -
Geo-s | 1.1  1.2 | 30% | 5%
Accidental signals | 0.9  0.8 | 1% | negligible
Fast-n | 0.1 | 100% | 20%
Li/He | 1.6  0.8 | 20% | 10%
()O | 0.05 | 50% | 50%
Global reactors | 0  1.0 | 2% | 5%
Atmospheric | 0  0.16 | 50% | 50%
Event type | Rate [/day] | Relative rate uncertainty | Shape uncertainty
Reactor IBD signal | 60  47 | - | -
 | 1.1  1.2 | 30% | 5%
Accidental signals | 0.9  0.8 | 1% | negligible
Fast-n | 0.1 | 100% | 20%
 | 1.6  0.8 | 20% | 10%
 | 0.05 | 50% | 50%
Global reactors | 0  1.0 | 2% | 5%
 | 0  0.16 | 50% | 50%
JUNO physics book (J. Phys. G43:030401(2016))  updated analysis
Updates for the spectra and rates since JUNO (2016)
2 fewer reactor cores in Taishan
Better muon veto strategy
Improved energy resolution:
3.0% 1MeV  2.9% 1MeV
CPC 46 (2022) 12, 123001
More realistic estimate on signals and backgrounds
Slight less overburden
Lower radioactivity background based on latest measurements on material radiopurities
Reactor Antineutrino Oscillations

## Slide 21
Precision Oscillation Measurement
About one order of magnitude improvements in precision over existing constraints
Precision of sin2, , || < 0.5% in 6 years

## Slide 22
Neutrino Mass Ordering
JUNO NMO median sensitivity: 3σ (reactors only) @ ~6 yrs * 26.6 GWth exposure
Combined reactor+atmospheric neutrino analysis in progress: further improve the NMO sensitivity
 | Design * | Now
Thermal Power | 36 GWth | 26.6 GWth (26%)
Overburden | ~700 m | ~ 650 m
Muon flux in LS | 3 Hz | 4 Hz (33%)
Muon veto efficiency | 83% | 91.6% (11%)
Signal rate | 60 /day | 47.1 /day (22%)
Backgrounds | 3.75 /day | 4.11 /day (10%)
Energy resolution | 3% @ 1 MeV | 2.9% @ 1 MeV (3%)
Shape uncertainty | 1% | JUNO+TAO
3𝜎 NMO sens. exposure | < 6 yrs 35.8 GWth | ~ 6 yrs 26.6 GWth
 | Design * | Now
Thermal Power | 36 GWth | 
Overburden | ~700 m | ~ 650 m
Muon flux in LS | 3 Hz | 
Muon veto efficiency | 83% | 
Signal rate | 60 /day | 
Backgrounds | 3.75 /day | 
Energy resolution | 3% @ 1 MeV | 
Shape uncertainty | 1% | JUNO+TAO
3𝜎 NMO sens. exposure |  | 
* J. Phys. G 43:030401 (2016)
Preliminary

## Slide 23
Supernovae neutrinos
JCAP 10 (2022) 033
Reference model
S/B ratio improved from 2 to 3.5
With the nominal model
3 in 3 years and 6 in 10 years
Diffuse supernova neutrino background
SN neutrinos of 30 M⊙ Nakazato mode
3 detection channels sensitive to all flavors
Excellent capability for early warning
220~400 kpc with 50% probability
10 ~ 30 ms for typical 10 kpc
JCAP 01 (2024) 057

## Slide 24
Solar and terrestrial neutrinos
JUNO will collect the largest dataset of geoneutrinos in about 1 year
Precision of total geoneutrino signal with Th/U ratio fixed: ~8% in 10 years
KamLAND ~15%, Borexino ~17%
JUNO could improve the measurement of solar ν’s

## Slide 25
JUNO-TAO
25
TAO CDR arXiv:2005.08745
An innovative apparatus
● ~94% coverage with SiPM (~50% PDE)
● Cooling to -50°C
● 1 ton fiducial volume / 2.8 tons of Gd-LS
● 44 m to the reactor core
Measurement of reactor anti-nu spectrum with no oscillations (within Taishan NPP building)
Rich Physics
●Sensitive to fine structure
● Model-independent reference spectrum for JUNO
● Improvement of nuclear databases
● Sensitive to sterile neutrino
Installation to be finished;
Expect to run soon

## Slide 26
Future JUNO-0νββ upgrade
Critical R&D in progress
1、Te-loaded LS with high transparency, light yield and stability
2、Cosmogenic and 8B solar ν bkg rejection
3、Xenon enrichment w/ a company
Concept of the experiment
Te-LS
or
Xe-LS
JUNO offers an unique opportunity to search for 0νββ after completion of NMO measurements
Large target mass  100-ton scale isotope loading
Excellent clean LS shielding  low background
Energy resolution < 3% @ 1 MeV
 Potential to explore inverted mass ordering parameter space of Majorana neutrino mass (SNOWMASS 2021)

## Slide 27
Summary
27
JUNO will start physics data taking in August 2025
Detector in a very good shape
  Smooth filling, light yield and radiopurity better than design values
Keep tuned!
Physics | Sensitivity
Neutrino Mass Ordering | 3σ in ~6 years by reactor neutrinos with full power
Precision Measurement | Precision of , , ¦¦ < 0.5% in 6 yrs
Supernova Burst (10 kpc) | ∼7300 of all-flavor neutrinos
DSNB | 3σ in 3 years
Solar Neutrino | 7Be, pep, CNO, and 8B neutrino fluxes depending on the LS radio-purity level
Nucleon Decays () | 9.61033 years (90% C.L.) in 10 yrs
Geo-neutrino | ∼400 per year, 8% measurement in 10 yrs
Physics | Sensitivity
Neutrino Mass Ordering | 3σ in ~6 years by reactor neutrinos with full power
Precision Measurement | 
Supernova Burst (10 kpc) | ∼7300 of all-flavor neutrinos
DSNB | 3σ in 3 years
Solar Neutrino | 7Be, pep, CNO, and 8B neutrino fluxes depending on the LS radio-purity level
Geo-neutrino | ∼400 per year, 8% measurement in 10 yrs

## Slide 28: Thanks!