## Slide 1
Digitization and Reconstruction of Muon Detector in CEPCSW
Weiqi Meng
2025.3.24

## Slide 2
Muon Detector

## Slide 3
Zhang H, Wang X, Ma W, et al. Journal of Instrumentation, 2024, 19(06): P06020.
Digitization
The relationship between the number of photons received by the SiPM at the scintillator endpoint and the distance from the hit point to the SiPM under 1 mip energy deposition.
The fitting results of the distribution shown in the left figure.
Cut:
The ADC distribution corresponding to the SiPM output for a 1 MIP energy deposition.

## Slide 4
Digitization
In a superlayer of Barrel, layer1 gives pos.x and pos.y, layer2 gives pos.z.
In a superlayer of Endcap, layer1 gives pos.y, layer2 gives pos.x, both can give pos.z.

## Slide 5
Efficiency of
--By Geliang Liu.
Muon Detector gives
Check if is lower than the given muon ID WP; if so, the charged particle will be identified as a muon.