## Slide 1: 2025.04.29 group meeting
陈伟文

## Slide 2: Feedback electronic
The connection of the overall functional modules
Error occur in fir filter

## Slide 3: Excitation test
The beam oscillation conditions under different white noise excitations were tested by using the existing signal generator and power amplifier
Take the peak value of the BPM signal to observe the variation of the beam oscillation envelope
No obvious beta oscillation frequency was observed in frequency spectrum
Find peak and Moving Average Filtering（100 turns）
BPM
Oscilloscope
attenuator
Signal generator
Kicker
Power amplifier
Beam
excite signal = 2 dB
excite signal = 0 dB
excite signal = -2 dB

## Slide 4: Other and next plan
MTCA4 develops feedback electronic
  Develop a signal generator module for a power amplifier test and an excitation test.
  Debug the FPGA for the feedback functionality.