## Slide 1: Beam Intensities
Beam Power [kW] | DCCT  ppb | Pulse Width [μs]
170 | 11.7×1012 | 575
85 | 4.17×1012 | 100
40 | 6.2×1012 | 275
10 | 1.54×1012 | 80
5 | 0.7×1012 | 49
1 | 0.17×1012 | 49
0.5 | 0.08×1012 | 30
All simulations have fixed initial bunch length and RMS size

## Slide 2
170 kW, 3=500 ns, 80 MeV
170 kW, 3=500 ns, 300 MeV
170 kW, 3=500 ns, 800 MeV
170 kW, 3=500 ns, 1.2 GeV
170 kW, 3=500 ns, 1.6 GeV
As the beam energy increases, the electric field in the beam space decreases
As the beam power increases, the electric field in the beam itself increases

## Slide 3
170 kW, 3=500 ns, 80 MeV
85 kW, 3=500 ns, 80 MeV
40 kW, 3=500 ns, 80 MeV
10 kW, 3=500 ns, 80 MeV
5 kW, 3=500 ns, 80 MeV
1 kW, 3=500 ns, 80 MeV

## Slide 4
170 kW, 3=500 ns, w/o magnetic field

## Slide 5
80 MeV, 3=500 ns, w/o magnetic field

## Slide 6
170 kW, 80 MeV, 3=500 ns, w/ magnetic field
170kW, 3=500ns, =10mm,
  100Gs magnetic field can achieve suppression when E=80MeV

## Slide 7
Quadratic Spline Interpolation
and same as increasing beam energy

## Slide 8
Dominik Vilsmeier. Space-charge distortion of transverse profiles measured by electron-based Ionization Profile Monitors and correction methods. DOI: 10.1103/PhysRevAccelBeams.22.052801
SC
Initial velocity
and change with the number of turns
  Formula fitting can be performed