## Slide 1: Group Meeting
邹世明
2025/09/12

## Slide 2
NDL_4S SIPM_ARRAY

## Slide 3
NDL_4S SIPM_ARRAY
Waveforms
New Amplifiers
10 cm Triggers
Normal Readout
Broken SiPM *1
Broken SiPM *2

## Slide 4
NDL_4S SIPM_ARRAY (Amplitude)
Normal Readouts (MPV~185 mV)
Broken SiPM*2
(MPV<136 mV)
Broken SiPM*1
(MPV~145 mV)

## Slide 5
NDL_4S SIPM_ARRAY (Time Resolution)
TRG
Normal Readouts (ps)
Broken SiPM*2
(ps)
Broken SiPM*1
(ps)