## Slide 1: Group Meeting
邹世明
2026/01/16

## Slide 2: Cosmic ray test of 4 PSS6060
触发逻辑：四块PCB有大于等于一块输出大信号即记录

## Slide 3: ADC distirbution
单个SiPM四路读出ADC之和

## Slide 4
ADC distribution
SiPM1与SiPM2紧贴，SiPM3与SiPM4紧贴

## Slide 5
Hit position

## Slide 6
Hit position

## Slide 7
Two 50 cm*50 cm scintillators
The readout board with 12 Huawei-HiSilicon SiPMs in parallel configuration.
Power supply board.
Large scintillators for trigger

## Slide 8
Efficiencies of the large scintillators
PNT1
PNT2
PNT3
PNT4
PNT5
PNT6
PNT7
PNT8
PNT9
SiPM1
SiPM2
PNT1
PNT2
PNT3
PNT4
PNT5
PNT6
PNT7
PNT8
PNT9
The efficiency decreases significantly when the cosmic-ray hit point and the SiPM are at a large relative angle.
At the far ends, the efficiency can keep 90% at the threshold of about 10 p.e.