## Slide 1: Luminosity Monitor for BEPC2 beam tunning
Xiao CAI
2026.5.14

## Slide 2
East side
BLM
ZDD
cZDD
fBLM
BLM
fBLM
cZDD
West side
BLM: BEPC2 Luminosity Monitor, USTC
(also called small angel luminosity detector)
ZDD: Zero Degree Detector, INFN
cZDD: crystal ZDD, Mainz University
fBLM: fast BLM, IHEP & Nanjing University
(also called ZDC, zero degree calorimeter)
2009
2011
2025
2026?
2009
2026?
2027?
BES3

## Slide 3: BLM (Provided by USTC, 2009)
Tungsten
converter
Fused Silica
Light Guide
PMT
Light Guide
Fused Silica

## Slide 4
Slow control Online relative luminosity (BLM)

## Slide 5: ZDD (provided by INFN-LNF, 2011)
lead-scintillating fibers
lead-scintillating fibers
Fiber bundle

## Slide 6
Angular distributions for emitted photons in Bremsstrahlung (black histogram) and ISR (red histogram) processes

## Slide 7
PMT signal
BES experimental hall
BES electronics room (next to BES control room)
×10 Fast amplifier
Discriminator
Preamplifier box
DAQ
~30m cable
Slow control PC
Write threshold
DAQ input signal: TTL, height >2.5V
Fast signal, width 2~3ns
PMT signal & ZDD signal: front edge ~2ns, FWHM ~3.2ns, Pulse height ~100mV
ZDD 16 PMT signals send to ZDD VME system (flash ADC), as a part of BES3 physics data acquirement.
A sum signal for 4 PMTs (block 1/5/9/13) of ZDD send to preamplifier box for BEPC2 beam tunning.
Preamplifier box located at BES Electronics Platform first floor.
BLM/ZDD electronics
BLM (west side)
ZDD signal
×10 Fast amplifier
Discriminator
Preamplifier box
DAQ
~30m cable
Write threshold
ZDD (east side)
Flash ADC
ZDD VME crate
BES3 DAQ

## Slide 8
VME Crate
(Provide Time Signal)
Lum Crate
(Lum DAQ board)
DC Power Supply
(for Pre-Amplifier)
Electronics in BES electronics room

## Slide 9
Slow control Online relative integrate luminosity (BLM&ZDD)
E: ZDD
W: BLM

## Slide 10: cZDD (provided by Mainz, 2025)
Slow Control
Motor Control of vertical stages
Router
Oscilloscope
Analog and Digital SiPM Signals
Pipe for cooling air flow
cZDD

## Slide 11
cZDD running status @2025
E: cZDD
W: BLM
E: cZDD
W: BLM

## Slide 12
Slow control for BLM & cZDD
W: BLM E: cZDD

## Slide 13
1 week doserate

## Slide 14
fBLM (provided by IHEP & NU, 2026?)

## Slide 15
KELUSL00
3*5 SiPM
SC-PC
Upper
lower
KELUSL00
3*5 SiPM
KELUSL00
3*5 SiPM
KELUSL00
3*5 SiPM
KELUSL00
3*5 SiPM
KELUSL00
3*5 SiPM
KELUSL00
3*5 SiPM
KELUSL00
3*5 SiPM
BEE
30ch ADC-1
FMC
80PIN
30ch ADC-2
FMC
80PIN
30ch ADC-3
FMC
80PIN
30ch ADC-4
FMC
80PIN
FEE4
FEE3
FEE2
FEE1
FPGA Card
1#
FMC
80pin
FPGA Card
2#
FMC
FPGA Card
3#
FMC
FPGA Card
4#
FMC
TCPIP
fBLM electronics
For Physics Analysis
Trigger board
~30m Fiber
HV crate/module
SY4527/A2554
board1
board2
board3
board4
Detector
HV
distribution
For Beam Tunning

## Slide 16: Thanks!

## Slide 17
2025.12月初
2025.12月底
2026.1.8
束流中心位置范围：
加速器磁场漂移，束流垂直方向变化较大。
探测器上下部分分别的位置条件范围从0.5-1cm调整成0.5-3cm（初定）
E+束的ISR光偏向E+束流管（东端铜方管），也就是左图中靠左一侧
cZDD的各单元计数率

## Slide 18
Signal/HV
Concentrator
FEE
HV
SY4527
Signal
HV & GND
Detector
BEE
ZYNQ EPICS IOC
TCP/IP
PC
EPICS HV IOC
EPICS GUI
TCP/IP
Fiber
Signal & HV
& GND?
& GND

## Slide 19
硬件架构
5
两块 FMC ADC 板卡接入ZCU102 FMC0 / FMC1，实现完整 16 通道输入
ZCU102 完成时钟/ADC 配置、JESD 接收、DDR 缓存和网络传输
PC 侧可通过多口网卡接收并重建事件波形
TCPIP
8 口网卡转 PCIe
TCPIP
L1, CHK, CLK
ADC+FPGA (16 CH 输入)
触发转接板 (光纤输入)
UART
ZCU102
ADC板卡
触发转接板
目前使用开发板提供光纤信号；后续需要使用BESIII触发系统的时钟板和快控制主板提供光纤信号
Notes: 这一页按硬件链路讲：触发板进入，ZCU102负责采样和打包，PC端接收。保留原来照片和箭头风格。