## Slide 1: Preliminary Test Beam Results of COFFEE3
Sep 15th
AGORA meeting
LI Qinze

## Slide 2
COFFEE3 introduction
Test beam setup
Preliminary results
  Hitmap
  Tracking study
  Timing study
Summary
Contents

## Slide 3
Introduction of COFFEE3
Full size chip with all functionalities implemented planned ~end 2027
COFFEE-3 (CMOS sensOr in Fifty-FivE nm procEss, SMIC-55 nm process)
  Passive diode for sensor R&D
  CMOS/NMOS matrix
  Functionality validated for periphery IPs: DLL, PLL, LVDS driver, …
JINST 21 (2026) C04075

## Slide 4
13 May ~ 20 May
CERN SPS H6, 200 GeV hadron beam
A 6-layer silicon strip detector beam monitor (BM) for tracking
Two scintillators with COFFEE provided trigger to BM
A silicon strip detector layer
COFFEE
scintillator
Test Beam Setup 1

## Slide 5
Test Beam Setup 2
8 July ~ 15 July
CERN SPS H8, 180GeV hadron beam
COFFEE, and two scintillators provided time reference
COFFEE
scintillator

## Slide 6
Hitmap of COFFEE3
C0 C1
C6 C7
Tested two double-columns C0C1 and C6C7
Hits were observed for every pixel
C0C1
C6C7

## Slide 7
Hitmap of COFFEE3
Hit rate of a double-column C0C1
TH=0.83
TH=0.808
(11pixels masked)
TH=0.836
Hit rate increase as global threshold (TH) decrease as expected

## Slide 8
Noise-Baseline TDAC Tuning
Noise S-curve before TDAC
σμ，before = 28 mV
Noise S-curve after TDAC
σμ，after = 5 mV
4-bit TDAC in each pixel to allow fine tuning of threshold for a more uniform response
Trimming function validated in lab after the testbeam

## Slide 9
Setup for Tracking
A silicon strip detector
A beam monitor (BM) composed of 6 silicon strip detectors (3X+3Y) provide 3D track information
Single layer spatial resolution ~ 10μm arXiv:2603.25080
COFFEE3
inside
The coincidence of the COFFEE signal and the coincidence signal of the two scintillators serves as the trigger to BM
Beam
+Z
Y
X
3cm
test board
carlibo board
scint
9cm
COFFEE3
Z
X
Y
scint
scint
Not to scale
scint 1
scint 2
&
&
BM
Pixel
CSA trigger

## Slide 10
Hitmap of Tracking
Only one double-columns C0C1 was used
C0C1
X
Y
48 rows ~ 2mm
......
2 columns
~ 0.3mm
Not to scale
C0
C1
~0.35mm
~1.9mm
69 tracks are reconstructed, whose predicted hit position on COFFEE3 are shown below
Excluding the outliers, the hit region is roughly the same size as the two columus region

## Slide 11
BM predicted / mm
COFFEE observed / Pixel
Design value:
In comparison
X Direction Tracking Result
Due to the limited data, alignment of COFFEE3 rotation in X-Y plane is not performed. The sigma is dominated by misalignment

## Slide 12
Y Direction Tracking Result
BM predicted /mm
COFFEE observed / Pixel
mean=0.881mm
median=0.873mm
mean=1.032mm
median=1.046mm
Design value:
In comparison
The sigma is dominated by misalignment

## Slide 13
Time of Arrival (TOA): Period between the time CSA output reaches TH and the rising edge of scintillator signal
A typical event on scope
Single-Pixel timing
Pixel
Oscilloscope
Scint 1
Scint 2
&
CSA output
Incident particle
CSA output
Scintillator output
TOA
Timewalk observed

## Slide 14
Pixel
Oscilloscope
Scint 1
Scint 2
&
Comparator output
Incident particle
TOT
LE
TE
TOA
T0
TOA
Comparator digital output
Scintillators digital output
Time of Arrival (TOA): Period between the leading edge (LE) of comparator digital output and the rising edge of scintillator signal
Single-Pixel timing
threshold
LE
TE
CSA
Comparator

## Slide 15
The basic functionality of COFFEE3 has been verified
Research on the performance of the chip series is still ongoing
Summary

## Slide 16: Thanks for your attention

## Slide 17: BACK UP

## Slide 18
TOA
TH=15mV
Single pixel C1R0
CSA trigger threshold: TH=15mV
C1R0 CSA output
Scintillator output
Time of Arrival (TOA): Period between the time CSA output reaches TH and the rising edge of scintillator signal
A typical event observed on scope
C1R0 Single-Pixel TOA Test
5月的TOA与CSA
Pixel
CSA
Digital output
DAQ
Oscilloscope
Comparator
Scint 1
Scint 2
&
trigger to scope
Incident particle
Monitor the output from CSA

## Slide 19
CaR Board (with TB) is fixed on a big PCB, and ZCU102 on another PCB
ZCU102 and CaR Board are connected with FCC
CaR Board
ZCU102
COFFEE3 Test Board (TB)
CaR Board
TB
The side is sealed with aluminum tape for shielding when test
Setup for COFFEE3
big PCB
Setup in lab
Setup for beam
COFFEE3 system
what is inside
Laser alignment
5月的COFFEE单独

## Slide 20
C1R0 Single-Pixel TOA Test
TOA
TOT
LE
TE
T0
Comparator digital output
TOA
DAQ "saw" hit and triggered oscilloscope
Two scintillators coincidence digital output
LE: Time_half_max(A)_left
TE: Time_half_max(A)_right
T0: Time_half_max(A)_left
Pixel
CSA
Digital output
DAQ
Oscilloscope
Comparator
Scint 1
Scint 2
&
trigger to scope
Incident particle
Monitor the output from comparator
When DAQ sees a valid digital output, it sends out a digital trigger
Connect the DAQ trigger to oscilloscope input

## Slide 21
TOA
TOT
LE
TE
T0
TOA

## Slide 22
C1R0 CSA output
Scintillator output
TOA

## Slide 23
数字读出，TOT分布
TOT > 0
TOT > 0.2
TOT > 0.4
TOT > 0.6
TOT > 0.8
TOT > 1.0
TOT > 1.2
TOT > 1.4
TOT > 1.6
TOT > 2.6
TOT > 2.8
TOT > 1.8
TOT > 2.0
TOT > 2.2
TOT > 2.4
TOT > 3.0
事例数分布没有可分辨的束流轮廓。

## Slide 24
数字读出，TOT分布
TOT > 0
TOT > 0.2
TOT > 0.4
TOT > 0.6
TOT > 0.8
TOT > 1.0
TOT > 1.2
TOT > 1.4
TOT > 1.6
TOT > 2.6
TOT > 2.8
TOT > 1.8
TOT > 2.0
TOT > 2.2
TOT > 2.4
TOT > 3.0
事例数分布没有可分辨的束流轮廓。

## Slide 25
TDAC setting
A 4-bit binary-weighted current DAC per pixel
D0-to-D3 code order, 1000 is the LSB and 0001 is the MSB
I_tune = I0(D0 + 2*D1 + 4*D2 + 8*D3)
Larger TDAC code lowers the effective comparator threshold
At I_ref = 30 μA, scan global TH and record the highest noise-free threshold TH_nf
Choose a per-pixel code that improves hit response without noise or stuck-high output.
Pixel | TH_nf [V] @0000 | ΔTH [V] 1000 | ΔTH [V] 0100 | ΔTH [V] 0010 | ΔTH [V] 0001 | ΔTH [V] 1010 | Chosen TDAC | ΣΔTH [V]
C1R0 | 0.835 | 0.002 | 0.011 | 0.022 | 0.042 | 0.025 | 0101 | 0.053
C1R1 | 0.809 | 0.007 | 0.015 | 0.020 | 0.042 | 0.024 | 0111 | 0.077
C1R38 | 0.836 | 0.008 | 0.013 | 0.026 | 0.067 | 0.036 | 1110 | 0.047
C0R25 | 0.831 | 0.006 | 0.014 | 0.029 | 0.057 | 0.036 | 0001 | 0.057
7月的TDAC部分开始
4-bit contributions are not identical and vary from pixel to pixel.
TDAC code must be calibrated per-pixel and validated against both noise and hit response.

## Slide 26
TDAC setting
The First double column, TH=0.902; Testing on some pixels of low hit rate
A high TDAC -> lower the threshold too much -> comparator remain high -> no digital pulses
TDAC 0000
TDAC 1111
（Fig from Yuan Yuan）

## Slide 27: Preliminary Test Beam Results of COFFEE3
Sep 14th
UT/UP Parallel Session
LI Qinze on behalf of WP2

## Slide 28: Thanks for your attention