## Slide 1: Spectroscopic research of light to medium-heavy Λ hypernuclei with high quality electron beam
Strangeness Nuclear Physics 2014 @Changsha, China
2014/12/12-14
Graduate School of Science, Kyoto University
Toshiyuki Gogami (後神 利志)

## Slide 2: Contents
Introduction of (e,e’K+) experiment
Overview of JLab E05-115
  Experimental setup
  Data summary
Results
  About systematic errors
  7ΛHe

## Slide 3: Contents
Introduction of (e,e’K+) experiment
Overview of JLab E05-115
  Experimental setup
  Data summary
Results
  About systematic errors
  7ΛHe

## Slide 4: Systematic study of Λ hypernuclei

## Slide 5: Typical reactions for missing mass spectroscopy
~ 1990’s
The (K-,π-) , (π+,K+) reactions
A few MeV (FWHM)
n Λ
2000~
The (e,e’K+) reaction
Sub-MeV (FWHM)
p  Λ
①Higher resolution
 Finer structures
②Mirror hypernucleus
③Absolute energy
Background

## Slide 6: (e,e’K+) experiments at Jefferson Lab (JLab)
Beam energy 1.5 GeV
Energy spread ΔE/E < 10-4
Small emittance (2μm・mrad)
High intensity (a few - 50 μA)
Duty factor 100%
(1 km round)
2000 (E89-009)
2005 (E01-011)
2009 (E05-115)
Mass number
28
52
12
Requirements
Proof of principle
MAMI
CEBAF

## Slide 7: Contents
Introduction of (e,e’K+) experiment
Overview of JLab E05-115
  Experimental setup
  Data summary
Results
  About systematic errors
  7ΛHe

## Slide 8: Goals of JLab E05-115 experiment
7Li(e,e’K+)7ΛHe
  CSB effect in ΛN interaction (αΛNN)
  Λ Glue like role
10B(e,e’K+)10ΛBe
  CSB effect in ΛN interaction (ααΛN)
  Λ Glue like role
  Level inversion due to nuclear deformation
Spectroscopic measurements
52Cr(e,e’K+)52ΛV
(the first challenge for medium-heavy mass region)
  Λ single particle potential
Pilot measurement to medium-heavy hypernuclear study
Consistency confirmation with the previous experiments
12C(e,e’K+)12ΛB
Will be talked by C.Chen
PRC90, 034320 (2014)
Preparing papers
Under Analysis

## Slide 9: Missing mass spectroscopy
Known
CEBAF
CEBAF
Measure
(Λ’s binding energy)

## Slide 10: Experimental setup
Pre-chicane beam line
Δp/p ~ 2 × 10-4
Δp/p ~ 2 × 10-4
θe’ = 6.5 ± 5.0 [degree]
θK = 5.7 ± 4.6 [degree]
ΩHKS = 7.0 [msr]
ΩHKS = 8.0 [mrad]

## Slide 11: Experimental setup

## Slide 12: Detectors & Trigger
K+
p, π+
e-
Drift chambers
TOF walls
(Plastic scintillators)
Cerenkov detectors
Aerogel (n=1.05)
Water (n=1.33)
HES
HKS

## Slide 13: Detectors & Trigger
K+
p, π+
e-
Drift chambers
TOF walls
(Plastic scintillators)
Cerenkov detectors
Aerogel (n=1.05)
Water (n=1.33)
HES
HKS
HKS trigger
(TOF1x2x3) x Cerenkov
~10 kHz
HES trigger
(TOF1x2)
~2000 kHz
Coincidence trigger
HES x HKS
< 2 kHz

## Slide 14: Data summary (JLab E05-115)
Target ([mg/cm2]) | Hypernucleus Hyperon | Nominal beam current [μA] | Run time [h] | Total incident charge [C] (Number of incident e-)
CH2 (450) | Λ, Σ0, 12ΛB | 2.0 | 39 | 0.28 (0.171019)
H2O (500) | Λ, Σ0, 16ΛN | 2.5 | 21 | 0.20 (0.121019)
7Li (208) | 7ΛHe | 35 | 42 | 4.84 (3.01019)
9Be (188) | 9ΛLi | 40 | 39 | 5.33 (3.31019)
10B (56) | 10ΛBe | 40 | 45 | 6.25 (3.91019)
12C (88) | 12ΛB | 20, 35 | 55 | 5.73 (3.61019)
52Cr (154) | 52ΛV | 7.5 | 230 | 6.35 (4.01019)
Target ([mg/cm2]) | Hypernucleus Hyperon | Nominal beam current [μA] | Run time [h] | Total incident charge [C] (Number of incident e-)
CH2 (450) | Λ, Σ0, 12ΛB | 2.0 | 39 | 
H2O (500) | Λ, Σ0, 16ΛN | 2.5 | 21 | 
7Li (208) | 7ΛHe | 35 | 42 | 
9Be (188) | 9ΛLi | 40 | 39 | 
10B (56) | 10ΛBe | 40 | 45 | 
12C (88) | 12ΛB | 20, 35 | 55 | 
52Cr (154) | 52ΛV | 7.5 | 230 | 
( August – November in 2009)

## Slide 15: Contents
Introduction of (e,e’K+) experiment
Overview of JLab E05-115
  Experimental setup
  Data summary
Results
  About systematic errors
  7ΛHe

## Slide 16: Energy scale calibration = Backward transfer matrix optimization
ΔBmat = 0.110 MeV
ΔEmat = 0.050 MeV
PDG values
(K.Nakamura et al., Journal of Physics G 37, 075021, 2010)
Λ: MeV
Σ0: MeV
Systematic Errors
for hypernuclei
Polyethylene target
Notes: PDG values
(K.Nakamura et al., Journal of Physics G 37, 075021, 2010)
Λ: MeV
Σ0: MeV
PDG values
(K.Nakamura et al., Journal of Physics G 37, 075021, 2010)
Λ: 1115.683±0.006 MeV
Σ0: 1192.642±0.024 MeV

## Slide 17: Differential cross section for the (γ*,K+) reaction
Number of virtual photon
including HES acceptance
Number of target nuclei
Efficiencies
HKS acceptance

## Slide 18: Contents
Introduction of (e,e’K+) experiment
Overview of JLab E05-115
  Experimental setup
  Data summary
Results
  About systematic errors
  7ΛHe

## Slide 19: 7ΛHe hyprenucleus
Λ
α
n
n
Λ
α
n
n
+
6He
7He
Λ
Resonant state
Bound state
Unbound  Bound
CSB effect

## Slide 20: Missing mass spectrum of 7ΛHe
Bound region
Interested region
Accidental background subtraction
Peak candidate search with statistical significance
Peak fitting

## Slide 21: 7ΛHe hyprenucleus
Resonant state
Bound state
Unbound  Bound
CSB effect
1/2+
3/2+, 5/2+
Present work
Peak | [MeV] (Ex) | ( )[nb/sr]
1 | (0) | 
2 | () | 
Peak |  | 
1 |  | 
2 |  | 
(FWHM = 1.3 MeV)

## Slide 22: CSB interaction test in T=1 A=7 iso-triplet comparison
Λ
p
α
n
Λ
p
α
p
Λ
α
n
n
7ΛBe
7ΛLi
7ΛHe
Counts
Counts
Counts
BΛ [MeV]
H.Tamura et al.,
PRL 84, 5963 (2000)
M.Juric et al., NPB52 (1973)

## Slide 23: CSB interaction test in A=7 iso-triplet comparison
Λ
p
α
n
Λ
p
α
p
Λ
α
n
n
1/2+
Present work
S.N.Nakamura et al., PRL 110, 012502 (2013)
E01-011
(2005)
E05-115
(2009)

## Slide 24: CSB interaction test in A=7 iso-triplet comparison
Λ
p
α
n
Λ
p
α
p
Λ
α
n
n
1/2+
Present work
S.N.Nakamura et al., PRL 110, 012502 (2013)
E01-011
(2005)
E05-115
(2009)
7ΛHe g.s.
Consistent with the previous experiment
Prefer calc. w/o the CSB interaction

## Slide 25: The first report of 7ΛHe excited states
E01-011
(2005)
E05-115
(2009)
S.N.Nakamura et al., PRL 110, 012502 (2013)
3/2+, 5/2+
Resonant state
Bound state
Unbound  Bound
EΛ
 | EΛ (3/2+,5/2+) [MeV]
JLab E05-115 | 1.900.22 0.05
E.Hiyama et al., PRC 80, 054321 (2009) | 1.70 (mean value)
M.Sotona et al., PTP 117 (1994) | 1.79 (mean value)
 | EΛ (3/2+,5/2+) [MeV]
JLab E05-115 | 
E.Hiyama et al., PRC 80, 054321 (2009) | 1.70 (mean value)
M.Sotona et al., PTP 117 (1994) | 1.79 (mean value)
Present work

## Slide 26: Comparison with theoretical prediction of the differential cross section (7ΛHe)
1/2+:(3/2+,5/2+)
= 0.63
Theoretical Prediction
#1 : #2
JLab E05-115

## Slide 27: Comparison with theoretical prediction of the differential cross section (7ΛHe)
1/2+:(3/2+,5/2+)
= 0.63
Theoretical Prediction
#1 : #2
JLab E05-115
7ΛHe (3/2+, 5/2+)
Confirmed the glue-like role of Λ
[Unbound  bound ]

## Slide 28: Summary
JLab E05-115 experiment with the (e,e’K+) reaction in 2009
[HES (w/ tilt method) + HKS + SPL]
  Spectroscopies with 0.11 MeV systematic errors
    12C(e,e’K+)12ΛB with FWHM=0.5 MeV
      Consistent with the previous experiments
      SPL(new)+HES(new) +HKS worked well
    7Li(e,e’K+)7ΛHe with FWHM=1.3 MeV
      Prefer the calculations w/o the ΛN CSB interaction
      Confirmed 3/2+ and 5/2+ states (unbound  bound)
    10B(e,e’K+)10ΛBe with FWHM=0.78 MeV
      The first spectroscopic measurement
      ΛN CSB
      Glue-like role
    52C(e,e’K+)52ΛV with FWHM=2.2 MeV
      The first measurement with the (e,e’K+) in the medium-heavy mass region
      Reported 12ΛC g.s. might be shallower by ~0.5 MeV
      The first measurement without the emulsion reference in the medium-heavy mass region
This talk

## Slide 29: Thank you for your attention
Chair: Liguang
Next speaker: Chunhua
Previous speaker: Patrick
Myself

## Slide 30: Backup

## Slide 31: Second 2+ state of 6He
Λ
α
n
n
α
n
n
Borromean state
Present work
6He+Λ
0.54
1
0.16

## Slide 32: Contents
Introduction of (e,e’K+) experiment
Overview of JLab E05-115
  Experimental setup
  Data summary
Results
  About systematic errors
  7ΛHe
  10ΛBe

## Slide 33: 10B(e,e’K+)10ΛBe
Resonant state
Bound state
Unbound  Bound
CSB effect
Level inversion
9Be
Λ
α
n
α
Λ
α
n
α
+
10Be
Λ

## Slide 34: 10B(e,e’K+)10ΛBe
Resonant state
Bound state
CSB effect
Level inversion
1-, 2-
3-, 2- and 0+,1+
Present work
Unbound  Bound

## Slide 35: Comparison between 10ΛB and 10ΛBe
Λ
α
n
α
Λ
α
α
p
10Be
Λ
10B
Λ

## Slide 36: Comparison of the ground states (A=10)
CSB off : +0.22 MeV
CSB on : -0.02 MeV
Experiments
Theoretical calc.

## Slide 37: Comparison of the ground states (A=10)
CSB off : +0.22 MeV
CSB on : -0.02 MeV
Experiments
Theoretical calc.
10ΛBe – 10ΛB
Further effort is needed
theoretically and experimentally

## Slide 38: Comparison with theoretical predictions

## Slide 39: Comparison with theoretical predictions
10ΛBe structures with 0.78 MeV (FHWM)
Theoretical calculations (cross section)
are needed for further understanding

## Slide 40: 52Cr(e,e’K+)52ΛV
Ground state (3-, 4-)
MeV
FWHM = 2.2 MeV
High rate & multiplicity
(background )
Resolution ↓
Efficiency ↓
Present data

## Slide 41: Comparison between 52ΛV and 51ΛV (1)
MeV
dependence  +0.10*1)*2) MeV
*1) D.J.Millener, private communication (2014)
*2) Y.Yamamoto, private communication (2014)

## Slide 42: Comparison between 52ΛV and 51ΛV (2)
MeV
Particle-hole state contamination
 + 0.45 MeV

## Slide 43: Comparison between 52ΛV and 51ΛV (3)
12ΛC: Calibration data might be shifted
 MeV
MeV
 MeV shifted
12ΛC: Emulsion data (6 events)*1)*2)
*1) P.Dluzewski et al., NPA484, 520-524 (1988)
*2) D.H.Davis, NPA 754, 3c-13c (2005)

## Slide 44: Comparison between 52ΛV and 51ΛV
MeV
dependence
 +0.10 MeV
Particle-hole state contamination
 + 0.45 MeV
12ΛC might be shifted
 MeV
MeV

## Slide 45: Comparison between 52ΛV and 51ΛV
dependence
 +0.26 MeV
Particle-hole state contamination
 + 0.50 MeV
12ΛC might be shifted
 +0.54 MeV
MeV
Reported value of
12ΛC might be shallower by MeV

## Slide 46: Λ single particle energy
The first data point without the emulsion reference
in the medium-heavy region
(e,e’K+) experiment
Absolute energy calibration with Λ and Σ0
High energy resolution

## Slide 47: Λ single particle energy
The first data point without the emulsion reference
in the medium-heavy region
(e,e’K+) experiment
Absolute energy calibration with Λ and Σ0
High energy resolution
Medium to heavy hypernuclei
Important to measure with the (e,e’K+) reaction
① Absolute binding energy with Λ and Σ0
② Higher energy resolution (sub-MeV)

## Slide 48: Kinematics
p
Λ
K+
R.Bradford et al., PRC73, 035202 (2006)
Cross section
Eγ = 1.5 GeV
γ*
1.5 GeV
θγK
R.Bradford et al., PRC73, 035202 (2006)
(Small)
γ* + p  K+ + Λ
1.2 GeV/c
JLab E05-115 by the (e,e’K+) reaction
0.9
2.6
3.1
1.7
1.3
2.1
Eγ [GeV]

## Slide 49: Kinematics
Λ
K+
θγK
(Small scattering angle)
θe’
2.344 GeV
Electron
0.844 GeV/c
e’
1.2 GeV
p
γ*
1.5 GeV
Virtual photon flux
e’ scattering angle (θe’)
θγ
(Small)
(Small)
JLab E05-115 by the (e,e’K+) reaction

## Slide 50: Kinematics
Λ
K+
θγK
θe’
2.344 GeV
Electron
0.844 GeV/c
e’
1.2 GeV/c
p
γ*
1.5 GeV
θγ
(Small)
(Small)
(Small)
JLab E05-115 by the (e,e’K+) reaction
K+ spectrometer
e’ spectrometer
B
(HES)
(HKS)
(SPL)

## Slide 51: Background electrons in HES
SIMULATION
Tilt method
Ee = 2.344
pe’ = 0.844 MeV/c
Δpe’ = ±150 MeV/c
Optimized tilt angle = 6.5 deg
( S/N and Yield )
E89-009  E01-011
e’ rate: 1/200
Luminosity: ×200
0°
e’

## Slide 52: Contents
Introduction
JLab E05-115
  Purpose of the present work
  Kinematics and experimental setup
  Data summary
Data analysis
  Energy scale calibration
  Systematic errors for binding energy
Results
  12ΛB, 7ΛHe, 10ΛBe, 52ΛV
Summary

## Slide 53: Data analysis
x, x’, y, y’
x, x’, y, y’
p, x’, y’
p, x’, y’
@ Reference plane
@ Reference plane
@ Target
Missing Mass
Conversion with
inverse transfer matrices
Calibration

## Slide 54: Missing mass reconstruction
x, x’, y, y‘ @ RP
p, x’, y’ @ Target
Missing mass
Reference plane
Target
Inverse transfer matrix
(TOSCA + Geant4)

## Slide 55: Absolute energy scale calibration with Λ and Σ0
x, x’, y, y‘ @ RP
p, x’, y’ @ Target
Missing mass
Inverse transfer matrix
Tune
ITERATION
PDG values
(K.Nakamura et al., Journal of Physics G 37, 075021, 2010)
Λ: MeV
Σ0: MeV

## Slide 56: Momentum resolution comparison
Before
(Δp/p ~ 10-3)
After
(Δp/p ~10-4)
4 MeV (FWHM)
1.5 MeV (FWHM)
~ 0.5 MeV (FWHM) for 12ΛB

## Slide 57: Momentum resolution comparison
Before
(Δp/p ~ 10-3)
After
(Δp/p ~10-4)
4 MeV (FWHM)
1.5 MeV (FWHM)
~ 0.5 MeV (FWHM) for 12ΛB
How good is the binding energy determined ?
(Systematic error)

## Slide 58: Systematic errors for binding energy
( TOSCA + Geant4 )

## Slide 59: Systematic errors for binding energy
Realistic dummy data
S/N
Yields
Energy straggling in target
Beam raster
Beam energy spread
Spectrometer acceptance
Detector resolution
Full simulation

## Slide 60: Systematic errors for binding energy
Compare
Realistic dummy data
S/N
Yields
Energy straggling in target
Beam raster
Beam energy spread
Spectrometer acceptance
Detector resolution
Full simulation

## Slide 61: Systematic errors for binding energy
Compare
ΔBmat = 0.110 MeV
ΔEmat = 0.050 MeV
Realistic dummy data
S/N
Yields
Energy straggling in target
Beam raster
Beam energy spread
Spectrometer acceptance
Detector resolution
Full simulation