## Slide 1: A calibration of WFCTA prototype using N2 laser
Liu Jiali
Kunming University
2016，8，25
第十二届全国粒子物理学术会议 中国科学技术大学 合肥 2016，8，21—2016，8，26

## Slide 2: 主要内容
背景介绍
探测器设置
标定过程和方法
标定不确定性
总结

## Slide 3: 宇宙线能谱
宇宙线能谱：包含河内、河外源区宇宙线粒子的加速机制、
传播机制以及宇宙线粒子和空间辐射场相互作
用的信息。
能谱及流强：测量的关键在于能量的精确测量。

## Slide 4: Cherenkov光望远镜宇宙线测量原理
I0: photon intensity of the shower at h.
Tatm: atmospheric transmission.
(including phase function of scattering)
Aeff: effective mirror area (ray trace).
G: RmirrorTfilterQeGe.
Tatm and G ??

## Slide 5: Calibration method (1)
Tatm G
Using cosmic ray : compare MC-predicted cosmic ray counting rate and the measured counting rate
adjust a global calibration factor K (including Tatm and G: RmirrorTfilterQeGe) . (HEGRA)
--drawback: the predicted rate depends on the flux of cosmic ray and in particular on the composition, as well as the hadronic interaction model
involves large uncertainties into the γ ray flux.

## Slide 6: Calibration method (2)
Tatm: atmospherical model.
G: RmirrorTfilterQeGe
Cherenov rings generated by local muons: compare properties of muon rings by MC and measurement
calibrate the detector response. (VERITAS)
--drawback: the calibration depends
on the muon spectrum, i.e. only
the spectrum-weighted response
is measured.

## Slide 7: Calibration method (3)
A known distant, pulsed light source to calibrate.
(TA, AUGER, WFCTA et. al.)
--piece-by-piece calibration (G: RmirrorTfilterQeGe )
source: calibrated LED.
advantage: calibration details, wavelength.
drawback: other factor? Total uncertainty?
--end-to-end calibration
source: N2 laser, YAG laser.
advantage: total uncertainty, consider all factors.
drawback: wavelength
combination

## Slide 8: Detector configuation
 | x (m) | y (m) | Dis (m)
laser | -2477.817 | 427.72 | 2537.61 (LO)
WFCT01 | -65.53 | 74.36 | 2462.85 (LT1)
WFCT02 | 50.07 | -61.045 | 2596.54 (LT2)

## Slide 9: Event display
WFCT01
WFCT02

## Slide 10: Light flux calculation
I.
(0) L:
LS:
S:
SD:
II.
(0)
(1)
(2)
(3)

## Slide 11: Track binning

## Slide 12: effective area of the detector

## Slide 13: Uncertainty estimation
Laser energy probing (±5%)
Aerosol scattering model (-4.1%, +4.9%)
The calculation of rayleigh scattering (±2%)
total (-6.8%, +7.3%)
4) The calculation of Aeff (±2%）
5) ADC count (±2%)
total (2.8%)

## Slide 14: predicted and observed light fluxes

## Slide 15: Integral predicted and observed light fluxes

## Slide 16: summary
a complete analysis procedure and the method has been established for the absolute calibration of WFCTA telescopes.
--the detailed calculation of light scattering and propagation in the atmosphere.
--the shower track binning method, the ray trace procedure .
-- the estimation of the calibration uncertainties.
In the calibration of LHAASO-WFCTA in the future
-- the aerosol condition will be monitored hourly.
-- the temperature, the pressure and humidity of the atmosphere will be monitored.
decrease the calibration uncertainty initiated by atmosphere model significantly.

## Slide 18: Aerosol scattering