## Slide 1
Shunji Kishimoto
Photon Factory, IMSS, KEK
SOI Mini-Workshop
in IHEP, on July 14th, 2016
X-ray pixel detectors for a new KEK Light Source

## Slide 2
Outline
KEK-LS Project and Photon Science
2. Development of Pixel Array Detectors for
Synchrotron Radiation experiments
3. Fast detector system using Si-APD pixel array
for time-resolved experiments
4. Summary

## Slide 3: Introduction to Photon Factory (PF)
PF (2.5 GeV, 450 mA, MB, 39 stations, 187m)
PF-AR (6.5 GeV, 60mA, SB, 8 stations, 377m)
・Operation start in 1987
・Operate always in single-bunch
mode to produce pulsed hard x-ray
Inter-University Research Institute
running since 1983
For Synchrotron Radiation Research
(3,000 users/year, 650 papers/year)
・Operation start in 1982
・Twice large upgrades in 1996 and 2005
Emittance was reduced from 130 to 36 nmrad.
Tsukuba Campus
5

## Slide 4: Role of Photon Factory in Japan
Photon Factory and SPring-8 are two main Synchrotron Facilities in Japan.
Number of Users
Number of Papers
Photon Factory
SPring-8
Photon Factory
SPring-8
Synchrotron Facilities in Japan : 8 places
9
2003~2013

## Slide 5
New Light Source Project in Photon Factory:
“KEK Light Source” （KEK-LS)
３GeV storage ring type, with Multi-Bend Achromat
nm
Emittance of electron beam：

## Slide 6: World’s most advanced synchrotron facility
Operation
Starts from 2022 ?

## Slide 7: Expected Brightness of KEK-LS
KEK-LS
(l = 20 mm)
KEK-LS
(l = 48 mm)
KEK-LS
(l = 160 mm)
PF
(BL-28)
PF
(BL-13)
PF
(BL-17)
SPring-8
(BL25SU)
SPring-8
(Standard)
MAX-IV
(EPUI38)
MAX-IV
(PMU18P5)
17

## Slide 9
Solution: How to solve it with KEK-LS
Spatially-resolved Spectroscopy (10 meV+10 nm)
Photoelectron Spectroscopy
Nano Beam
Mirrors
Resonant X-ray Scattering
22
FL-X-ray Spectroscopy
High-brightness beam：
～1022

## Slide 10
Outline
KEK-LS Project and Photon Science
Development of Pixel Array Detectors for Synchrotron Radiation experiments
3. Fast detector system using Si-APD pixel array
for time-resolved experiments
4. Summary

## Slide 11
Key to success!
sample
Pixel Array X-ray Detector
Dynamic range： 6 order
Frame rate：＜10ms/frame
X-ray beam
Resolves a structure of biomolecule,
Correctly and rapidly.

## Slide 12
Readout time per frame （ms,１M pix)
0.1
1
10
100
0.01
Processing of information
1000
Memory
Energy,
Timing
New
Area
Detector
Pixel size (μm)
1
10
100
1000
Photon num. Dynamic range
CCD
Hybrid
PAD
1
102
104
108
106
New
Area
Detector
0.01
CCD
Response & Intelligence
Pixel size： < 50 μm
Dynamic range ： >106
SR： Spreads of Hybrid PAD （Ex. PILATUS）,
Development of X-ray imaging detectors for XFEL
Hybrid PAD

## Slide 13
O
N
dNO = 2.75Å
O
N
dNO = 2.68Å
Hard X-ray
Precise structure analysis
Electron density distribution
Response with Ext. Field
DH0…A0
E
D-…HA+
H
O
N
Electronic Ferroelectricity in a Molecular Crystal with Large Polarization
by complementary use of hard and soft X-rays
SOI
pixel area detector
Crystal, thin film
X rays
30-m□ pixel
>1 k frame/s
counter:
>14 bit (16k)

## Slide 14
Sample
Goniometer
Reflected X-rays（~10°）
GI-diffracted X-rays
Soft X-rays
SOI Pixel Area Detector
Vacuum chamber
Depth structure
Time-resolved surface structure analysis
Reflectivity
Scattering image
Resonant contrast method using sulfur and phosphor absorption-edges
(2.1, 2.5 keV) in the small-angle X-ray scattering
Signal charge is small.
2 keV: ～550 e-
New area detector for soft X-rays ｗith high sensitivity.
The detector should has a compact size and vacuum compatibility

## Slide 15: Development of counting-type SOI detector
Beam Test at BL-14A
0.8-mm X-ray beam
5 um pinhole,
Removable
10-um X-ray beam
CPIXTEG3b
SEABAS Board,
Mounted on a motorized stage, 10-um step scanning
CPIXTEG3b, designed by Y. Lu et al. (IHEP)

## Slide 16
T. Hatsui, The 9th AOSFRR Nov. 25th, 2015
Developed by RIKEN
~50 mm
~65 mm

## Slide 17
Outline
KEK-LS Project and Photon Science
Development of Pixel Array Detectors for Synchrotron Radiation experiments
3. Fast detector system using Si-APD pixel array
for time-resolved experiments
4. Summary

## Slide 18
If we have a silicon avalanche photodiode (Si-APD) pixel array detector which operates in proportional mode,
Si-APD （Hamamatsu S5344）
3 mm dia.

## Slide 19
9.6 mm
200 m
100 m
150 m
Hamamatsu S5343-9158 Pixel size: H100 μm ×V200 μm
64 pixels, 9.6 mm long with a 0.15-mm pitch
Thickness of the depletion layer:
10 μm → Time resolution (FWHM): 100 ps
Si-APD linear array

## Slide 20
APD FE-ASIC
SiTCP
MCS
START
500MHz
WS
DAC
control
DAC
FPGA
(XC7K355T-3FFG901C)
GbE
Vth
Si-APD array
+HV
（+160V）
MultiChannel Scaler (MCS) with 0.5 ns dwell time
+5 V
+12 V
（FL）
+3 V
Digital
Analog
PECL
64 ch
S. Kishimoto, et al., Rev. Sci. Instrum. 85 (2014) 113102.
S. Kishimoto, et al., Nucl. Instr. and Meth. A731 (2013) 53.

## Slide 21
Number of time bins : 2048 (count density: 36 bits per channel)
Dwell time (T): 0.5 ns to 16.7 ms.
Measuring time : 2 s to 4295 s
Trigger signal
time
T: 0.5 ns
1024 ns
1024 ns
Counting input pulses
1
3
2
4
2048
1
3
2
4
2048
Counting successively in 2048 bins with ΔT
→1024 ns (ΔT=0.5 ns)

## Slide 22
SiTCP
(a network processor)
for 1Gbps Ethernet
260 mm
260 mm
60 mm
140 mm
170 mm
16 ASD-ASICs
(4ch/pixel)
250MHz/ch
64ch Si-APD
Linear-array
FPGA
(XC7K355T-3FFG901C)
500MHz RF signal
producted by BeeBeans Technologies Co.,Ltd.

## Slide 23
108 ns
48 ns
Time structure of X-ray
peaks in multibunch
mode operation of
the PF ring
＊Inputting PECL outputs to FPGA
from FE-ASIC without a level
converter
＊Precise timing by the 500MHz
signals from the accelerator
Time resolution (FWHM)
of 0.5 ns was obtained:

## Slide 24
α-Fe foil
（Fe-57 90% enriched）
Thickness： 4μm
SPring-8 BL09XU
Measurements of
Nuclear Forward Scattering on Fe-57
14.4keV
H
SR
Si(111)
HRM
Si-APD
Linear-array
detector
Si(111)
Si(111)
Si(111)
ΔE: 2.5 meV
Using the pulse X-ray in the several-bunch mode:
~400 ns interval, for nuclear excitation

## Slide 25
Sample: α-Fe foil
Fe-57 90%-enriched
thickness： 4 μm
With Ext. Mag. field
Without Ext. mag. field
Nuclear
Forward scattering

## Slide 26
Summary
Development of new detectors for synchrotron radiation science in KEK-LS
◎ Pixel Array Detectors for investigating “Origin of
Function”:
Recording X-ray images by using
* New SOI pixel array detectors
with High-Δx, -throughput, -sensitivity,
Wide dynamic range
* Fast detector system of Si-APD pixel array
with High-ΔT, Wide count-rate