## Slide 1: Main Progress
Mechanical Analysis
EP Facility

## Slide 2: Mechanical Analysis

## Slide 3
Ports fixed,
df/dp= -6.4Hz/mbar

## Slide 4
Ports free,
df/dp= -255.9Hz/mbar

## Slide 5
Tuning
  Tuning sensitivity s: -279.0kHz/mm
  Stiffness k: 7303N/mm
  The results vary linearly with the tuning force
  The max tuning force is about 650kgf (the stress will reach 47MPa), the frequency shift by tuning is about 243kHz
  The results of pull cavity and push cavity are agreement

## Slide 6
End of 2017，EP Facility completed.
Early of 2018，Commissioning completed and operated well。