## Slide 1: Progress on Laser Plasma Electron Acceleration Research in PKU
Haiyang Lu
Institute of Heavy Ion Physics (IHIP) , Peking Univeristy
Center of Applied Physics and Technology (CAPT)
State Key Laboratory of Nuclear Physics and Nuclear Technology
Collaborative Innovation Center of Extreme Optics, Shanxi University
13th加速器物理学术交流会(SAP2017)
2017.8.28，吉首， hylu@pku.edu.cn
Supported by NSFC, MOST
Notes: Manuel has introduced GeV Carbon Beam in the experiments.
I am going to tell you about the recent progress on laser driven paticle acceleration in CLAPA at PKU, and the near future plan for experiments.

## Slide 2: Outlines
Introduction to CLAPA
Laser Electron Acceleration
Applications
Conclusion

## Slide 3
Theoretical Simulation:
Xueqing Yan, Jinqing Yu, Ronghao Hu, Yinren Shou, Zheng Gong
Electron Acceleration & Radiation :
Haiyang Lu, Zhiyi Xu, Zhaofan Xiao, Xingtai Xue
Proton Acceleration & Application：
Chen Lin, Qing Liao, Xiaohan Xu, Minjian Wu, Dongyu Li
Wenjun Ma, Dahui Wang, Jianbo Liu, Yinren Shou, Pengjie Wang,
Kun Zhu, Jungao Zhu, Li Tao, Chengcai Li
Postdocs：
Jinqing Yu, Jungao Zhu, Ailin Zhang
Supporting Engineers:
Zhongxi Yuan, Yanying Zhao
CLAPA TEAM
（Compact Laser Plasma Accelerator）

## Slide 4
The first concept of Laser Electron Accelerator
The maximum wakefield:
Emax [V/cm] = 0.96 ne1/2 [cm-3]
e.g.
ne = 1018 cm-3
Emax ~ 1GV/cm
Laser Wake-Field in the linear regime ()
Toshiki Tajima
John M Dawson (1930-2001)
2D PIC simulation for LWFA
C.G.R. Geddes, LPAW2009
()
Ponderomotive force
Charge separation
Normalized laser intensity
Plasma wavelength
Conventional Accelerator:
Emax ~ 1 MV/cm

## Slide 5
RAL
LBL
New Change of Laser Plasma Accelerator
27km
LBL achieve 1GeV electrons
by 3.3-cm capillary in 2006,
4.2GeV by 9-cm capillary in 2014
Bottleneck in the Development of Conventional Accelerator
Fast development of LPA
MV/cm
GV/cm
X.M. Wang et al,
Nat. Commun., 4, 1988 (2013)
2 GeV quasi-monoenergetic electrons was realized in UTA

## Slide 6
Pulse Cleanning
Protons / Ions
Proton Beam
Transportation System
Irradiation Platform
Electrons
X-ray
Neutrons
Compressor
Diagnostic
Bench
200TW Laser System
Compact LAser Plasma Accelerator (CLAPA)
200TW Laser @CLAPA | 
Pulse Energy: | 5 J
Pulse Duration: | < 25 fs
Repetition Rate: | 5 Hz
Wavelength: | 800 nm+/-10 nm
Contrast Ratio: | 1010:1 @ 100 ps 109:1 @ 20 ps
 | 106:1 @ 5 ps
 | 103:1 @ 1 ps
Supported by MOST

## Slide 7
200TW Laser System
oscillator
CPA 1
Pre-Amp AMP1
XPW
AMP2
compressor

## Slide 8
Pulse Duration
Spectrum - after compressor
Beam profiles

## Slide 9
ps contrast measurement
ns contrast measurement

## Slide 10
Current situation

## Slide 11
2013.1- 基建开始设计
2013.5 – 设计院设计
2013.6 – 靶场布局二稿
2013.12 – 靶场布局定稿
2014.4 – 靶场加工
2014.9 – 基建竣工
2013.12 – 基建设计定稿
2014.7 – 激光器FAT2
2014.11 – 超净室竣工
2014.12 – 激光器开始安装
2016.6.6 – 激光器验收
2016.8 – 激光维护
2016.6.9 – 正式开始离子加速实验
2016.9底 – 激光恢复运行
CLAPA Construction

## Slide 12: Outlines
Introduction to CLAPA
Laser Electron Acceleration
Applications
Conclusion

## Slide 13
Production of Dense Helical E-bunch in NCD plasma
CP LASER: @1
laser
0.3-1.3GeV, 22nC in 0.14Sr solid angle
, 0.2<<0.3
Electrons selected from a cylindrical volume from x=62-80 um, with a radius of 6um
Energy spectrum with , similar to a detection angle of with respect to the laser propagation direction.

## Slide 14
Production of Dense Helical E-bunch in NCD plasma
R.H. Hu et al., Sci. Rep. 5, 15499(2015)
Planar electron bunches can also be generated similarly with linear polarization laser pulse.

## Slide 15
laser
=3.0, 6fs
R.H. Hu, H.Y. Lu et al.,
Phys. Rev. Accel. Beams, 19, 091301(2016)
Brilliant GeV e-beams with narrow energy spread
Initial positions of injected electrons
Amplitude of injector pulse
Electron density distribution at different simulation time
Longitudinal momentum
Experienced longitudinal electric fields
Trajectories of
18 sample
macroparticles
self-focusing induced

## Slide 16
Injection
Acceleration
Acceleration
2nd Acceleration stage
dephasing
laser
=3.0, 6fs
laser
Animation of the acceleration process
Brilliant GeV e-beams with narrow energy spread

## Slide 17
Laser Parameter:
GAIA-A：3.2J before Comperssor, 25fs,
Trans: 53%，
68TW （1.7J，25fs）
Focus: 14.8*16.2um
Energy Concentration:
15%-25% (FWHM)
On target power 10-15TW
Experiments

## Slide 18
20 bar
(5% N2 + 95% He)
3mm gas jet
20161231-495
20161231-450
20161231-415
20161231-467
Continuous Ionization Injection

## Slide 19
10.6TW, 5x1018cm-3,
275MeV
Ionization Injection & Acceleration
±8 mrad（FWHM）
30 bar
(1% N2 + 99% He)
5mm gas jet

## Slide 20
Deflected Electrons
X-ray
Electron Acceleration with ionization injection
No.54.5-5ps
No.54.5-5ps
No.54.5-20ps
No.54.5-20ps
No.54.5-10ps
No.54.5-10ps
Plasma density
1% N2 in Helium

## Slide 21
Energy Spectrum Reconstruction

## Slide 22: Outlines
Introduction to CLAPA
Laser Electron Acceleration
Generation of E-beam
Applications
Conclusion

## Slide 23: Outlines
Applications
Direct Dynamic Imaging (e, x-ray)
Phase Contrast Imaging(x-ray)
Radioisotopes (-ray)
Positron Beam (e,-ray)
……

## Slide 24
Direct Imaging
IP1
beryllium
IP2
Sample
Target
e- + X-ray
Al
Al
Al
Al

## Slide 26
Direct Imaging (SD-microSD converter)

## Slide 27
Direct Imaging (Chips)

## Slide 28
Direct Imaging (resolution)

## Slide 29: Image enhancement
Blurred edges
Low contrast (1:10)
(USM ineffective)
Sobel（or Laplace）find the edge and increase weights

## Slide 31
Transmutation of 126Sn (6.3 Sv/g)
2 cm
Uranium-235  126Sn (0.06%)
100 nC
100s MeV
high-flux (1011 per shot) bremsstrahlung γ-rays
Electrons
Gamma Rays
Transmutation Yield
be the order of 109 per shot
126Sn 125Sn (9.64d, (γ, n), 8.2MeV, 50.3%)
 125Sb (2.76y, (p, 2n), 6.7MeV, 0.002%)  125Te
126Sn 124Sn (stable, (γ, 2n), 14MeV, 40.2%)

## Slide 32
  Bethe-Heitler(B-H) process:
  Trident process:
Yields：
Trident:
B-H:
B-H prevail d
Laser Plasma Positron Generation

## Slide 33
Chen H, et al. Phys. Rev. Lett. 102,105001(2009)
Laser:5J,25fs =7.86 μm
Plasma: 0.1
Target: Au, 7.2 mm in thickness
Positron Yield: 6.78x1010
Laser Plasma Positron Generation
Direct process
Indirect process

## Slide 34: Conclusion
Build up the new Lab with 200TW Laser system (2013-2016)
High charge electron acceleration with CP laser (simulation, 22nC, 0.3-1.3GeV)
Low energy spread (0.5% @ 1GeV) electron acceleration (simulation)
Electron acceleration with energies of 290 MeV at small angle (<3mrad)(experiments)
Direct Electron Imaging (large area, <100 um resolution) (experiments)
Transmutation application (simulation)
Positron generation (simulation)

## Slide 35
CLAPA招收博士后研究人员，待遇面议
Thanks for your attention!
Welcome to PKU for collaboration/visit/sightsee!