## Slide 1: dE/dx Study at CEPC TPC
An Fenfen
2017.02.28

## Slide 2: dE/dx Meas. @ TPC
: number of pad circles
: pad size in the radial direction
Gas density (atmosphere pressure, temperature, gas type)
And, of the incident particle
( is the angle between the particle and z axis)
Notes: a large vessel contains an ionisable gas (mixture of Argon and methane) in which charged particles produce ionization electrons. An electric field lets these electrons drift in the vessel towards a MWPC located at the end of the drift volume. Endcap is Micropattern Gaseous Detectors. Magnetic field parrellel to E, to focus the electrons.

## Slide 3: Space Charge Effect
θ
s
θ
s
Smaller
Larger charger density
when track is parallel to Z

## Slide 4
New 5-d Formula Based on G4
)
: 30-350
(mm): 1-35
(mg/cm3): 0.16~2(1-10atm)
(GeV/c): 1-100
For He-based gas with a large fraction of hydrocarbon, the power in should be changed to
)

## Slide 5: Gas Type
In order to separate the two groups with(out) much hydrocarbon, the normalization factor is different

## Slide 6: ~ ()

## Slide 7: Comparison With Other Exp.

## Slide 8: Comparison With Other Exp.

## Slide 9: Truncation In dE/dx Calculation
For 20GeV with direction (0,1,1) in default geometry, with different truncation:
0-1: 2.64
0-0.95: 2.24
0-0.9:2.22
0-0.8: 2.28
0-0.65: 2.43
0.05-0.75: 2.31
Loss of 30% hits will increase the resolution by ~4%
We measure the average dE/dx value of one track by removing parts of its hits (noise and Landau tail)

## Slide 10: ~
, =851eV (fit par.)
=851eV, determined by fitting the G4 plots

## Slide 11: dE/dx For Different Particles
Definition of separation ability:

## Slide 12: Separation Ability
Dash-dotted line corresponds to the case I doubled the
2.4
3.9
Entrance angle (0,1,1)

## Slide 13: Summary & Outlook
Geant4 prediction would be lower than the experimental measurement, but double the G4 value would be safe.
Preliminary result of the separation ability is given.

## Slide 14: A Screenshot From INFN Report
Dash-dotted line corresponds to the case using clustering counting techneque

## Slide 15: Comparison With Other Exp.