## Slide 1: Daya Bay Design from Scratch
Jun Cao
Institute of High Energy Physics
2018-6-16

## Slide 2: From Th to Ex
I was a theorist (folding chair).
  pQCD application on exclusive processes (1998) 5 PR
  Why change to Ex (computer, plug)
Change direction frequently
  1998-2000, LAL, H1 experiment, Xsec analysis, Lar/Tracker alignment, E calibration (high level correction), trigger simulation, background finder
  2000-2003, FNAL, MiniBooNE, reconstruction/PID
  2004-2006, IHEP, design of Daya Bay, simulation + LS
  2007-2009, Daya Bay, neutrino detector, hardware
  2009-, Daya Bay data analysis, JUNO

## Slide 3: In Office at LAL

## Slide 4: CC Xsec
Th and Ex have differences (MC and modularization)

## Slide 5: Isolated lepton with miss Pt
Lepto-quark

## Slide 6: Another Exotic Search: MiniBooNE
Looking for neutrino oscillation w/ L/E~1 (LSND sterile neutrino)
12 m in diameter.
Filled with mineral oil.
1280 8-in PMTs inward, 10% coverage
240 PMTs in veto region.

## Slide 7: Reconstruction and PID
χ2 fit to reconstruct electron track and π0 mass
PID
  Construct variables
  Fisher Discrimination
  Neural Network

## Slide 8: My First Daya Bay Task
In early or middle September, 2003
Spherical, cylindrical, or cubic detector?
Handmade MC + likelihood reconstruction
Cylindrical!
Sep. 2003

## Slide 9: Looking for θ13 Oscillation
Atmospheric ν (1998) and solar ν (2001, 2002) well established. θ23 and θ12 very large.
θ13 is very small
  Chooz in France (1999)
  Palo Verde in US (2000)
KamLAND: Phys.Rev.Lett.90, 021802 (2003)

## Slide 10: Proposed Reactor Experiments
Angra, Brazil
Diablo Canyon, USA
Braidwood, USA
Double Chooz, France
Krasnoyarsk, Russia
KASKA, Japan
Daya Bay, China
RENO, Korea
8 proposals, most in 2003
Θ13: Fundamental parameter
Gateway to CP and Mass Hierarchy measurements
Less expensive

## Slide 11: Precision Measurement at Reactors
Parameter | Error | Error w/ Near-far
Reaction cross section | 1.9 % | 0
Energy released per fission | 0.6 % | 0
Reactor power | 0.7 % | ~0.1%
Number of protons | 0.8 % | < 0.3%
Detection efficiency | 1.5 % | 0.2~0.6%
Chooz Combined | 2.7 % | < 0.6%
Major sources of uncertainties:
Reactor related ~2%
Detector related ~2%
Background 1~3%
Lessons from past experience:
Chooz: Good Gd-LS
Palo Verde: Better shielding
KamLAND: No fiducial cut
Near-far relative measurement
Mikaelyan and Sinev, hep-ex/9908047

## Slide 12: The Daya Bay Experiment
6 reactor cores, 17.4 GWth
Relative measurement
  2 near sites, 1 far site
Multiple detector modules
Good cosmic shielding
  250 m.w.e @ near sites
  860 m.w.e @ far site
  Redundancy

## Slide 13: Neutrino Detector in Jan. 2004
Yifang proposed “multiple detector modules, w/ reflection + Water house ”
Wrote a Geant3 MC based on Yifang’s Palo Verde MC.
Explored many options w/ MC
2-m thick water house
RPC outside
Φ4.5m  H 4m AD, total weight 50 ton. Drain the detector during transportation. Vessels ~ 5 ton
Near site: 2 modules
Far site: 4-8 modules

## Slide 14: Summary Talk at Neutrino2016

## Slide 15: With Geant3 MC

## Slide 16: Simulation
For 8m3 target + 50cm buffer, 100 PMTs
Background from PMT: Gammas that can penetrate 2m water and 50cm oil buffer and deposit
U: 11 per 3*108 gammas
Th: 34 per 3*108 gammas
K: 5 per 3*108 gammas
Energy Resolution
Detection eff. for gamma-catcher 40cm: 87.80%
50cm: 91.04%
70cm: 95.23%
Background from rock

## Slide 18: Target Mass
“We recommend, as a high priority, …, An expeditiously deployed multi-detector reactor experiment with sensitivity to e disappearance down to sin2213=0.01” ---- APS Neutrino Study, 2004
6.8-ton to 20-ton

## Slide 19: Positron Efficiency
Chooz
Daya Bay
Chooz 1.3MeV, error 0.8%（bad LS)
KamLAND 2.6MeV, error 0.26%
Positron Efficiency 99.6%
Error ~0.05% (Assuming 2% energy scale error)

## Slide 20: Gamma Catcher
Energy Resolution | 10%/sqrt(E) | 7%/sqrt(E) | Geant E
6MeV | 92.03% | 92.05% | 92.08%
5.94MeV | 92.23% | 92.23% | 92.25%
6.06MeV | 91.79% | 91.85% | 91.89%
δEff. | -0.24% | -0.20% | -0.19%
 | +0.20% | +0.18% | +0.17%
Neutron Energy (MeV)
Recon.
GEANT energy
6 MeV
Neutron energy cut eff. 92%
Error ~0.2% (Suppose 1% energy scale error）
45cm gamma catcher

## Slide 21: Why 6 MeV and <5% resolution
Chooz Event Sample
208Tl
External radiation has only gamma <3MeV
Beta (and alpha) in LS and acrylic tank can contribute, besides gamma
232Th in Gd is not easy to get rid of.

## Slide 22: Two-layer vs Three-layer
Braidwood proposed 2-layer detector
Eff. ~ 92%
Error ~ 0.2%
Eff. ~ 73%
Error ~ 0.4%
The most important error!
Fill gamma catcher with Gd-LS, it becomes a two-layer detector (60% more events but larger error)
Spectrum distortion (may not critical)

## Slide 23: Spill In/Out
Distance means the shortest distance from the generated vertex to the edge.
A dot on the plot reads “an event with vertex XXX cm to the edge has XXX probability to spill in/out.”
Need Identical detectors (One of the reasons)

## Slide 24: Buffer
Mineral Oil ~50cm
  Keep PMTs away from LS
  Shield radioactivity of PMT and tank
  30 cm PMT height + 20 cm shielding
III
Maximize the target region w/ a relative large bkg  uncertainty well determined

## Slide 25: Reflector
Top and bottom
  Reduce PMT#
  Simple mechanic structure
ESR film ~99% reflectivity
Difficulties is how to make a well understood reflector
Sandwich structure, sealed w/ vacuum pressure, perfect surface without any dead area

## Slide 26: Veto
2m+ water shielding (neutron produced in rock and gammas)
> 99.5% efficiency.
muon
Water Cherenkov
muon

## Slide 27: Full 2 analysis
2 with pull terms to take into account the correlation of systematic errors.
Reactor
Detector
Neutrino Spectrum
Backgrounds
Measured spec.
Expected spec.
background spec.
pulls

## Slide 28: Muon simulation for site optimization
Daya Bay
LingAo
LingAo II
Mid
Far
Muon simulation is done in the area of possible detector locations in 50 m step
Simulate the cosmogenic backgrounds:
  fast neutron
  He8/Li9

## Slide 29: Site optimization in 2005
Muon simulated in 50m step in interested area.
Fix two sites and optimize the 3rd site. Iterate until converge.
The plot shows the variation of one site while the other two are at optimal sites.
Rate versus shape analysis

## Slide 30: Sensitivity
Near/Far configuration
Three-year run (0.2% statistical error)
Two near sites, 40 ton each
80 ton at Far site
Detector residual error 0.2%
Far site background error 0.2%
Near site background error 0.5%
90% confidence level
Daya Bay result on Δm2

## Slide 31: Daya Bay CDR
Daya Bay ~0.2%
Double Chooz ~0.6%
RENO ~0.5%

## Slide 32: Daya Bay CDR
Actual:
0.05%
0.03%
0.2%
0.3% (Am-C)

## Slide 33: Lessons
The largest miss: double neutron
  To accelerate the design optimization, I didn’t use full MC (full generator). Fast neutron are simulated one by one. Actually one cosmic muon can produce multiple neutrons, and form correlated bkgs  huge
  Solved by required longer muon veto time.
Site optimization: MC and analysis is not enough  risk/award (enough contingency and margin of safety)