## Slide 1: HXMT observations of Her X-1
Long Ji
2018.1@IHEP

## Slide 2: Data analysis
1, Using all available data
2, Using the pulse-off phase as the background
Phase-on-off

## Slide 3: Summary of CRSFs
Discrepancy between NuSATR/HXMT
Short time variability?

## Slide 4: Try to understand the HE response files
Questions:
  Is the energy-channel stable in the short time? Yes
  Any long-term changes? Yes
A spectrum of the radiative source (Am)

## Slide 5: Try to understand the HE response files
Questions:
  Is the energy-channel stable in the short time? Yes
  Any long-term changes? Yes

## Slide 6: Try to understand the HE response files
Questions:
  Can this have a significant influence on the detection of the CRSF? No
We need more monitoring to verify the short time changes of the CRSF

## Slide 7: Try to understand the HE response files
the discrepancy between NuSTAR and HXMT
  The results of HXMT are systematically ~1keV larger than NuSTAR
  Does not due to the difference between averaged and ‘POP’ spectra

## Slide 8
Strong residuals at low energies, the LE/ME response files should be further improved